## Sheet1
S. No. | Item No. | Product | Model No. | Price | File No | File Name | Total Product
1 | KU22603 | Rooftop PV Junction Box | JB-1.2 | 34.6 | PROD_KRUSE_Product_Catalogue_42_2023-03-25 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02 | 30
2 | KU22604 | XL Rooftop PV Junction Box | JB-1.XL | 36.81 | PROD_KRUSE_Product_Catalogue_42_2023-03-25 | PROD_KRUSE_Product_Catalogue_42_2023-03-25 | 306
3 | KU20993 | Unlock Tool | 2352000001 | 3.31 | PROD_KRUSE_Product_Catalogue_42_2023-03-25 | Grand Total | 336
4 | KU20726 | Bus Y-CONN cap | 2061702007 | 3.31 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
5 | KU21500 | PV Ground Lug | PV-LUG-01-A1 | 3.81 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
6 | KU21502 | Black Cable Tie & Edge Clip | BX-CT-EC-P1 | 0.62 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
7 | KU21830 | LAN Stick | Solis-DLS-LAN | 55.1 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
8 | KU20108 | Termination Cap | EN-Q-TERM-01 | 14.92 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
9 | KU21685 | All in one hybrid 12K 120/240/208/48V | Sol-Ark-12K-P | 5565.1 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
10 | KU21687 | All in one hybrid 8K 120/240V | Sol-Ark-8K-48-ST | 4848.8 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
11 | KU22320 | All in one hybrid 5K 120/240V | Sol-Ark-5K-48-ST | 4077.4 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
12 | KU15084 | Datamanager 2.0 | 4,240,038,Z | 247.95 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
13 | KU15003 | Primo 6.0-1 | 4210062800 | 1350.72 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
14 | KU15005 | Primo 8.2-1 | 4210060800 | 1691.43 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
15 | KU21823 | Hybrid Single Phase 10.0kw | RHI-1P10K-HVES-5G-SP | 1404.07 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
16 | KU21820 | Hybrid Single Phase 7.6kw | RHI-1P7.6K-HVES-5G-S | 1241.58 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
17 | KU21818 | Hybrid Single Phase 6.0kw | RHI-1P6K-HVES-5G | 1466.76 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
18 | KU22107 | Three Phase 100kW with fan | Solis-100K-5G US-F | 4810.23 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
19 | KU22277 | Single phase 7.6kW; 3 MPPT | Solis-1P7.6K-4G-US | 1438.11 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
20 | KU22105 | Three Phase 66kW with fan | Solis-66K-US-F-SW | 3819.09 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
21 | KU22102 | Three Phase 50kW with fan | Solis-50K-US-F-SW | 3510.31 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
22 | KU22099 | Three Phase 30kW without fan | Solis-30K-US-SW | 2707.36 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
23 | KU21831 | WiFi Box | Solis-DLB-WIFI | 164.2 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
24 | KU21822 | Hybrid Single Phase 9.0kw | RHI-1P9K-HVES-5G | 1343.44 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
25 | KU21819 | Hybrid Single Phase 7.0kw | RHI-1P7K-HVES-5G | 1199.28 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
26 | KU21997 | Three Phase 40k | SE40K-USR8IBNZ4 | 2689.7 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
27 | KU22339 | Synergy manager 208v 50KW | SE50K-US02IBNZ4 | 2181.5 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
28 | KU20754 | Data Logger | SE1000-DTLG-S1 | 441.77 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
29 | KU20481 | Synergy 277-480v Secondary Unit | SESU-USRS0NNN4 | 1064.94 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
30 | KU21045 | Three Phase 208V 9000w | SE9K-USR2TBNU4 | 2057.36 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
31 | KU20482 | Synergy 277-408v 66.6KW Primary | SE66.6K-USRP0BNU4 | 2484.3 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
32 | KU20981 | HD Wave 3000w | SE3000H-US000BNU4 | 1124.23 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
33 | KU22337 | Synergy manager 208v 43.2KW | SE43.2K-US02IBNZ4 | 1712.01 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
34 | KU21571 | HD Wave 3800w & RGM | SE3800H-US000BNI4 | 1303.94 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
35 | KU22401 | Energy HUB 7600w | SE7600H-USMNBBL14 | 2911.43 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
36 | KU22203 | Synergy Unit | SESUK-USR0INNN4 | 1425.4 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
37 | KU22349 | Synergy manager 480v 120KW | SE120K-US08IBNZ4 | 2181.5 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
38 | KU22340 | Synergy manager 480v 80KW | SE80K-US08IBNZ4 | 1275.24 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
39 | KU22338 | Synergy manager 480v 66.6KW | SE66.6K-US08IBNZ4 | 1097.44 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
40 | KU21129 | SB 7.7 | SB 7.7-1SP-US-41 | 1483.66 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
41 | KU21239 | Surge Protection DC Type 1/2 | DC_SPD_KIT5_T1T2 | 121.66 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
42 | KU20741 | Datamanager M | EDMM-US-10 | 822.28 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
43 | KU21905 | Shutdown Module JMS-F | 119814-00.01 | 29.97 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
44 | KU21484 | Peak 3 SHP 125-US-20 | 03-125-1500-2-20 | 9367.55 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
45 | KU20555 | Sunny boy storage 5.0-US | SBS5.0-US-10 | 1851.36 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
46 | KU20556 | Sunny boy storage 6.0-US | SBS6.0-US-10 | 2027.68 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
47 | KU20823 | STP62-US-41 | 03-62-1000-2-41 | 5608.9 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
48 | KU20822 | STP50-US-41 | 03-50-1000-2-41 | 5495.27 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
49 | KU21125 | SB 3.8 | SB 3.8-1SP-US-41 | 1083.43 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
50 | KU23131 | QT2 - 480 | 124012 | 242.44 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
51 | KU23142 | QT2 - 208 | 124009 | 220.4 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
52 | KU20994 | DC Extension Cable, 2M (MC4) | 2310360214 | 6.61 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
53 | KU15173 | MC4 Caps Kit | 2060401(2)006 | 2.2 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
54 | KU22501 | DS3-S-NA - 640VA | 119001 | 181.83 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
55 | KU20415 | Gateway ecu-r | 209001 | 219.3 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
56 | KU20748 | IQ 7+ Microinverter | IQ7PLUS-72-2-INT | 134.17 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
57 | KU21746 | IQ 7A Microinverter | IQ7A-72-2-US | 158.14 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
58 | KU22466 | IQ 8+ Microinverter | IQ8PLUS-72-2-US | 154.28 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
59 | KU21612 | Data Communication Gateway CP-100 | CP-GWY-1000 | 421.55 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
60 | KU21608 | Modular Trun Cable 1.7m 10AWG | MTC-1.7 | 26.08 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
61 | KU21609 | Modular Trun Cable 2.15m 10AWG | MTC-2.15 | 32.11 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
62 | KU21551 | Battery Module 2.85kWh | A0000391219 | 1500.31 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
63 | KU21931 | Outdoor 3R Rated Battery Cabinet | APKE00028 | 2596.44 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
64 | KU21547 | PWRcell Spacer Kit | APKE00008 | 101.49 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
65 | KU21550 | Battery Cabinet | APKE00007 | 2070.31 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
66 | KU22647 | Split-phase hybrid 9.6 kW | GEH7.6-1U-US10 | 3695.01 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
67 | KU22646 | Split-phase hybrid 7.6 kW | GEH7.6-1U-US10 | 3213.43 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
68 | KU22650 | Split-phase ac retrofit 9.6 kW | GEC9.6-1U-US10 | 3553.95 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
69 | KU22648 | Split-phase ac retrofit 7.6 kW | GEC7.6-1U-US10 | 3119.76 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
70 | KU20984 | HD Wave 6000w | SE6000H-US000BNU4 | 1520.53 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
71 | KU20884 | 12.0-3 208/240 | 4210091801 | 2770.1 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
72 | KU20988 | HD Wave 11400w | SE11400H-US000BNU4 | 2340.19 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
73 | KU14996 | 24.0-3 480 | 4210095801 | 2768.9 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
74 | KU20883 | 10.0-3 208/240 | 4210090801 | 2469.08 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
75 | KU15261 | Primo 12.5-1 | 4210077800 | 2719.8 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
76 | KU15001 | Primo 3.8-1 | 4210064800 | 1064.5 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
77 | KU15262 | Primo 15.0-1 | 4210078800 | 3187.54 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
78 | KU15002 | Primo 5.0-1 | 4210063800 | 1214.96 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
79 | KU15004 | Primo 7.6-1 | 4210061800 | 1595.44 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
80 | KU15259 | Primo 10.0-1 | 4210075800 | 2245.48 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
81 | KU15260 | Primo 11.4-1 | 4210076800 | 2515.58 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
82 | KU22686 | Energy HUB 6000w | SE6000H-USSNBBL14 | 2366.6 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
83 | KU22342 | Synergy manager 480v 120KW-GM | SE120K-USG8IBNZ4 | 2097.59 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
84 | KU20396 | Surge Protection Kit | SE-RS485-SPD2-K1 | 71.83 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
85 | KU20983 | HD Wave 5000w | SE5000H-US000BNU4 | 1462.05 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
86 | KU20736 | Accu-CT Transformer | SBS6.0-US-10 | 33.61 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
87 | KU20986 | HD Wave 7600w | SE7600H-US000BNU4 | 1754.46 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
88 | KU20987 | HD Wave 10000w | SE10000H-US000BNU4 | 2192.33 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
89 | KU22101 | Three Phase 40kW with fan | Solis-40K-US-F-SW | 3223.03 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
90 | KU22104 | Three Phase 60kW with fan | Solis-60K-US-F-SW | 3725.97 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
91 | KU21545 | Pwrcell 11.4kW 3Ø | APKE00013 | 3774.39 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
92 | KU20982 | HD Wave 3800w | SE3800H-US000BNU4 | 1148.85 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
93 | KU21570 | HD Wave 3000w & RGM | SE3000H-US000BNI4 | 1279.32 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
94 | KU21572 | HD Wave 5000w & RGM | SE5000H-US000BNI4 | 1646.27 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
95 | KU21573 | 6000w & RGM | SE6000H-US000BNI4 | 1704.75 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
96 | KU21574 | 7600w & RGM | SE7600H-US000BNI4 | 1938.68 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
97 | KU21576 | 11400w & RGM | SE11400H-US000BNI4 | 2532.9 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
98 | KU21126 | SB 5.0 | SB 5.0-1SP-US-41 | 1151.61 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
99 | KU21544 | Pwrcell 7.6kW 1Ø | APKE00014 | 2915.94 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
100 | KU21999 | Three Phase 208v 17.3k | SE17.3K-USR2IBNZ4 | 2962.37 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
101 | KU21936 | 15.0-3 480 | 4210052841 | 2385.41 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
102 | KU20821 | STP33-US-41 | 03-33-1000-2-41 | 3869 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
103 | KU21669 | Encharge 3 Base kit w/ 1.28kVA, 3.36 kWH | ENCHARGE-3-1P-NA | 2277.83 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
104 | KU21603 | Microinverter | CP-250E-iBC | 155.57 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
105 | KU22502 | DS3-L-NA - 768VA | 118001 | 190.65 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
106 | KU20808 | Microinverter | QS1 | 258.97 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
107 | KU22715 | EV Charger HCS-40 (Hardwire) | HCS-40 | 548.8 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
108 | KU21771 | Microinverter | CP-720-iBC | 215.78 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
109 | KU21649 | Micro Optimizer Mounting Kit | 4000629-H | 0.98 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
110 | KU21648 | Ground Lug Set | 4000006-H | 3.78 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
111 | KU21616 | Ecomp 8"x12" Black; pack of 20 | 4000366 | 6.39 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
112 | KU21700 | Crossrail 44-x 166" Rail Mill | 4000019 | 26.46 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
113 | KU14583 | Crossrail 80 End Cap 10pcs/pack | 4001221 | 0.88 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
114 | KU15014 | 2.0" Pipe L-Bracket Kit | 4000330 | 8.81 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
115 | KU21646 | Mid Clamps Dark, 30-47mm 13mm Hex; pack of 20 | 4000602-H | 2.67 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
116 | KU13792 | Tilt Up Kit Climber Set 48/80, Hole | 4006042 | 2.64 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
117 | KU21615 | Ecomp 8"x12" Mill; pack of 20 | 4000367 | 5.8 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
118 | KU21951 | Crossrail 48 xl 166" Rail Dark | 4000705 | 53.57 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
119 | KU14527 | Crossrail 80 Connector SET; ETL bonded | 4001196 | 6.11 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
120 | KU14525 | Crossrail 80 168in Rail Mill | 4000508 | 60.59 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
121 | KU19010 | Crossrail 48 x End Cap 10pcs/pack | 4000433 | 0.61 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
122 | KU15176 | Crossrail 48 x Black Connector SET | 4000386 | 4.9 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
123 | KU15175 | Crossrail 48 xl Connector SET Mil | 4000385 | 3.57 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
124 | KU20403 | Crossrail 48 x 166" Rail Dark | 4000663 | 29.16 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
125 | KU21699 | Crossrail 44-x Connector SET | 4000051 | 3.49 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
126 | KU21711 | Crossrail 44-x 166" Rail Dark | 4000020 | 33.58 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
127 | KU20194 | ¼ X ¾ Microinverter bonding hw | MI-BHW | 1.08 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
128 | KU20379 | Top Cap for 2.0" pipe | 70-0200-SGA | 32.1 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
129 | KU21475 | BX Chassis 10 Degree | BX-10D-P1 | 32.4 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
130 | KU21476 | BX Top Clamp 35mm | BX-TCL-35MM-M1 | 0.84 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
131 | KU21477 | BX Bottom Clamp with Hardware | BX-BCL-M1 | 1.22 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
132 | KU20170 | Rail 168" Mill | XR-10-168A | 27.61 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
133 | KU20171 | Rail 168" Black | XR-10-168B | 32.37 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
134 | KU20172 | Rail 168" Mill | XR-100-168A | 38.63 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
135 | KU20173 | Rail 168" Black | XR-100-168B | 44.25 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
136 | KU20624 | Rail 204" Mill | XR-100-204A | 46.9 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
137 | KU20196 | Rail 204" Black | XR-100-204B | 53.77 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
138 | KU20277 | Rail 168" Mill | XR-1000-168A | 62.25 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
139 | KU20177 | End Cap; Pack of 10 | XR-100-CAP | 9.6 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
140 | KU20280 | End Cap; Pack of 10 | XR-1000-CAP | 10 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
141 | KU20882 | Camo Clamp | CAMO-01-M1 | 4.58 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
142 | KU20731 | Sleeve Stoppers 32MM Black | UFO-STP-32MM-B1 | 0.4 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
143 | KU21481 | BX MLPE Mounting | BX-CMA-M1-M1 | 0.98 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
144 | KU21501 | Flat Roof Hardware | BX-MA-FRA-M1 | 8.21 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
145 | KU20184 | Sleeve Stoppers 35MM Black | UFO-STP-35MM-B1 | 0.4 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
146 | KU20185 | Sleeve Stoppers 38MM Black | UFO-STP-38MM-B1 | 0.4 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
147 | KU20186 | Sleeve Stoppers 40MM Black | UFO-STP-40MM-B1 | 0.4 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
148 | KU20378 | Bonded Rail Connector - 2.0" | GM-BRC-002 | 11.54 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
149 | KU21496 | BX Top Clamp 40mm | BX-TCL-40MM-M1 | 0.98 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
150 | KU21503 | Black Cable Tie | BX-CT-UV-P1 | 0.12 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
151 | KU20694 | Coupling | ROCK-IT V3 COUPL | 7.16 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
152 | KU20695 | Mount | ROCK-IT V3 MNT | 6.01 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
153 | KU20697 | Array Skirt 65" | ROCK-IT V3 SKIRT A65 | 16.53 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
154 | KU20533 | Standing Seam Clamp 2" Simpleblock SSR-AL | 3014011 | 3.86 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
155 | KU15256 | MLPE Clip | ROCK-IT CLIP AL | 340.51 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
156 | KU20677 | Rail Attachment Kit | 242-92093 | 1.29 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
157 | KU21600 | L-Foot, Blk | 242-01220 | Call for Price | PROD_KRUSE_Product_Catalogue_42_2023-03-25
158 | KU20866 | Umbrella foot | 242-01220 | Call for Price | PROD_KRUSE_Product_Catalogue_42_2023-03-25
159 | KU20834 | Bonding Strap Expansion Joint | RS-GDXP-001 | 5.62 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
160 | KU20672 | Splice Black | 242-01214 | 4.49 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
161 | KU21912 | Ultra Rail Mid Clamp | 242-02071 | Call for Price | PROD_KRUSE_Product_Catalogue_42_2023-03-25
162 | KU20867 | Umbrella lag, 4" | 242-92266 | Call for Price | PROD_KRUSE_Product_Catalogue_42_2023-03-25
163 | KU22435 | Ultra Rail 172" Black | 232-02538 | 32.87 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
164 | KU20169 | Pest Abatement Barrier | ST-055 | 9.7 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
165 | KU21644 | End Clamp Dark; 30-40mm; pack of 20 | 4000091 | 2.33 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
166 | KU21859 | End Clamp Mill; 30-40mm; pack of 20 | 4000090 | 2.01 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
167 | KU21645 | Mid Clamps Mill; 30-47mm, 13mm Hex; pack of 20 | 4000601-H | 2.56 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
168 | KU21498 | BX Chassis 5 Degree | BX-10D-P1 | 35.58 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
169 | KU20674 | Universal End Clamp | 242-02215 | 3.04 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
170 | KU22174 | 4.00" QB2 Kit 3" Microflash + SS-LFT | 17662 | 3.83 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
171 | KU22437 | Battery Handles | IAC-RBAT-HANDLE-01 | 82.87 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
172 | KU21937 | 16.0 kWh Battery | RESU16H Prime | 8121.74 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
173 | KU21945 | Battery Module 3.0kWh | G0080040 | 1652.97 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
174 | KU22064 | 10.0 kWh Battery | RESU10H Prime | 5840.6 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
175 | KU20110 | Disconnect Tool | EN-Q-DISC-01 | 2.96 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
176 | KU14316 | Data Communication CT-200 Split | EN-CT-200-SPLIT | 19.42 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
177 | KU20109 | Female Sealing Cap | EN-Q-SEAL-01 | 2.74 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
178 | KU15407 | Bus Connector Kit Part A | 4202014479 | 21.58 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
179 | KU21548 | PV link 2500W MPPT Substring Optimizer | APKE00010 | 469.78 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
180 | KU21543 | CTS 600A CT | APKE00006 | 205.39 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
181 | KU21493 | BX Top Clamp 30mm | BX-TCL-30MM-M1 | 0.89 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
182 | KU21682 | Circuit Breaker 2 pole, 20A, 10kAIC | BRK-20A-2P-240V-B | 22.83 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
183 | KU21494 | BX Top Clamp 30mm | BX-TCL-32MM-M1 | 0.89 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
184 | KU15408 | Bus Connector Kit Part B | 4202014480 | 21.58 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
185 | KU22557 | Optimizers S440-MC4 Compatible | S440 | 85.81 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
186 | KU22590 | Optimizers S500-MC4 Compatible | S500 | 90.46 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
187 | KU21938 | Optimizer 960W - MC4 | P960 | 89.24 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
188 | KU21549 | Snaprs Inline Disconnect Switch | APKE00011 | 35.28 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
189 | KU21825 | String level shutdown 2 Panels RSD | Solis-MLRSD-R2-1G | 37.79 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
190 | KU21829 | WiFi Stick | Solis-DLS-WIFI | 44.08 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
191 | KU13167 | Combiner Box 6 Circuit | RSC-1X-US-10 | 195.34 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
192 | KU21240 | Surge Protection AC Type 1/2 | AC_SPD_KIT2_T1T2 | 54.75 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
193 | KU20989 | Cellular Modem 5 year plan | SE-CELL-B-R05-S-S2 | 323.14 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
194 | KU20090 | Electricity Meter NEMA3R 1PH 240V | SE-MTR240-0-000-S2 | 171.04 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
195 | KU20261 | Electricity Meter 200A CT | SEACT0750-200NA | 32.54 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
196 | KU20605 | Electricity Meter 300A CT | SEACTL-1250-300-C3 | 154.36 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
197 | KU21080 | 5YR AC≤200kW | SE-CELL-B-R05-S-S4 | 626.8 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
198 | KU21089 | 5YR AC≤1000kW | SE-CELL-B-R05-S-S5 | 1471.39 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
199 | KU21720 | L2 EV J1772 Connector | SE-EV-KIT-25J40-2 | 411.13 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
200 | KU20698 | Array Skirt 79" | ROCK-IT V3 SKIRT A79 | 16.5 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
201 | KU22344 | Rapid Shutdown-D (Duo) | 426101 | 37.47 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
202 | KU20826 | LTE Modem | CELLMODKIT-US-10 | 247.76 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
203 | KU22593 | Combiner Hold Down Kit | X-IQ-NA-HD-125A | 6.6 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
204 | KU22194 | 2:1 Power Optimizer | P1100 | 85.45 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
205 | KU21546 | PWRcell Upgrade Kit | APKE00009 | 134.06 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
206 | KU23023 | Trina 535w | TSM-DEG19C.20-BF | 10785.6 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
207 | KU23015 | Axitec 540w | AXIbipremium XXL | 302.4 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
208 | KU23089 | S4A 330w | S4AI-120B-380C | 4989.6 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
209 | KU22473 | Silfab 490w | SIL-490 HN | 7898.8 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
210 | KU23147 | Trina 385w | TSM-DE09C.07 | 8316 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
211 | KU22561 | Phono 400w | PS400M6-18/VHB | 6032 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
212 | KU23148 | Trina 390w | TSM-DE09C.07 | 241.8 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
213 | KU22214 | Silfab 370w | SIL-370 HC | 6541.6 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
214 | KU23072 | S4A 410w | S4A410-72MH5 | 7880.2 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
215 | KU22544 | Phono 370w | PS370M4H-20/UHB | 6193.8 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
216 | KU23016 | Crossroads 380w | CRS-380W BB | 235.6 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
217 | KU22477 | Canadian 445w | CS3W-445 | 6488.1 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
218 | KU23054 | Solerever 410w | SE-182*91-410M-108 | 7626 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
219 | KU23154 | Silfab 400w | SIL-400 HC+ | Call for Price | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
220 | KU23084 | S4A 410w | S4A410-108MH10 | Call for Price | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
221 | KU23146 | S4A 550w | S4A550A-144MH10 | Call for Price | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
222 | KU22560 | Phono 545w | PS545M6-24/TH | 294.3 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
223 | KU21987 | 100-Amp SMM | G007006 | 231.1 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
224 | KU21939 | 50-Amp SMM | G0070000 | 120.35 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
225 | KU22583 | AC Combiner With Envoy & CT’s | X-IQ-AM1-240-4 | 598.69 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
226 | KU22399 | 2:1 Power Optimizer | P1101 | 95.07 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
227 | KU21563 | HD Wave 5000w | SE5000H-US000BNV4 | 1666.01 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
228 | KU22123 | Battery Control Unit Base | BCU | 523.45 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
229 | KU22124 | Battery Module | B-Plus H 2.5 | 1201.18 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
230 | KU22075 | 5.4kWh | eFlex 5.4 | 3030.5 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
231 | KU22318 | 18.5kWh | eVault MAX 18.5 | 9918 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
232 | KU22076 | 18.5kWh | eVault 18.5 | 10050.24 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
233 | KU20820 | 200A Automatic Backup Unit | SBS-ABU-200-US-10 | 2203.99 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
234 | KU22499 | Backup Interface | BI-EUSGN-02 | 2008.84 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
235 | KU22440 | Floor Stand | IAC-RBAT-FLRSTD-01 | 474.46 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
236 | KU22350 | Energy HUB 10000w | SE10000H-USSNBBL14 | 3076.73 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
237 | KU23045 | IQ Battery 3T Base Kit | B03-T01-US00-1-3 | 2107.02 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
238 | KU22469 | IQ System Controller | EP200G101-M240US01 | 1653 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
239 | KU21680 | Circuit Breaker 2 pole, 40A, 10kAIC | BRK-40A-2P-240V | 21.58 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
240 | KU22468 | IQ Load Controller | EP-NA-LK02-040 | 461.74 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
241 | KU21671 | Enpower Smart Switch w/ 200A | EP200G101-M240US00 | 1653 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
242 | KU21749 | Rapid Shutdown rsd-s-plc | 415002 | 23.42 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
243 | KU20735 | WattNode® Modbus 3 phase | SBS5.0-US-10 | 279.7 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
244 | KU23029 | Energyy Bank 10kW | BAT-10K1PS0B-01 | 6612 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
245 | KU21821 | Hybrid Single Phase 8.0kw | RHI-1P8K-HVES-5G | 1638.67 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
246 | KU22100 | Three Phase 36kW with fan | Solis-36K-US-F-SW | 3016.75 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
247 | KU15457 | Bus End Cap | 2060700007 | 8.82 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
248 | KU21086 | field-wireable connectors Portrait | EN-Q-12-10-240 | 9.71 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
249 | KU20507 | field-wireable connectors Landscape | EN-Q-12-17-240 | 9.71 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
250 | KU20113 | Trunk Cable Landscape 1.7m | Q-12-17-240 | 17.19 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
251 | KU20702 | Trunk Cable Portrait 2.0m (72 cell) | Q-12-20-200 | 23.86 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
252 | KU21635 | Smart EV Charger | SE-EV-SA-KIT-LJ40P | 630.06 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
253 | KU20901 | Bus Cable 2M | 2322301303 | 25.35 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
254 | KU20114 | Trunk Cable Portrait 1.0m | Q-12-10-240 | 14.61 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
255 | KU22438 | Branch Connector | IAC-RBAT-USYCBL-01 | 31.78 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
256 | KU23240 | Axitec 400w | AXIbipremium XXL | Call for Price | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
257 | KU23221 | Crossroads 390w | CRS-390W BB | Call for Price | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
258 | KU23206 | Philadelphia Solar 400w | PS-M108 (HCBF) | Call for Price | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
259 | KU23155 | Silfab 410w | SIL-410 BG | Call for Price | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
260 | KU20464 | Gateway ecu-c | 205039 | 351.54 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
261 | KU20747 | IQ 7 Microinverter | IQ7-60-2-INT | 118.19 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
262 | KU22716 | EV Charger HCS-40P (Plug-In) | HCS-40P | 570.84 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
263 | KU20116 | Data Communication IQ Envoy | EN-ENV-IQ-AMI-240 M | 422.42 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
264 | KU21433 | Cell Modem | CELLMODEM-M1 M | 335.09 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
265 | KU21605 | Cable Disconnect Tool | AC-Tool | 6.02 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
266 | KU21606 | AC Unblock Tool | DC-Tool | 5.48 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
267 | KU21613 | 1m T-Junction to Open End 10AWG | MTC-JBOX | 26.08 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
268 | KU21614 | T Junction Cap | T6-WTRPF-CAP | 2.46 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
269 | KU20461 | Rapid Shutdown RSD Duo | 4240153 | 129.74 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
270 | KU20525 | Rapid Shutdown RSD Quattro | 4240154 | 218.47 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
271 | KU21124 | SB 3.0 | SB 3.0-1SP-US-41 | 1054.24 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
272 | KU21127 | SB 6.0 | SB 6.0-1SP-US-41 | 1238.93 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
273 | KU21128 | SB 7.0 | SB 7.0-1SP-US-41 | 1387.29 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
274 | KU22341 | Synergy manager 480v 100KW | SE100K-US08IBNZ4 | 1712.02 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
275 | KU22307 | Single phase 10.0kW; 4 MPPT | Solis-1P10K-4G-US | 1626.55 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
276 | KU22114 | Single Phase with RSD 5.07kW; 2 MPPT | 1P5K-4G-US-SPRT | 892.73 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
277 | KU22098 | Three Phase 25kW without fan | Solis-25K-US-SW | 2293.85 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
278 | KU22106 | Three Phase 75kW with fan | Solis-75K-5G-US-F | 3879.42 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
279 | KU21826 | String level shutdown 1 Panel RSD | Solis-MLRSD-R1-1G | 33.61 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
280 | KU21670 | Encharge 10 Base kit w/ 1.28kVA, 3.36 kWH | ENCHARGE-10-1P-NA | 6831.3 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
281 | KU22575 | IQ Battery 10T | IQ-BATTERY-10T-1P-NA | 6831.3 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
282 | KU22118 | Standing Seam Clamp Simpleblock-PV with Midclamp HW | 2015010 | 4.14 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
283 | KU21712 | Crossrail 44-x Black Connector SET | 4000052 | 4.86 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
284 | KU21697 | Crossrail 44-x End Caps; 10pcs/pack | 4000067 | 1.05 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
285 | KU21647 | Yeti Hidden Clamp | 4000050-H | 2.85 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
286 | KU14954 | Tilt Up Kit Connector Set | 4000505 | 3.14 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
287 | KU22304 | Splice Foot X | 4000113 | 6.68 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
288 | KU22305 | Splice Foot XL | 4000162 | 7.73 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
289 | KU20175 | Bonded Splice | XR-100-SPLC-BD | 3.99 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
290 | KU20278 | Rail 204" Clear | XR-1000-168B | 74.57 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
291 | KU20729 | Mill Clamp | UFO-CL-001 | 2.28 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
292 | KU20730 | Black Clamp | UFO-CL-001-B | 2.46 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
293 | KU20189 | Mill | FM-FF2-001 | 9.69 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
294 | KU20190 | Black | FM-FF2-001-B | 10.9 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
295 | KU20191 | Square Bolt; Pack of 4 | FM-SQ-BHW | 1.31 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
296 | KU20195 | Grounding Lug, low profile | GD-LUG-003 | 4.83 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
297 | KU20773 | Flashing Comp Kit, Black | 242-01236 | 7.79 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
298 | KU21710 | Bounding Mid Clamp | 242-02070 | 2.05 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
299 | KU21437 | Universal Wire Clamp R | 242-02150 | 1.9 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
300 | KU20528 | Skirt 162" | 232-01259 | Call for Price | PROD_KRUSE_Product_Catalogue_42_2023-03-25
301 | KU21029 | Skirt splice | 232-01251 | Call for Price | PROD_KRUSE_Product_Catalogue_42_2023-03-25
302 | KU21030 | Skirt frame mount | 242-92211 | Call for Price | PROD_KRUSE_Product_Catalogue_42_2023-03-25
303 | KU20527 | Frame Attachment Kit | 242-02151 | 2.27 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
304 | KU20740 | End Cap | 232-02452 | 0.34 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
305 | KU21430 | Wire retention clip, blk | 232-01106 | Call for Price | PROD_KRUSE_Product_Catalogue_42_2023-03-25
306 | KU20676 | Ground Lug R | 242-02101 | 2.91 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
307 | KU22450 | MiniRail Kit | 4000073 | 7.56 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
308 | KU22364 | Weeb lug 10.3 with Hardware | 4000622 | 5.84 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
309 | KU20153 | Dome R2 Peak | 4000592 | 8.31 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
310 | KU20154 | Dome R2 Base | 4000593 | 4.78 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
311 | KU20155 | Dome R2 Roof Protection Mat | 4000594 | 5.53 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
312 | KU20156 | Dome R2 Roof Spacer Pad | 4000636 | 2.4 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
313 | KU20300 | Corner Strut Kit | 4000637 | 14.08 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
314 | KU20307 | Anchor Bracket for Porter | 4000639 | 3.05 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
315 | KU20158 | Ballast Porter 60/120 cell | 4000597 | 12.06 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
316 | KU20157 | Ballast Porter 72/144 cell | 4000651 | 13.14 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
317 | KU20225 | Ballast Porter 96 cell | 4000653 | 12.07 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
318 | KU20137 | Mid Clamp UL2703+; 34-39mm; Mill; pack of 20 | 4000604 | 2.25 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
319 | KU20118 | Mid Clamp UL2703+; 40-44mm; Mill; pack of 20 | 4000605 | 2.24 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
320 | KU21499 | Inverter Mounting | BX-CMA-S1-M1 | 66.85 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
321 | KU14595 | 1.5" Pipe L-Bracket Kit | 4001196 | 8.25 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
322 | KU14586 | Pipe Tee Hollaender 1.5" | 8060 | 15.58 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
323 | KU15143 | Pipe Tee Hollaender 2.0" | 8060 | 35.25 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
324 | KU22612 | Deck Mount Kit - 36 Mounts | 16317 | 226.8 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
325 | KU22210 | Microflashing RT-Mini | RT2-00-MINBLK | 5.2 | PROD_KRUSE_Exclusive_Panel_Pricing_2023-04-02
326 | KU22357 | Photovoltaic Wire 10 AWG Black; 500ft | 01-PV-10X-SJ-BLK-2 | 198.36 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
327 | KU22359 | Photovoltaic Wire 10 AWG Red; 500ft | 01-PV-1019X-SJ-RED-2 | 198.36 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
328 | KU22663 | Dual power inverter | DPI-1200.25 | 242.44 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
329 | KU15401 | Slide Comp. V2 or V3 | ROCK-IT SLIDECOMP | 2.76 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
330 | KU20578 | Slide Tile 8” V2 or V3 | ROCK-IT SYSTEM SLIDE | 3.16 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
331 | KU14433 | Simple Seal Bushing EPDM | SIM SEAL | 0.31 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
332 | KU22665 | Data Communication Gateway-LTE Comms | Gateway | 820.99 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
333 | KU23081 | SolarLeaf Power level storage | SL-1000 | 1377.5 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
334 | KU20492 | Black Galvalume; 8“ X 12“ Flashing | GF1-GAL-BLK-812 | 2.37 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
335 | KU14631 | Adjustable L-foot bracket Flashing | L-102-3-Anodized | 3.03 | PROD_KRUSE_Product_Catalogue_42_2023-03-25
336 | KU13943 | Lag Screw 5/16x4” Flashing | D145/16X4 | 0.41 | PROD_KRUSE_Product_Catalogue_42_2023-03-25