## README
Pricelist Instructions
Worksheet Tabs - Click the tabs at the bottom of this worksheet to explore each product category: systems and bundles, batteries, all other equipment, and FLEXpower systems for international markets
Ordering Guidelines - When placing a new order or revision to an existing order, please email to “alphaorders@alpha.com”. Our name on your purchase order needs to be Alpha Technologies Services, Inc. (not OutBack Power). Our mailing address is: Alpha Technologies Services, Inc. 3767 Alpha Way Bellingham, WA 98226 (Ph) 360-647-2360 alphaorders@alpha.com When ordering batteries or systems that include batteries, please include a ship-to contact name and phone number, so we can contact your customer to arrange delivery. To obtain product lead-times BEFORE placing a purchase order, email sales@outbackpower.com and copy your Regional Sales Manager. This is the general Inside Sales’ email address that can be accessed by many and ensures a quicker response. They can help with estimated lead times, quotes, bill of materials (BOMs), and product selection. For estimated shipping dates and tracking numbers AFTER placing an order, email your Order Management representative: Bethany Wilson (bwilson@alpha.com) or Michael Handron (mhandron@alpha.com) and copy your Regional Sales Manager, so they can assist you as you order moves through our order fulfilment process. If you need a copy of Alpha Technologies Services, Inc.’s W-9 form or have any additional questions, please contact your Regional Sales Manager.
Search bar - The green search cell at the bottom of the table of contents of the System and Equipment Price Sheets allows the user to search by any keyword, or partial keyword. To use this function, enter the search term into that cell and press Enter. The function will highlight all rows that contain that term in the same shade of green as the search cell itself. For example, if the user wants to find all lines that contain the letters "PNL" for panel breakers, type PNL into the search cell, hit Enter, and scroll down to find all the rows containing "PNL" highlighted green. Searches can also be more specific, for example "Radian", or "SkyBox". The search cells come preloaded with example search terms for reference. If you do not want to use this feature, simply delete the word in the search cell, or delete the entire row containing the search cell.
Table of Contents - Click on the name of the product category to view and Excel will navigate to the line at the top of that section. This feature only works in the Excel version of the pricelist. The feature will not work if the name of the Excel tab is changed. If the order of product rows is changed, the links will still direct to their original cell destinations.
Product Webpage Links - Click on the title of each product category to open the top-level webpage at www.outbackpower.com for that product. Please report any broken links if encountered.
Shipping information - We added shipping information for individual product units and lot quantities. We did not include shipping information for small, low cost and light weight product accessories. That information is available on the respective product data sheet on www.outbackpower.com, or through your OutBack sales professional. SystemEdge shipping estimates are available through the sales team.
Document Control - This document is uploaded into SAP with the PN 903-0032-01-00, rev S.

## Year End Discounts
Part Number |  | Part Description | Markup Pricing | Year End Discounted Pricing | Individual Weight Inverter/Battery (lbs.) | Individual Dimensions Inverter/Battery (WxHxD) (in.)
|  | Price List | Effective
|  | *** CONFIDENTIAL *** | 2023-10-03
Bill Dougherty | NSM | 1) Prices are only valid while supplies last and can be revoked by Enersys at any time without notice. 2) Enersys will NOT be issuing any credit memos or allowing customers to short pay outstanding invoices for the difference between the price paid and new discounted pricing. 3) Customers with open orders that have not shipped will need to send in a revised PO before their order ships at the new price(s) so that Enersys can adjust their open order(s) accordingly. Price adjustments on these orders will only be honored if the order is shipped and invoiced no later than December 31, 2023.
360-510-1547 | PHONE
bill.dougherty@enersys.com | EMAIL
Discounted Items Highlighted in Yellow on All Other Tabs
(See notes section on other tabs for pallet quantity discounts)
Markup Percentage
25%
Part Number | Minimum Order Quantity | Part Description | Markup Pricing | Year End Discounted Pricing | Individual Weight Inverter/Battery (lbs.) | Individual Dimensions Inverter/Battery (WxHxD) (in.)
Mojave Series
Grid Hybrid Energy Storage System
OGHESS8015A | 1 | Mojave ESS *For adding energy storage to a new or existing grid-dependent micro or string inverter (AC-coupled) installation, or back-up only installations* Includes 8kW Mojave inverter, 14.8kWh battery, Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Standard 10-year warranty - Listed to UL 1741-SA **Ships from Spokane Valley, WA | 9875 | 7900 | 133lb/455lb | 16 × 38 × 11.25/ 24 × 44 × 12.25
OGHI8048A | 1 | Mojave Inverter *For adding energy storage to a ne or existing grid-dependent micro or string inverter (AC-coupled) installation, or back-up only installations* Includes 8kW Mojave inverter, Current sensor pair (200A), inverter mounting bracket, and mounting hardware. Standard 10-year warranty - Listed to UL 1741-SA **Ships from Spokane Valley, WA | 2875 | 2300 | 133lb | 16 × 38 × 11.25
MOJAVE SHIPPING |  | Flat rate shipping for OGHESS8015A to contiguous US. If a lift gate is required, there will be an additional $150 fee. | 750 | 600
SE-SE815ESS-90HM | 1 | Bundled OGHESS8015A Includes 8kW Mojave inverter, 14.8kWh battery, Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Also includes (6) OBHM-1500-NT 4-input Hoymiles microinverters, DTU communications hub, (6) 2m trunk cables, and connector tools. ***Standard shipping included | 12500 | 10000
SE-SE815ESS-30HM | 1 | Bundled OGHESS8015A Includes 8kW Mojave inverter, 14.8kWh battery, Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Also includes (2) OBHM-1500-NT 4-input Hoymiles microinverters, DTU communications hub, (6) 2m trunk cables, and connector tools. ***Standard shipping included | 11250 | 9000
FLEXpower ONE Fully Pre-wired and Factory Tested Single FXR Inverter Systems 120VAC
Off-Grid and Grid Tied in one w/ grid support
Sealed, 120VAC / 60Hz(50Hz) selectable |  |  |  |  | 0 | 0 | 0 | 0 | 0
FP1 VFXR3524A-01 | Minimum Purchase of 6 Units ($2,500 for individual units) | FLEXpower One 3.5 kW, 24 VDC solution, single VFXR3524A-01, prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 250 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA | 2844 | 2275 | 110 | 24x40x16 | 6 | 2030 | 48x40x54 | No
FP1 VFXR3648A-01 | Minimum Purchase of 6 Units ($2,500 for individual units) | FLEXpower One 3.6 kW, 48 VDC solution, single VFXR3648A-01, prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 175 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA | 2844 | 2275 | 112 | 24x40x17 | 6 | 2066 | 48x40x59 | No
FLEXpower TWO Fully Pre-wired and Factory Tested Dual FXR Inverter Systems 120/240VAC
Off-Grid and Grid Tied in one w/grid support
Sealed, 120/240VAC / 60Hz(50Hz) selectable |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FP2 VFXR3524A-01 | 1 | FLEXpower TWO 7.0 kW, 24 VDC solution, dual VFXR3524A-01, prewired AC & DC boxes with AC bypass 250 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA | 5157 | 4125 | 259 | 20.25×46×13 | 1 | 273 | 48x40x20 | Yes 4 High
FP2 VFXR3648A-01 | 1 | FLEXpower TWO 7.2 kW, 48 VDC solution, dual VFXR3648A-01, prewired AC & DC boxes with AC bypass 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA | 5157 | 4125 | 256 | 20.25×46×13 | 1 | 270 | 48x40x20 | Yes 4 High
FLEXpower Radian Fully Pre-wired and Factory Tested Single Inverter Systems - Grid-Interactive and Stand-Alone in one with Dual AC Inputs
120V/240VAC / 60Hz(50Hz) selectable
FPR-4048A-01 | 1 | GS4048A-01 Inverter/Charger 4.0 kW, 48 VDC FLEXpower Radian, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breaker, 125 Amp charge controller breakers, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 80 charge controller. Listed to UL1741-SA | 3719 | 2975 | 195 | 47x34x10 | 1 | 213 | 48x40x18 | Yes 4 High
FPR-4048A-300AFCI | 1 | GS4048A-01 Inverter/Charger 4.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breaker, 125 Amp charge controller breaker, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 100 AFCI charge controller. Listed to UL1741-SA | 4332 | 3465 | 199 | 47x34x10 | 1 | 218 | 48x40x18 | Yes 4 High
FPR-8048A-01 | 1 | GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus two FLEXmax 80 charge controllers. Listed to UL1741-SA | 5075 | 4060 | 250 | 47x34x10 | 1 | 272 | 48x40x18 | Yes 4 High
FPR-8048A-300AFCI | 1 | GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, 125 Amp charge controller breakers, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus two FLEXmax 100 AFCI charge controllers. Listed to UL1741-SA | 6344 | 5075 | 258 | 47x34x10 | 1 | 218 | 48x40x18 | Yes 4 High
FPR-8048A-300A-LT | 1 | Single FM100-300VDC-AFCI version - GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, 125 Amp charge controller breakers, 80 Amp PV breakers, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 100 AFCI charge controller. Listed to UL1741-SA | 5225 | 4180 | 238 | 47x34x10 | 1 | 198 | 48x40x18 | Yes 4 High
Radian Series Inverter/Charger
Grid-Interactive and Stand-Alone Inverter/Charger
GS4048A-01 | Minimum Purchase of 6 Units or Multiples Thereof (E.g. 6, 12, 18, etc.) | 4.0 kW, 48 VDC, 120/240 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS. Listed to UL1741-SA | 1725 | 1380 | #N/A | 35x21x14 | 6 | 740 | 48x40x48 | No
GS8048A-01 | Minimum Purchase of 6 Units or Multiples Thereof (E.g. 6, 12, 18, etc.) | 8.0 kW, 48 VDC, 120/240 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS. Listed to UL1741-SA | 2513 | 2010 | #N/A | 35x21x14 | 6 | 998 | 48x40x48 | No
Communications
System Controller
MATE3SL | Minimum Purchase of 25 Units | Universal version required by (V)FXR and GS inverters, Dark gray square housing - ***NOT COMPATIBLE WITH OpticsRE*** | 207 | 165 | 3 | 14x9x4 | 228 | 734 | 48x40x82 | No
Module Level Rapid Shutdown - NEC 2014 and 2017 Compliant Systems
FireRaptor
OBFRS-01 | Minimum Purchase of 16 Units or Multiples Thereof (E.g. 16, 32, 48, etc.) | FireRaptor Rapid Shutdown Unit | 55 | 44 |  |  | 16 | 38 | 19x13x13 | yes
Charge Controllers
FLEXmax Series MPPT Charge Controller
FM100-300VDC-AFCI | Minimum Purchase of 70 Units or Multiples Thereof (E.g. 70, 140, 210, etc.) | 100 Amp output @ 25 ◦C, 24, 36 and 48 VDC nominal battery, 300 VDC PV maximum, IP54 enclosure, integrated arc fault detection and interruption (AFCI) | 957 | 765 | 19.75 | 26x12x10 | 38 | 805 | 48x40x83 | No
FM80-150VDC | Minimum Purchase of 70 Units or Multiples Thereof (E.g. 70, 140, 210, etc.) | 80 Amp output @ 40 ◦C, 12 to 60 VDC battery, 150 VDC PV maximum | 357 | 285 | #N/A | 20x9x10 | 70 | 1030 | 48x40x76 | No
FM60-150VDC | Minimum Purchase of 70 Units or Multiples Thereof (E.g. 70, 140, 210, etc.) | 60 Amp output @ 40 ◦C, 12 to 60 VDC battery, 150 VDC PV maximum | 338 | 270 | #N/A | 17x9x10 | 70 | 1030 | 48x40x76 | No

## Mojave
Part Number | return to top of pricelist |  | Part Description | Markup Pricing | Tier F Pricing | Individual Weight Inverter/Battery (lbs.) | Individual Dimensions Inverter/Battery (WxHxD) (in.)
|  |  | Price List | Effective
|  |  | *ALL PRICES SUBJECT TO CHANGE WITHOUT NOTICE | 2023-10-03
*** CONFIDENTIAL ***
Bill Dougherty | NSM |  | *Internal use only*
360-510-1547 | PHONE
bill.dougherty@enersys.com | EMAIL
Table of Contents
Mojave Series
|  | Search: |  | Markup Percentage
25%
Part Number |  |  | Part Description | Markup Pricing | Tier F Pricing | Individual Weight Inverter/Battery (lbs.) | Individual Dimensions Inverter/Battery (WxHxD) (in.)
Mojave Series
Grid Hybrid Energy Storage System
OGHESS8015A |  |  | Mojave ESS *For adding energy storage to a new or existing grid-dependent micro or string inverter (AC-coupled) installation, or back-up only installations* Includes 8kW Mojave inverter, 14.8kWh battery, Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Standard 10-year warranty - Listed to UL 1741-SA **Ships from Spokane Valley, WA | 9875 | 7900 | 133lb/455lb | 16 × 38 × 11.25/ 24 × 44 × 12.25
OGHI8048A |  |  | Mojave Inverter *For adding energy storage to a ne or existing grid-dependent micro or string inverter (AC-coupled) installation, or back-up only installations* Includes 8kW Mojave inverter, Current sensor pair (200A), inverter mounting bracket, and mounting hardware. Standard 10-year warranty - Listed to UL 1741-SA **Ships from Spokane Valley, WA | 2875 | 2300 | 133lb | 16 × 38 × 11.25
MOJAVE SHIPPING |  |  | Flat rate shipping for OGHESS8015A to contiguous US. If a lift gate is required, there will be an additional $150 fee. | 750 | 600
Optional Accessories
OBCT-100 |  |  | One pair of split core external current transformers, 100 Amp | 293.75 | 235
OBCT-200 |  |  | One pair of split core external current transformers, 200 Amp | 246.25 | 197
SPARE-501 |  |  | Mojave OGHI8048A Ctrl Brd - Includes: replacement control board, ribbon cable, screws, bracket, AUX plug | 998.75 | 799
SPARE-502 |  |  | Mojave OGHI8048A AC Brd - Includes: replacement AC board, ribbon cable, screws | 2000 | 1600
SPARE-504 |  |  | Mojave PWR MDL Carrier Brd - Includes: replacement Carrier board, screws, washers | 808.75 | 647
SPARE-506 |  |  | Mojave OGHI8048A Power Module - Includes: replacement power module, screws, washers | 343.75 | 275
SPARE-508 |  |  | Mojave OGHI8048A Fan Module - Includes: replacement fans (2) connected to fan bracket, screws | 118.75 | 95
SPARE-509 |  |  | Mojave CAN BUS Terminator | 31.25 | 25
SPARE-510 |  |  | Mojave Antenna Kit - Includes: replacement Antenna, antenna cable, ziptie | 40 | 32
SPARE-511 |  |  | Mojave Inv Mounting Bracket - Includes: inverter mounting bracket, screws and washers | 46.25 | 37
SPARE-512 |  |  | OGHI8048A Cover - Includes: inverter upper cover, washers and screws | 490 | 392
SPARE-514 |  |  | OGHI8048A BOS Door - Includes: inverter BOS door, latch and 2 attachment pins | 163.75 | 131
SPARE-515 |  |  | OGHI8048A Hardware Kit for BOS Door- Includes: latch and attachment pins for inverter BOS door | 66.25 | 53
DIN-60D-AC-480 |  |  | 60 Amp AC dual-pole circuit breaker, 277/480 VAC 50/60 Hz Dual Pole 1.0" (26mm) wide | 41.25 | 33
PNL-250-DC |  |  | 250 Amp DC circuit breaker, 125 VDC, 3/8” stud terminals | 103.75 | 83

## OutBack Power Systems & Bundles
Part Number | return to top of pricelist |  | Part Description | Markup Pricing | Tier F Price USD | Individual Weight (lbs.) | Individual Dimensions (LxWxH) (in.) | Lot Quantity | Est. Lot Shipping Weight (Including Pallet) (lbs.) | Est. Lot Shipping Dimensions (LxWxH) (in.) | Stackable For Transit? | Notes
|  |  | Price List | Effective |  |  |  | * Lot quantity refers to unit quantity in single shipping enclosure, either pallet or parcel
|  |  | *ALL PRICES SUBJECT TO CHANGE WITHOUT NOTICE | 2023-10-03
*** CONFIDENTIAL ***
Bill Dougherty | NSM |  | *Internal use only*
360-510-1547 | PHONE
bill.dougherty@enersys.com | EMAIL
Table of Contents
SystemEdge
Radian AC Coupling Bundles
FLEXpower Radian Fully Pre-wired and Factory Tested Inverter Systems 120/240VAC
Energy Storage Enclosure
Module Level Rapid Shutdown - NEC 2014 and 2017 Compliant Systems
FLEXpower ONE Fully Pre-wired and Factory Tested Single FXR Inverter Systems 120VAC
FLEXpower TWO Fully Pre-wired and Factory Tested Dual FXR Inverter Systems 120/240VAC
FLEXpower THREE and FOUR Fully Pre-wired and Factory Tested Triple and Quad FXR Inverter Systems 120/208VAC
International FLEXpower ONE Fully Pre-wired and Factory Tested Single Inverter Systems 230VAC/50Hz
International FLEXpower TWO Fully Pre-wired and Factory Tested Dual Inverter Systems 230VAC/50Hz
International FLEXpower THREE and FOUR Fully Pre-wired and Factory Tested Triple and Quad Inverter Systems 230/400VAC/50Hz
|  | Search: |  | Markup Percentage
25%
Part Number |  |  | Part Description | Markup Pricing | Tier F Price USD | Individual Weight (lbs.) | Individual Dimensions (LxWxH) (in.) | Lot Quantity* | Est. Lot Shipping Weight (Including Pallet) (lbs.) | Est. Lot Shipping Dimensions (LxWxH) (in.) | Stackable For Transit? | Notes
SystemEdge
Integrated System Packages
SE-SE815ESS-90HM | Shipping Included |  | Bundled OGHESS8015A Includes 8kW Mojave inverter, 14.8kWh battery, Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Also includes (6) OBHM-1500-NT 4-input Hoymiles microinverters, DTU communications hub, (6) 2m trunk cables, and connector tools. ***Standard shipping included | 12500 | 10000
SE-SE815ESS-30HM | Shipping Included |  | Bundled OGHESS8015A Includes 8kW Mojave inverter, 14.8kWh battery, Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Also includes (2) OBHM-1500-NT 4-input Hoymiles microinverters, DTU communications hub, (6) 2m trunk cables, and connector tools. ***Standard shipping included | 11250 | 9000
SE-SE830BLU-90HM | Temporary Price Change |  | Bundled OGHI8048A Includes 8kW Mojave inverter, with an IBR-3-48-175 battery rack and (12) NSB190FT BLUE+ batteries providing 19.2 kWh of nameplate energy storage. Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Also includes (6) OBHM-1500-NT 4-input Hoymiles microinverters, DTU communications hub, (6) 2m trunk cables, and connector tools. ***Standard shipping included | 13468.75 | 10775
SE-SE830BLU-30HM | Temporary Price Change |  | Bundled OGHI8048A Includes 8kW Mojave inverter, with an IBR-3-48-175 battery rack and (12) NSB190FT BLUE+ batteries providing 19.2 kWh of nameplate energy storage. Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Also includes (2) OBHM-1500-NT 4-input Hoymiles microinverters, DTU communications hub, (6) 2m trunk cables, and connector tools. ***Standard shipping included | 12856.25 | 10285
SE-420BLU-300AFCI | Shipping Included |  | Bundled FPR-4048A-300AFCI 4.0 kW FLEXpower Radian with an IBR-2-48-175 battery rack and eight BLUE+ batteries providing 19.2 kWh of nameplate energy storage. Includes 16 OBFRS-01 module level shutdown devices, RSI , 1A breaker and 24V power supply, FLEXmax 100 AFCI, and one FWPV6-FH600 combiner box. Ideal for Back Up applications. ***Standard shipping included | 13295 | 10636
SE-830BLU-300AFCI | Shipping Included |  | Bundled FPR-8048A-300AFCI 8.0 kW FLEXpower Radian with an IBR-3-48-175 battery rack and twelve BLUE+ batteries providing 28.8 kWh of nameplate energy storage. Includes 32 OBFRS-01 module level shutdown devices, RSI , 1A breaker and 24V power supply, FLEXmax 100 AFCI, and one FWPV6-FH600 combiner box. Ideal for Back Up applications. ***Standard shipping included | 19768.75 | 15815
Radian Series Inverter/Charger
AC Coupling Radian Bundles
GS8048A-AC-KIT |  |  | Bundled for frequency shifting AC Coupling, one of each - Radian GS8048A-01 inverter, GSLC175-120/240 load center, mounting hardware, RTS, MATE3s and mounting bracket (FW-MB3), generator kit (GS-AC-GEN-KIT) and 30 Amp 120/240 VAC double pole breaker (PNL-30D-AC-120/240) for connecting the grid-tie inverter(s). Listed to UL1741-SA. Components invoiced and shipped individually with discount. Not a FLEXpower Pre-Wired System. | 5550 | 4440
GS4048A-AC-KIT |  |  | Bundled for frequency shifting AC Coupling, one of each - Radian GS4048A-01 inverter, GSLC175-120/240 load center, mounting hardware, RTS, MATE3s and mounting bracket (FW-MB3), generator kit (GS-AC-GEN-KIT) and 30 Amp 120/240 VAC double pole breaker (PNL-30D-AC-120/240) for connecting the grid-tie inverter(s). Listed to UL1741-SA. Components invoiced and shipped individually with discount. Not a FLEXpower Pre-Wired System. | 4100 | 3280
FLEXpower Radian Fully Pre-wired and Factory Tested Single Inverter Systems - Grid-Interactive and Stand-Alone in one with Dual AC Inputs
120V/240VAC / 60Hz(50Hz) selectable
FPR-8048A-01 |  |  | GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus two FLEXmax 80 charge controllers. Listed to UL1741-SA | 5075 | 4060 | 250 | 47x34x10 | 1 | 272 | 48x40x18 | Yes 4 High
FPR-8048A-300AFCI |  |  | GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, 125 Amp charge controller breakers, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus two FLEXmax 100 AFCI charge controllers. Listed to UL1741-SA | 6343.75 | 5075 | 258 | 47x34x10 | 1 | 218 | 48x40x18 | Yes 4 High
FPR-8048A-300A-LT |  |  | Single FM100-300VDC-AFCI version - GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, 125 Amp charge controller breakers, 80 Amp PV breakers, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 100 AFCI charge controller. Listed to UL1741-SA | 5225 | 4180 | 238 | 47x34x10 | 1 | 198 | 48x40x18 | Yes 4 High
FPR-4048A-01 |  |  | GS4048A-01 Inverter/Charger 4.0 kW, 48 VDC FLEXpower Radian, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breaker, 125 Amp charge controller breakers, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 80 charge controller. Listed to UL1741-SA | 3718.75 | 2975 | 195 | 47x34x10 | 1 | 213 | 48x40x18 | Yes 4 High
FPR-4048A-300AFCI |  |  | GS4048A-01 Inverter/Charger 4.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breaker, 125 Amp charge controller breaker, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 100 AFCI charge controller. Listed to UL1741-SA | 4331.25 | 3465 | 199 | 47x34x10 | 1 | 218 | 48x40x18 | Yes 4 High
Energy Storage
Enclosures
IBR-2-48-175 |  |  | 2-shelf comprehensive battery enclosure with cabling, DC disconnects providing series string overcurrent protection, 48 VDC configuration | 1393.75 | 1115 | 60 | 27x24.5x33 | 1 | 100 | 27x24.5x37 | Yes
IBR-3-48-175 |  |  | 3-shelf comprehensive battery enclosure with cabling, DC disconnects providing series string overcurrent protection, 48 VDC configuration | 2681.25 | 2145 | 89 | 27x24.5x48.6 | 1 | 129 | 27x24.5x52.6 | Yes
Module Level Rapid Shutdown - NEC 2014 and 2017 Compliant Systems
FireRaptor
OBFRS-01 |  |  | FireRaptor Rapid Shutdown Unit | 71.25 | 57 |  |  | 16 | 38 | 19x13x13 | yes | $44 price only applicable when purchased in multiples of 16.
OBFRS-ESW1 | Temporarily Unavailable |  | FireRaptor Shutdown Switch for OBFRS-01 | 166.25 | 133 |  |  | 1 | 2 | 6x6x6 | yes
OBFRS-ESW1-24 |  |  | FireRaptor Shutdown Switch for up to (100) OBFRS-01 | 188.75 | 151 |  |  | 1 | 2 | 6x6x6 | yes
OBFRS-SIGCAB1.8-F |  |  | 70" Signal Cable, Tyco female connector | 6.25 | 5 |  |  | 1 | 14 | 16x13x12 | yes
OBFRS-ECP |  |  | Additional Signal Cable End Cap, only needed for customers who purchase neither OBFRS-ESW1 nor RSI | 20 | 16
OBR-16-24-DIN |  |  | OutBack 16 Amp Maximum 24 VDC Relay and DIN Mount Base with LED for Module Level PV Rapid Shutdown FireRaptor Shutdown Switch connection | 10 | 8
FLEXpower ONE Fully Pre-wired and Factory Tested Single FXR Inverter Systems 120VAC
Off-Grid and Grid Tied in one w/ grid support
Sealed, 120VAC / 60Hz(50Hz) selectable | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
FP1 FXR3048A-01 |  |  | FLEXpower One 3.0 kW, 48 VDC solution, single FXR3048A-01 , prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 175 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA | 4321.25 | 3457 | 110 | 24x40x16 | 6 | 2030 | 48x40x54 | No
FP1 FXR2524A-01 |  |  | FLEXpower One 2.5 kW, 24 VDC solution, single FXR2524A-01, prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 175 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA | 4376.25 | 3501 | 111 | 24x40x17 | 6 | 2048 | 48x40x57 | No
Vented, 120VAC / 60Hz(50Hz) selectable
FP1 VFXR3648A-01 |  |  | FLEXpower One 3.6 kW, 48 VDC solution, single VFXR3648A-01, prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 175 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA | 4473.75 | 3579 | 112 | 24x40x17 | 6 | 2066 | 48x40x59 | No | $2,275 when ordered in multiples of 6. Less than pallet pricing of $2,500 only applicable on orders of $10,000 and up).
FP1 VFXR3524A-01 |  |  | FLEXpower One 3.5 kW, 24 VDC solution, single VFXR3524A-01, prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 250 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA | 4525 | 3620 | 110 | 24x40x16 | 6 | 2030 | 48x40x54 | No | $2,275 when ordered in multiples of 6. Less than pallet pricing of $2,500 only applicable on orders of $10,000 and up).
FLEXpower TWO Fully Pre-wired and Factory Tested Dual FXR Inverter Systems 120/240VAC
Off-Grid and Grid Tied in one w/grid support
Sealed, 120/240VAC / 60Hz(50Hz) selectable | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
FP2 FXR3048A-01 |  |  | FLEXpower TWO 6.0 kW, 48 VDC solution, dual FXR3048A-01, prewired AC & DC boxes with AC bypass 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA | 7878.75 | 6303 | 256 | 20.25×46×13 | 1 | 282 | 48x40x20 | Yes 4 High
FP2 FXR2524A-01 |  |  | FLEXpower TWO 5.0 kW, 24 VDC solution, dual FXR2524A-01, prewired AC & DC boxes with AC bypass 250 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA | 7987.5 | 6390 | 249 | 20.25×46×13 | 1 | 275 | 48x40x20 | Yes 4 High
Vented, 120VAC / 60Hz(50Hz) selectable
FP2 VFXR3648A-01 |  |  | FLEXpower TWO 7.2 kW, 48 VDC solution, dual VFXR3648A-01, prewired AC & DC boxes with AC bypass 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA | 5156.25 | 4125 | 256 | 20.25×46×13 | 1 | 270 | 48x40x20 | Yes 4 High
FP2 VFXR3524A-01 |  |  | FLEXpower TWO 7.0 kW, 24 VDC solution, dual VFXR3524A-01, prewired AC & DC boxes with AC bypass 250 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA | 5156.25 | 4125 | 259 | 20.25×46×13 | 1 | 273 | 48x40x20 | Yes 4 High
FLEXpower THREE and FOUR Fully Pre-wired and Factory Tested Dual FXR Inverter Systems 120/208VAC
Off-Grid and Grid Tied in one w/grid support
Sealed, 120/208/240VAC / 60Hz(50Hz) selectable | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
FP3 FXR3048A-01 | Built to order, cannot be cancelled or returned |  | FLEXpower THREE 9 kW, 48 VDC three-phase solution, triple FXR3048A-01, pre-wired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC and surge protectors, three FLEXmax 80 MPPT charge controllers, MATE3s and brackets. Listed to UL1741-SA | 14267.5 | 11414 | 433 | 46x46x13 | 1 | 546 | 53x47x34 | Yes 2 High
FP4 FXR3048A-01 | Built to order, cannot be cancelled or returned |  | FLEXpower FOUR 12 kW, 48 VDC solution, quad FXR3048A-01, pre-wired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors, four FLEXmax 80 MPPT charge controllers, MATE3s and brackets. Listed to UL1741-SA | 16838.75 | 13471 | 500 | 46x46x13 | 1 | 633 | 53x47x34 | Yes 2 High
Vented, 120/208/240VAC / 60Hz(50Hz) selectable
FP3 VFXR3648A-01 | Built to order, cannot be cancelled or returned |  | FLEXpower THREE 10.8 kW, 48 VDC solution, triple VFXR3648A-01, pre-wired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC and surge protectors, three FLEXmax 80 MPPT charge controllers, MATE3s and brackets. Listed to UL1741-SA | 14925 | 11940 | 433 | 46x46x13 | 1 | 629 | 53x47x33 | Yes 2 High
FP4 VFXR3648A-01 | Built to order, cannot be cancelled or returned |  | FLEXpower FOUR 14.4 kW, 48 VDC solution, quad VFXR3648A-01, pre-wired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors, four FLEXmax 80 MPPT charge controllers, MATE3s and brackets. Listed to UL1741-SA | 17592.5 | 14074 | 500 | 46x46x13 | 1 | 629 | 53x47x34 | Yes 2 High
FLEXpower ONE Fully Pre-wired and Factory Tested Single Inverter Systems
Off-Grid and Grid Tied in one - For 230VAC /50Hz (60Hz)applications
FP1 VFXR3048E |  |  | FLEXpower One 3.0 kW, 48VDC solution, single VFXR3048E, prewired AC and DC boxes with 230 VAC Bypass, 175 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector | 4537.5 | 3630 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
FP1 VFXR3024E |  |  | FLEXpower One 3.0 kW, 24 VDC solution, single VFXR3024E, prewired AC and DC boxes with 230VAC Bypass, 250 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector | 4828.75 | 3863 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
FLEXpower TWO Fully Pre-wired and Factory Tested Dual Inverter Systems
Off-Grid and Grid Tied in one - For 230VAC /50Hz (60Hz)applications
FP2 VFXR3048E |  |  | FLEXpower TWO 6 kW, 48 VDC solution, dual VFXR3048E, prewired AC and DC boxes with 230 VAC Bypass, 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB, RTS, FLEXnet DC, and surge protectors plus two FLEXmax 80 MPPT charge controllers, MATE3s and brackets | 8388.75 | 6711 | 256 | 20.25×46×13 | #N/A | 350 | #N/A | #N/A
FP2 VFXR3024E |  |  | FLEXpower TWO 6 kW, 24VDC solution, dual VFXR3024E, prewired AC and DC boxes with 230 VAC Bypass, 250 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB, RTS, FLEXnet DC, and surge protectors plus two FLEXmax 80 MPPT charge controllers, MATE3s and brackets | 8743.75 | 6995 | 249 | 20.25×46×13 | #N/A | 350 | #N/A | #N/A
FLEXpower THREE and FOUR Fully Pre-wired and Factory Tested Dual Inverter Systems
Off-Grid and Grid Tied in one-For 230/400VAC /50Hz (60Hz)applications
FP3 VFXR3048E | Built to order, cannot be cancelled or returned |  | FLEXpower THREE 9 kW, 48 VDC solution, triple VFXR3048E, prewired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus three FLEXmax 80 MPPT charge controllers, MATE3s and brackets | 15356.25 | 12285 | 433 | 46x46x13 | #N/A | #N/A | #N/A | #N/A
FP3 VFXR3024E | Built to order, cannot be cancelled or returned |  | FLEXpower THREE 9 kW, 24 VDC, triple VFXR3024E, prewired AC and DC boxes with AC Bypass, 250 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus three FLEXmax 80 MPPT charge controllers, MATE3s and brackets | 15443.75 | 12355 | 424 | 46x46x13 | #N/A | #N/A | #N/A | #N/A
FP3 FXR2024E | Built to order, cannot be cancelled or returned |  | FLEXpower THREE 6 kW, 24 VDC, triple FXR2024E prewired AC and DC boxes with AC Bypass, 250 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus three FLEXmax 80 MPPT charge controllers, MATE3s and brackets | 15371.25 | 12297 | 424 | 46x46x13 | #N/A | #N/A | #N/A | #N/A
Off-Grid and Grid Tied in one - For 230VAC /50Hz (60Hz)applications
FP4 VFXR3048E | Built to order, cannot be cancelled or returned |  | FLEXpower FOUR 12 kW, 48 VDC solution, quad VFXR3048E, prewired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus four FLEXmax 80 MPPT charge controllers, MATE3s and brackets | 17492.5 | 13994 | 500 | 46x46x13 | #N/A | #N/A | #N/A | #N/A
FP4 FXR2348E | Built to order, cannot be cancelled or returned |  | FLEXpower FOUR 9.2 kW, 48 VDC solution, quad VFXR2348E, prewired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus four FLEXmax 80 MPPT charge controllers, MATE3s and brackets | 15261.25 | 12209 | 500 | 46x46x13 | #N/A | #N/A | #N/A | #N/A
Note on I1: Lot quantity refers to unit quantity in single shipping enclosure, either pallet or parcel
Note on I25: Lot quantity refers to unit quantity in single shipping enclosure, either pallet or parcel

## OutBack Power Equipment
Part Number | return to top of pricelist |  | Part Description | Markup Price USD | Tier F Price USD | Individual Weight (lbs.) | Individual Dimensions (LxWxH) (in.) | Lot Quantity | Est. Lot Shipping Weight (Including Pallet) (lbs.) | Est. Lot Shipping Dimensions (LxWxH) (in.) | Stackable For Transit? | Notes
|  |  | Price List | Effective |  |  |  | * Lot quantity refers to unit quantity in single shipping enclosure, either pallet or parcel
|  |  | *ALL PRICES SUBJECT TO CHANGE WITHOUT NOTICE | 2023-10-03
*** CONFIDENTIAL ***
Bill Dougherty | NSM |  | *Internal use only*
360-510-1547 | PHONE
bill.dougherty@enersys.com | EMAIL
Table of Contents
Charge Controllers
Radian Series Inverter/Charger
120VAC FXR Series Inverter/Chargers
120VAC FX M-Series Inverter/Chargers
230VAC FXR Series Inverter/Chargers
230VAC FX ME-Series Inverter/Chargers
Communications
FLEXware Integration Hardware
Integrated Combiner Solution Plus (ICS Plus)
Circuit Breakers
Module Level Rapid Shutdown - NEC 2014 and 2017 Compliant Systems
Miscellaneous
|  | Search: |  | Markup Percentage
25%
Part Number |  |  | Part Description | Markup Price USD | Tier F Price USD | Individual Weight (lbs.) | Individual Dimensions (LxWxH) (in.) | Lot Quantity* | Est. Lot Shipping Weight (Including Pallet) (lbs.) | Est. Lot Shipping Dimensions (LxWxH) (in.) | Stackable For Transit? | Notes
Charge Controllers
FLEXmax Series MPPT Charge Controller
FM100-300VDC-AFCI |  |  | 100 Amp output @ 25 ◦C, 24, 36 and 48 VDC nominal battery, 300 VDC PV maximum, IP54 enclosure, integrated arc fault detection and interruption (AFCI) | 1430 | 1144 | 19.75 | 26x12x10 | 38 | 805 | 48x40x83 | No | $765 price only applicable when purchased in multiples of 38.
FM80-150VDC |  |  | 80 Amp output @ 40 ◦C, 12 to 60 VDC battery, 150 VDC PV maximum | 505 | 404 | #N/A | 20x9x10 | 70 | 1030 | 48x40x76 | No | $285 price only applicable when purchased in multiples of 70.
FM60-150VDC |  |  | 60 Amp output @ 40 ◦C, 12 to 60 VDC battery, 150 VDC PV maximum | 448.75 | 359 | #N/A | 17x9x10 | 70 | 1030 | 48x40x76 | No | $270 price only applicable when purchased in multiples of 70.
Radian Series Inverter/Charger
Grid-Interactive and Stand-Alone Inverter/Charger
GS7048E |  |  | 7.0 kW, 48 VDC, 230 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS | 4725 | 3780 | #N/A | 35x21x14 | 6 | 872 | 48x40x48 | No
GS3548E |  |  | 3.5 kW, 48 VDC, 230 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS | 2677.5 | 2142 | #N/A | 35x21x14 | 6 | 608 | 48x40x48 | No
GS8048A-01 |  |  | 8.0 kW, 48 VDC, 120/240 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS. Listed to UL1741-SA | 4000 | 3200 | #N/A | 35x21x14 | 6 | 998 | 48x40x48 | No | $1,380 price only applicable when purchased in multiples of 6.
GS4048A-01 |  |  | 4.0 kW, 48 VDC, 120/240 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS. Listed to UL1741-SA | 2671.25 | 2137 | #N/A | 35x21x14 | 6 | 740 | 48x40x48 | No | $2,010 price only applicable when purchased in multiples of 6.
Optional Accessories
GSLC |  |  | GS Load Center for Radian Series. Includes inverter bus bars, ground bus bar, 500 Amp DC shunt assembly with negative TBB, neutral TBB and two STBB-RED bus bars. Holds up to eighteen 1 to 80 Amp and two 175 or 250 Amp panel mount breakers (not included) | 791.25 | 633 | #N/A | 23x21x16 | 15 | 620 | 48x40x69 | No
GSLC175-120/240 |  |  | Prewired GSLC with two 175 Amp inverter disconnects, 120/240 VAC inverter bypass and dual AC inputs | 1320 | 1056 | #N/A | 24x21x14 | 15 | 680 | 48x40x69 | No
GSLC175-PV-120/240 |  |  | Prewired GSLC with two 175 Amp inverter disconnects, 120/240 VAC inverter bypass, dual AC inputs, GFDI, FLEXnet DC, two PV disconnects and three 500 Amp DC shunts | 1500 | 1200 | #N/A | 24x21x15 | 15 | 770 | 48x40x69 | No
GSLC-PV-300VDC |  |  | Prewired 300 VDC GSLC for FM100 charge controllers with two 175 Amp inverter disconnects, 120/240 VAC inverter bypass, dual AC inputs, FLEXnet DC, two PV disconnects and three 500 Amp DC shunts (GFDI integrated in FLEXmax 100) | 1562.5 | 1250 | #N/A | 23x21x15 | 15 | 830 | 48x40x69 | No
GSLC175PV1-120/240 |  |  | Prewired GSLC with one 175 Amp inverter disconnect, 120/240 VAC inverter bypass, dual AC inputs, GFDI, FLEXnet DC, one PV disconnect and two 500 Amp DC shunts | 1520 | 1216 | #N/A | 23x21x15 | 15 | 740 | 48x40x69 | No
GSLC-PV1-300VDC |  |  | Prewired 300 VDC GSLC for FM100 charge controllers with one 175 Amp inverter disconnect, 120/240 VAC inverter bypass, dual AC inputs, FLEXnet DC, one PV disconnect and two 500 Amp DC shunts (GFDI integrated in FLEXmax 100) | 1672.5 | 1338 | #N/A | 23x21x15 | 15 | 725 | 48x40x69 | No
GSLC175-230 |  |  | Prewired GSLC with two 175 Amp inverter disconnects, 230 VAC inverter bypass and dual AC inputs | 1392.5 | 1114 | #N/A | 23x21x15 | 15 | 665 | 48x40x69 | No
GSLC175-PV-230 |  |  | Prewired GSLC with two 175 Amp inverter disconnects, 230 VAC inverter bypass, dual AC inputs, GFDI, FLEXnet DC, two PV disconnects and three 500 Amp DC shunts | 1670 | 1336 | #N/A | 23x21x15 | 15 | 755 | 48x40x69 | No
GSLC-PV-300VDC-230 |  |  | Prewired 300 VDC GSLC for FM100 charge controllers with two 175 Amp inverter disconnects, 230 VAC inverter bypass, dual AC inputs, FLEXnet DC, two PV disconnects and three 500 Amp DC shunts (GFDI integrated in FLEXmax 100) | 1873.75 | 1499 | #N/A | 24x21x15 | 15 | 800 | 48x40x69 | No
GSLC175PV1-230 |  |  | Prewired GSLC with one 175 Amp inverter disconnect, 230 VAC inverter bypass, dual AC inputs, GFDI, FLEXnet DC, one PV disconnect and two 500 Amp DC shunts | 1588.75 | 1271 | #N/A | 24x21x15 | 15 | 710 | 48x40x69 | No
GSLCPV1-300VDC-230 |  |  | Prewired 300 VDC GSLC for FM100 charge controllers with one 175 Amp inverter disconnect, 230 VAC inverter bypass, dual AC inputs, FLEXnet DC, one PV disconnect and two 500 Amp DC shunts (GFDI integrated in FLEXmax 100) | 1725 | 1380 | #N/A | 23x21x15 | 15 | 725 | 48x40x69 | No
GS-IOB-120/240VAC |  |  | GS Bypass Kit Split Phase 120/240 VAC | 311.25 | 249
GS-IOB-230VAC |  |  | GS Bypass Kit Single Phase 230 VAC | 248.75 | 199
GS-SBUS |  |  | DC Shunt Bus for GS Load Center | 21.25 | 17
GS-AC-GEN-KIT |  |  | Optional generator protection kit for AC Coupled Radian systems. Protects connected generators from incidental current backfeed using standard transfer relay. | 200 | 160
PNL-30D-AC-120/240 |  |  | 30 Amp 120/240 VAC double pole panel mount breaker with 1/4" stud terminals for connecting AC Coupled grid tie inverters inside of the GSLC. | 52.5 | 42
PNL-50D-AC-120/240 |  |  | 50 Amp 120/240 VAC double pole panel mount breaker with 1/4" stud terminals. | 42.5 | 34
PNL-50-AC-250 |  |  | 50 Amp 250 VAC single pole panel mount breaker with 1/4" stud terminals. | 17.5 | 14
STBB-BLACK |  |  | Short Bus Bar Kit with Black insulators | 18.75 | 15
STBB-RED |  |  | Short Bus Bar Kit with Red insulators | 18.75 | 15
STBB-WHITE |  |  | Short Bus Bar Kit with White insulators | 18.75 | 15
STBB-BLUE |  |  | Short Bus Bar Kit with Blue insulators | 18.75 | 15
STBB-BROWN |  |  | Short Bus Bar Kit with Brown insulators | 21.25 | 17
120VAC FXR Series Inverter/Chargers
Off-Grid and Grid Tied in one w/ grid support for use with MATE3s/AXS Port
Sealed, 120VAC / 60Hz(50Hz) selectable | [5 empty] | 0 | 0 | 0 | 0 | 0
FXR3048A-01 |  |  | Grid-interactive FXR Renewable Series inverter/charger, 3.0 kW, 120 VAC, 48 VDC, 35 Amp charger, 60 Amp AC input. Listed to UL1741-SA | 1801.25 | 1441 | 68 | 22x14x23 | 18 | 1274 | 48x40x72 | No
FXR2524A-01 |  |  | Grid-interactive FXR Renewable Series inverter/charger, 2.5 kW, 120 VAC , 24 VDC, 55 Amp charger, 60 Amp AC input. Listed to UL1741-SA | 1860 | 1488 | 68 | 22x14x23 | 18 | 1274 | 48x40x72 | No
FXR2012A |  |  | Off-Grid FXR Renewable Series inverter/charger, 2.0 kW, 120 VAC, 12 VDC, 100 Amp charger, 60 Amp AC input | 1812.5 | 1450 | 67 | 22x14x23 | 18 | 1256 | 48x40x72 | No
Vented, 120VAC / 60Hz(50Hz) selectable
VFXR3648A-01 |  |  | Grid-interactive FXR Renewable Series inverter/charger, 3.6 kW, 120 VAC, 48 VDC, 45 Amp charger, 60 Amp AC input. Listed to UL1741-SA | 1972.5 | 1578 | 66 | 22x14x23 | 18 | 1238 | 48x40x72 | No
VFXR3524A-01 |  |  | Grid-interactive FXR Renewable Series inverter/charger, 3.5 kW, 120 VAC, 24 VDC, 85 Amp charger, 60 Amp AC input. Listed to UL1741-SA | 2036.25 | 1629 | 66 | 22x13x23 | 18 | 1238 | 48x40x72 | No
VFXR2812A |  |  | Off-Grid FXR Renewable Series Inverter/Charger 2.8 kW, 120 VAC, 12 VDC, 125 Amp charger, 60 Amp AC input | 1985 | 1588 | 66 | 22x13x23 | 18 | 1238 | 48x40x72 | No
120VAC FX M-Series Inverter/Chargers
Mobile Applications - Includes built-in AC neutral / ground switching system
Sealed, 120VAC / 60Hz
FX3048MT |  |  | Mobile sealed inverter/charger, 3.0 kW, 48 VDC, 120 VAC, 60 Hz, 35 Amp charger, 30 Amp AC input (Turbo fan and RTS Included) | 1893.75 | 1515 | 66 | 22x13x23 | 18 | 1238 | 48x40x72 | No
FX2524MT |  |  | Mobile sealed inverter/charger, 2.5 kW, 24 VDC, 120 VAC, 60 Hz, 55 Amp charger, 30 Amp AC input (Turbo fan and RTS Included) | 1980 | 1584 | 68 | 22x13x23 | 18 | 1274 | 48x40x72 | No
FX2012MT |  |  | Mobile sealed inverter/charger, 2.0 kW, 12 VDC, 120 VAC, 60 Hz, 80 Amp charger, 30 Amp AC input (Turbo fan and RTS Included) | 1905 | 1524 | 67 | 22x13x23 | 18 | 1256 | 48x40x72 | No
Vented, 120VAC / 60Hz
VFX3648M |  |  | Mobile vented inverter/charger, 3.6 kW, 48 VDC, 120 VAC, 6 0Hz, 45 Amp charger, 30 Amp AC input (DC Cover and RTS included) | 2082.5 | 1666 | 66 | 22x13x23 | 18 | 1238 | 48x40x72 | No
VFX3524M |  |  | Mobile vented inverter/charger, 3.5 kW, 24 VDC, 120 VAC, 60 Hz, 85 Amp charger, 30 Amp AC input (DC Cover and RTS included) | 2188.75 | 1751 | 68 | 22x13x23 | 18 | 1274 | 48x40x72 | No
VFX2812M |  |  | Mobile vented inverter/charger, 2.8 kW, 12 VDC, 120 VAC, 60 Hz, 125 Amp charger, 30 Amp AC input (DC Cover and RTS included) | 2097.5 | 1678 | 66 | 22x13x23 | 18 | 1238 | 48x40x72 | No
230VAC FXR Series Inverter/Chargers
Off-Grid and Grid Tied in one
Sealed, 230VAC / 50Hz (60Hz) selectable | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
FXR2348E |  |  | Grid-interactive FXR Renewable Series sealed inverter/charger, 2.3 kW, 230 VAC 50/60 Hz, 48 VDC, 35 Amp charger, 30 Amp AC input | 1748.75 | 1399 | 66 | 22x13x23 | 18 | 1274 | 48x40x72 | No
FXR2024E |  |  | Grid-interactive FXR Renewable Series sealed inverter/charger, 2.0 kW, 230 VAC 50/60 Hz, 24 VDC, 55 Amp charger, 30 Amp AC input | 1763.75 | 1411 | 68 | 22x13x23 | 18 | 1256 | 48x40x72 | No
FXR2012E |  |  | Off-Grid FXR Renewable Series sealed inverter/charger, 2.0 kW, 230 VAC 50/60 Hz, 12 VDC, 100 Amp charger, 30 Amp AC input | 1756.25 | 1405 | 67 | 22x13x23 | 18 | 1256 | 48x40x72 | No
Vented, 230VAC / 50Hz(60Hz) selectable
VFXR3048E |  |  | Grid-interactive FXR Renewable Series vented inverter/charger, 3.0 kW, 230 VAC 50/60 Hz, 48 VDC, 45 Amp charger, 30 Amp AC input | 1765 | 1412 | 66 | 22x13x23 | 18 | 1238 | 48x40x72 | No
VFXR3024E |  |  | Grid-interactive FXR Renewable Series vented inverter/charger, 3.0 kW, 230 VAC 50/60 Hz, 24 VDC, 85 Amp charger, 30 Amp AC input | 1857.5 | 1486 | 68 | 22x13x23 | 18 | 1238 | 48x40x72 | No
VFXR2612E |  |  | Off-Grid FXR Renewable Series vented inverter/charger, 2.6 kW, 230 VAC 50/60 Hz, 12 VDC, 120 Amp charger, 30 Amp AC input | 1850 | 1480 | 66 | 22x13x23 | 18 | 1238 | 48x40x72 | No
230VAC FX ME-Series Inverter/Chargers
Mobile Applications - Includes built-in AC neutral / ground switching system
Sealed, 230VAC / 50Hz
FX2348EMT |  |  | Mobile sealed inverter/charger, 2.3 kW, 48 VDC, 230 VAC 50 Hz, 35 Amp charger, 30 Amp AC input (Turbo and RTS Included) | 1853.75 | 1483 | 68 | 22x13x23 | 18 | 1274 | 48x40x72 | No
FX2024EMT |  |  | Mobile sealed inverter/charger, 2.0 kW, 24 VDC, 230 VAC 50 Hz, 55 Amp charger, 30 Amp AC input (Turbo and RTS Included) | 1813.75 | 1451 | 68 | 22x13x23 | 18 | 1274 | 48x40x72 | No
FX2012EMT |  |  | Mobile sealed inverter/charger, 2.0 kW, 12 VDC, 230 VAC 50 Hz, 100 Amp charger, 30 Amp AC input (Turbo and RTS Included) | 1782.5 | 1426 | 67 | 22x13x23 | 18 | 1256 | 48x40x72 | No
Vented, 230VAC / 50Hz
VFX3048EM |  |  | Mobile vented inverter/charger, 3.0 kW, 48 VDC, 230 VAC 50 Hz, 45 Amp charger, 30 Amp AC input (DC Cover and RTS included) | 1898.75 | 1519 | 68 | 22x13x23 | 18 | 1274 | 48x40x72 | No
VFX3024EM |  |  | Mobile vented inverter/charger, 3.0 kW, 24 VDC, 230 VAC 50 Hz, 85 Amp charger, 30 Amp AC input (DC Cover and RTS included) | 1845 | 1476 | 66 | 22x13x23 | 18 | 1238 | 48x40x72 | No
VFX2612EM |  |  | Mobile vented inverter/charger, 2.6 kW, 12 VDC, 230 VAC 50 Hz, 120 Amp charger, 30 Amp AC input (DC Cover and RTS included) | 1810 | 1448 | 65 | 22x13x23 | 18 | 1220 | 48x40x72 | No
Communications
System Display and Controller
MATE3s |  |  | Universal version required by (V)FXR and GS inverters, Dark gray square housing with Ethernet port | 511.25 | 409 | 3 | 14x9x4 | 228 | 734 | 48x40x82 | No | $165 price only applicable with minimum purchase of 25 units.
MATE3SL |  |  | Universal version required by (V)FXR and GS inverters, Dark gray square housing - ***NOT COMPATIBLE WITH OpticsRE*** | 375 | 300 | 3 | 14x9x4 | 228 | 734 | 48x40x82 | No
MATE2 |  |  | G/FX version, Black square housing with RS232 serial port | 340 | 272 | 3 | 14x9x4 | 228 | 734 | 48x40x82 | No
MATE_B |  |  | G/FX version, Black oval housing with RS232 serial port | 340 | 272 | 3 | 14x9x4 | 228 | 734 | 48x40x82 | No
MATE |  |  | G/FX version, Gray oval housing with RS232 serial port | 338.75 | 271 | 3 | 14x9x4 | 228 | 734 | 48x40x82 | No
System Display and Controller
CSIP BRIDGE |  |  | Communications accessory compliant with CA Rule 21, Phase 2 (IEEE 2030.5) | 341.25 | 273 | 2 | 14x9x4 | 228 | 734 | 48x40x82 | No
AXS Communications
AXS PORT |  |  | OutBack Modbus/TCP Interface Device for remote system communication and control using Modbus over Ethernet | 358.75 | 287
Communication Manager
HUB4 |  |  | Four Port, up to 4 devices and one MATE | 147.5 | 118 | 3 | 14x9x4 | 228 | 734 | 48x40x82 | No
HUB10.3 |  |  | Ten Port with Sub-Phase Master Stacking, up to 10 devices and one MATE | 282.5 | 226 | 4 | 14x9x4 | 228 | 962 | 48x40x82 | No
Multichannel Advanced DC System Monitor
FN-DC |  |  | FLEXnet DC monitors up to 3 Shunts for improved battery management (Includes twisted pair wire and communications cable) | 286.25 | 229
Mounting Brackets - Includes brackets and mounting hardware
FW-CCB |  |  | Mounting Bracket for one side mounted FM60/80 charge controller on GSLC, FW500 and FW1000 DC enclosures. Includes mounting screws. (Not compatible with FM100 charge controllers.) | 78.75 | 63 | 1 | 6x6x6 | 360 | 410 | 48x40x76 | No
FW-CCB2 |  |  | Mounting bracket for two side mounted FM60/80 charge controllers on GSLC, FW500 and FW1000 DC enclosures. Includes mounting screws and flexible conduit. (Not compatible with FM100 charge controllers.) | 76.25 | 61 | 1.5 | 14x4x4 | 390 | 635 | 48x40x82 | No
FW-CCB2-T |  |  | Mounting bracket for two top mounted FM60/80 charge controllers on FW500 and FW1000 DC enclosures. Includes mounting screws. (Not compatible with FM100 charge controllers.) | 73.75 | 59 | 1 | 13x3x3 | 975 | 1025 | 48x40x82 | No
FW-MB3 |  |  | MATE3s Mounting Bracket for side mounted display on Radian, GSLC, FW500 and FW1000 DC enclosures. Includes mounting screws and bushings | 37.5 | 30 | 2 | 11x8x8 | 100 | 250 | 48x40x46 | No
FW-MB3-F |  |  | Flat-mount MATE3/3S Mounting Plate for installation over standard electrical boxes. Includes mounting screws | 30 | 24 | 1 | 12x8x6 | 140 | 190 | 48x40x48 | No
FW-MB3-S |  |  | Surface-mount MATE3/3S Mounting Bracket - with mounting screws | 30 | 24 | 1 | 11x11x4 | 120 | 170 | 48x40x46 | No
FW-MB1 |  |  | FLEXware MATE Mounting Bracket - with mounting screws and bushings | 131.25 | 105 | 0.5 | 7x5x3 | 1053 | 577 | 48x40x82 | No
FW-MB2 |  |  | FLEXware MATE2 Mounting Bracket - with mounting screws and bushings | 33.75 | 27 | 1 | 10x8x5 | 234 | 284 | 48x40x82 | No
FLEXware Integration Hardware
FLEXware 250 System |  |  | For applications with a single OutBack FXR Series Inverter/Charger and one MPPT Charge Controller.
No mounting plate required. Powder-coated aluminum with stainless steel hardware.
FW250 |  |  | DC and/or AC breaker enclosure – secures directly to either end of an FXR Series Inverter/Charger. Includes ground bus bar and DC breaker handle guard. Holds up to 4 AC or 4 DC - 1 to 80 Amp, one 175 or 250 Amp panel mount breaker and a GFCI AC outlet (not included). Does not use the DCA or FW-ACA for connection to an FX Series Inverter/Charger. (DC current shunt not included) | 238.75 | 191 | 5 | 12x10x11 | 80 | 450 | 48x40x61 | No
FLEXware 500 System |  |  | For applications with one or two OutBack FXR Series Inverter/Charger and one or two MPPT Charge Controllers.
Uses one FW-MP mounting plate. Powder-coated aluminum with stainless steel hardware.
FW500-AC |  |  | AC breaker enclosure – fits at the AC side of one or two FXR Series Inverter/Chargers. Includes ground bus bar and DIN mounting bracket for up to sixteen DIN type breakers (not included) and a GFCI AC outlet (not included). Requires optional FW-ACAs for connection of each FX Series Inverter/Charger | 401.25 | 321 | 14 | 21x14x16 | 25 | 400 | 48x40x76 | No
FW500-DC |  |  | DC breaker enclosure – fits at the DC side of one or two FXR Series Inverter/Chargers. Includes ground bus bar, 500 Amp DC shunt assembly with negative TBB breaker mounting screws – holds up to eight 1 to 80 Amp, three 100 or 125 Amp and two 175 or 250 Amp panel mount breakers (not included). Requires optional DCAs for connection of each FX Series Inverter/Charger | 395 | 316 | 14 | 21x14x16 | 25 | 400 | 48x40x76 | No
FLEXware 1000 System |  |  | For applications with three or four OutBack FXR Series Inverter/Charger and up to four MPPT Charge Controllers.
Uses two FW-MP mounting plate. Powder-coated aluminum with stainless steel hardware.
FW1000-AC |  |  | AC breaker enclosure – fits at the AC side of up to four FXR Series Inverter/Chargers. Includes ground bus bar and two DIN mounting brackets for up to thirty-two DIN type breakers (not included), two GFCI AC outlets (not included), raceway conduit for communication cables and two hanging straps to connect both inverter backplates. Requires optional FW-ACAs for connection of each FX Series Inverter/Charger. | 660 | 528 | 24 | 41x14x16 | 10 | 290 | 48x40x76 | No
FW1000-DC |  |  | DC breaker enclosure – fits at the DC side of up to four FXR Series Inverter/Chargers. Includes ground bus bar, 1000 Amp DC shunt assembly with negative TBB breaker mounting screws – holds up to eleven 1 to 80 Amp, nine 100 or 125 Amp and six 175 or 250 Amp panel mount breakers (not included). Requires optional DCAs for connection of each FX Series Inverter/Charger. | 948.75 | 759 | 24 | 41x14x16 | 10 | 290 | 48x40x76 | No
FLEXware Mounting Plate - Includes inverter and enclosure mounting hardware
FW-MP |  |  | Mounting Plate for FW500 or FW1000 system. Includes enclosure and inverter mounting screws. FW500 requires one mounting plate, FW1000 requires two mounting plates. | 220 | 176 | 11 | 49x23x2 | 40 | 490 | 48x40x55 | No
FLEXware 250 AC Input-Output-Bypass Assemblies |  |  | Field installable kit with color coded wire, all required terminal bus bars and sliding interlock plate
FW-IOBS-120VAC |  |  | Single inverter Input-Output-Bypass for FW250 only – 120VAC output 60 Amp 7.2kW. Includes three 60 Amp 120VAC single-pole PANEL mount breakers. | 166.25 | 133
FW-IOBS-230VAC |  |  | Single inverter Input-Output-Bypass for FW250 only – 230VAC output 30 Amp 6.9kW. Includes three 30 Amp 230VAC single-pole PANEL mount breakers. | 160 | 128
FLEXware 500 AC Input-Output-Bypass Assemblies
|  | Field installable kit with color coded wire, all required terminal bus bars and sliding interlock plate |  |  | Field installable kit with color coded wire, all required terminal bus bars and sliding interlock plate
FW-IOBD-120/240VAC |  |  | Dual inverter Input-Output-Bypass for FW500 – 120/240 VAC output 60 Amp 14.4 kW. Includes six 60 Amp 277 VAC single-pole DIN mount breakers. | 400 | 320
FW-IOBD-120VAC |  |  | Dual inverter Input-Output-Bypass for FW500 – 120 VAC output 120 Amp 14.4 kW. Includes four 60 Amp 277 VAC single-pole DIN mount breakers and one 60 Amp 277/480 VAC dual-pole DIN mount breaker. | 311.25 | 249
FW-IOBD-230VAC |  |  | Dual inverter Input-Output-Bypass for FW500 – 230 VAC output 60 Amp 13.8 kW. Includes six 30 Amp 230 VAC single-pole DIN mount breakers. | 335 | 268
FLEXware 1000 AC Input-Output-Bypass Assemblies
|  | Field installable kit with color coded wire, all required terminal bus bars and sliding interlock plate |  |  | Field installable kit with color coded wire, all required terminal bus bars and sliding interlock plate
FW-IOBQ-120/240VAC |  |  | Quad inverter Input-Output-Bypass for FW1000 – 120/240 VAC output 120 Amp 28.8 kW. Includes eight 60 Amp 120 VAC single-pole DIN mount breakers and two 60 Amp 120 VAC dual-pole DIN mount breakers. | 665 | 532
FW-IOBQ-230VAC |  |  | Quad inverter Input-Output-Bypass for FW1000 - 230 VAC output 120 Amp 27.6 kW. Includes twelve 30 Amp 230 VAC single-pole DIN mount breakers. | 608.75 | 487
FW-IOBT-120/208VAC |  |  | Triple inverter Input-Output-Bypass for FW1000 – 120/208 VAC output 60 Amp 21.6 kW. Includes nine 60 Amp 120 VAC single-pole DIN mount breakers. | 645 | 516
FW-IOBT-230/400VAC |  |  | Triple inverter Input-Output-Bypass for FW1000 – 230/400 VAC output 30 Amp 20.7 kW. Includes nine 30 Amp 230 VAC single-pole DIN mount breakers. | 630 | 504
Conduit Adapters - Required for FW500 and FW1000 systems. Not used with FW250 systems.
FW-ACA |  |  | AC conduit adapter for all FXR Series Inverter/Chargers to AC enclosure | 65 | 52
DCA |  |  | DC conduit adapter for all FXR Series Inverter/Chargers to DC enclosure | 53.75 | 43
FLEXware Surge Protector - Transient voltage surge suppression for FX Series Inverter/Chargers
FW-SP-250 |  |  | FLEXware 250 Compatible FLEXware Surge Protector | 173.75 | 139
FW-SP-ACA |  |  | FW-ACA with FLEXware Surge Protector for FLEXware 500 and FLEXware 1000 | 175 | 140
FW-SP-R |  |  | Replacement FLEXware Surge Protector | 126.25 | 101
DC Cable Assemblies - UL Listed NEC compliant, highly flexible
FW-CABLE175-15R |  |  | 175 Amp 2/0 AWG DC Cable 15 Inches (38 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. Red heat shrink. | 31.25 | 25
FW-CABLE175-36R |  |  | 175 Amp 2/0 AWG DC Cable 36 Inches (91.5 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. Red heat shrink. | 86.25 | 69
FW-CABLE175-36W |  |  | 175 Amp 2/0 AWG DC Cable 36 Inches (91.5 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. White heat shrink. | 63.75 | 51
FW-CABLE175-120R |  |  | 175 Amp 2/0 AWG DC Cable 120 Inches (305 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. Red heat shrink. | 108.75 | 87
FW-CABLE175-120W |  |  | 175 Amp 2/0 AWG DC Cable 120 Inches (305 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. White heat shrink. | 108.75 | 87
FW-CABLE250-15R |  |  | 250 Amp 4/0 AWG DC Cable 15 Inches (38 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. Red heat shrink. | 83.75 | 67
FW-CABLE250-36R |  |  | 250 Amp 4/0 AWG DC Cable 36 Inches (91.5 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. Red heat shrink. | 132.5 | 106
FW-CABLE250-36W |  |  | 250 Amp 4/0 AWG DC Cable 36 Inches (91.5 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. White heat shrink. | 80 | 64
Bus Connectors
EXT-DCBUS |  |  | External DC grounding bus bar with insulating standoffs and cover. 22 holes. | 191.25 | 153
FW-BBUS |  |  | Breaker Bus allows connection of two 175-250 Amp, three 100-125 Amp, four 1-80 Amp DC breakers or three 500 Amp DC current shunts. Plated copper rated for 500 Amps. | 31.25 | 25
FW-CBUS-8 |  |  | Reversible Combiner Bus Bar for up to eight 150 VDC rated breakers or up to six 600 VDC rated fuse holders with dual 2/0 AWG output lug terminals | 38.75 | 31
FW-CBUS-12 |  |  | Reversible Combiner Bus Bar for up to twelve 150 VDC rated breakers or up to eight 600 VDC rated fuse holders with dual 2/0 AWG output lug terminals | 51.25 | 41
FW-SBUS |  |  | Shunt Bus allows up to four high current cable connections on same side of DC shunt - includes two 3/8" bolts and mounting screws. Solid brass rated for 500 Amps. | 30 | 24
DC Current Shunts - Mounting screws included. Two 3/8" bolt terminals.
FW-SHUNT250 |  |  | 500 Amp 50 mVDC current shunt with attached terminal bus bar for mounting on top of a FX Series Inverter/Charger. Includes bus bar for connection to inverter’s DC negative terminal | 73.75 | 59
FW-SHUNT500 |  |  | 500 Amp 50 mVDC current shunt with attached terminal bus bar and one white insulator | 62.5 | 50
Autotransformer - for step-up, step-down and balancing applications, 120/240VAC 60Hz applications only.
FW-X240 |  |  | 4.0 kVA 120/240 VAC 60 Hz with 20 Amp autotransformer dual-pole breaker for mounting inside of FW500 or FW1000 AC enclosures. (Includes dual-pole 25 Amp AC breaker) | 533.75 | 427
PSX-240 |  |  | 6.0 kVA rated with enclosure and cooling fan (Includes dual-pole 25 Amp AC breaker) | 857.5 | 686
PSX-240-RELAY |  |  | 6.0 kVA rated with enclosure and cooling fan, includes extra relay for a 12 VDC aux port (Includes dual-pole 25 Amp AC breaker) | 892.5 | 714
OutBack Generator Relay
OBR-16-DIN |  |  | OutBack 16 Amp Maximum 30 VDC/250 VAC Rated Relay and DIN Mount Base with LED | 56.25 | 45
Terminal Bus Bars - Three #1/0 to 14 AWG and eight #6 to 14AWG screw type compression terminals. Rated at 180 Amps
TBB-GROUND |  |  | Ground/Neutral Terminal Bus Bar with Mounting screws (No Insulators) | 16.25 | 13
TBB-BLACK |  |  | Bus Bar w/Black insulators - Includes Mounting screws | 21.25 | 17
TBB-BLUE |  |  | Bus Bar w/Blue Insulators - Includes Mounting screws | 21.25 | 17
TBB-RED |  |  | Bus Bar w/Red Insulators - Includes Mounting screws | 21.25 | 17
TBB-WHITE |  |  | Bus Bar w/White Insulators - Includes Mounting screws | 21.25 | 17
TBB-BROWN |  |  | Bus Bar w/Brown Insulators - Includes Mounting Screws | 21.25 | 17
Integrated Combiner Solution
Integrated Combiner Solution (ICS)
FWPV6 |  |  | Combiner box integrated with cable gland and touch-safe distribution blocks. Accommodates up to six 600 VDC rated fuse holders. Includes one ground bus bar. (Fuses and fuse holders sold separately. Integrated cable gland accommodates up to four PV source circuits, additional cable gland may be purchased.) | 216.25 | 173
FWPV4-FH600 |  |  | Combiner box pre-wired with four 600 VDC fuse holders, cable gland and touch-safe distribution blocks. Includes one ground bus bar. (Fuses sold separately.) | 296.25 | 237
FWPV6-FH600 |  |  | Combiner box pre-wired with six 600 VDC fuse holders, cable glands and touch-safe distribution blocks. Includes one ground bus bar. (Fuses sold separately.) | 306.25 | 245
CABLEGLAND-5 |  |  | Cable Gland, 1" EKO, 5 Hole | 11.25 | 9
Integrated Combiner Solution Plus (ICS Plus)
RSI |  |  | ICS Plus Rapid Shutdown Initiator (RSI). Initiates a PV rapid shutdown event and provides indication for Solar On, Solar Off and AFCI. | 503.75 | 403
BKR-CTRL-DC |  |  | ICS Plus breaker control module and DC power supply that provides isolated 24 VDC from a 24 VDC or 48 VDC battery bank. | 386.25 | 309
PWRSPLY-24 |  |  | DC power supply that provides isolated 24VDC from 48VDC nominally-rated battery bank. | 60 | 48
OBR-16-24-DIN |  |  | RSD Relay,24VDC,16A - 30VDC & 250VAC,DPDT | 22.5 | 18
LBL-PVRSS |  |  | PV Rapid Shutdown Label, Red, 5.5"X1.75" | 8.75 | 7
PV Combiner - Outdoor, Rainproof, type 3R powder coated aluminum enclosure with internal dead front cover and DIN mounting rail
FWPV-8 |  |  | Accommodates up to eight 150 VDC rated breakers or up to six 600 VDC rated fuse holders. Includes one insulated negative TBB, one ground bus and one combiner bus bar with dual 2/0 AWG output lug terminals. (Breakers, fuse holders and fuses sold separately). | 258.75 | 207 | 6 | 19x10x5 | 120 | 770 | 48x40x81 | No
FWPV-12 |  |  | Accommodates up to twelve 15 0VDC rated breakers or up to eight 600 VDC rated fuse holders. Includes two insulated negative TBB, one ground bus and two combiner bus bar each with dual 2/0 AWG output lug terminals. (Breakers, fuse holders and fuses sold separately). | 311.25 | 249 | 6 | 19x13x5 | 90 | 680 | 48x40x81 | No
High Voltage DC Fuses - For use in FLEXware PV combiner with high voltage systems
OBF-6-600VDC |  |  | Fuse 6 Amp 600 VDC | 42.5 | 34
OBF-10-600VDC |  |  | Fuse 10 Amp 600 VDC | 25 | 20
OBF-15-600VDC |  |  | Fuse 15 Amp 600 VDC | 27.5 | 22
FUSE-15-600VDC/10 |  |  | Carton of (10) x 15 Amp, 600 VDC Fuses | 93.75 | 75
OBFH-30-600VDC-DIN |  |  | Fuse holder 30 Amp maximum 600 VDC DIN Mount | 36.25 | 29
FH-30-1000VDC-DIN |  |  | Fuse holder 30 Amp maximum 1,000 VDC DIN Mount | 28.75 | 23
Circuit Breakers
PV Array Breakers - DIN rail mount with set-screw compression terminals, #14 to 2 AWG (1.62 mm to 6.54 mm diameter) clamp terminals
DIN-1-DC |  |  | 1 Amp 125 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 26.25 | 21
DIN-2-DC |  |  | 2 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 18.75 | 15
DIN-3-DC |  |  | 3 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 18.75 | 15
DIN-4-DC |  |  | 4 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 30 | 24
DIN-5-DC |  |  | 5 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 30 | 24
DIN-6-DC |  |  | 6 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 27.5 | 22
DIN-8-DC |  |  | 8 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 21.25 | 17
DIN-9-DC |  |  | 9 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 21.25 | 17
DIN-10-DC |  |  | 10 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 21.25 | 17
DIN-15-DC |  |  | 15 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 22.5 | 18
DIN-20-DC |  |  | 20 Amp 125 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 22.5 | 18
DIN-30-DC |  |  | 30 Amp 125 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 22.5 | 18
DIN-50-DC |  |  | 50 Amp 125 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 22.5 | 18
DIN-60-DC |  |  | 60 Amp 125 VDC Single Pole DIN Mount, 0.5” (13 mm) wide | 23.75 | 19
DIN Mount Breakers - DIN rail mount with set-screw compression terminals, #14 to 2 AWG (1.62 mm to 6.54 mm diameter) clamp terminals.
DIN-15-AC |  |  | 15 Amp 120 VAC 50/60 Hz single pole 0.50” (13 mm) wide. Branch Circuit Rated 10k AIC | 22.5 | 18
DIN-15D-AC |  |  | 15 Amp 120/240 VAC 50/60 Hz dual pole 1.0” (26 mm) wide. Branch Circuit Rated 10k AIC | 41.25 | 33
DIN-20-AC |  |  | 20 Amp 120 VAC 50/60 Hz single pole 0.50” (13 mm) wide. Branch Circuit Rated 10k AIC | 22.5 | 18
DIN-20D-AC |  |  | 20 Amp 120/240 VAC 50/60 Hz dual pole 1.0” (26 mm) wide. Branch Circuit Rated 10k AIC | 41.25 | 33
DIN-25D-AC |  |  | 25 Amp 120/240 VAC 50/60 Hz dual pole 1.0” (26 mm) wide. Branch Circuit Rated 10k AIC | 41.25 | 33
DIN-10-AC-277 |  |  | 10 Amp 277 VAC 50/60 Hz single pole 0.5” (13 mm) wide | 22.5 | 18
DIN-15-AC-277 |  |  | 15 Amp 277 VAC 50/60 HZ Single Pole 0.5" (13 mm) wide | 21.25 | 17
DIN-30-AC-277 |  |  | 30 Amp 277 VAC 50/60 Hz Single Pole 0.5" (13 mm) wide | 22.5 | 18
DIN-30D-AC-480 |  |  | 30 Amp 277/480 VAC 50/60 Hz Dual Pole 1.0" (26 mm) wide | 41.25 | 33
DIN-30T-AC-480 |  |  | 30 Amp 277/480 VAC 50/60 Hz Three Pole 1.5" (39 mm) wide | 56.25 | 45
DIN-50-AC-277 |  |  | 50 Amp 277 VAC 50/60 Hz Single Pole 0.5" (13 mm) wide | 21.25 | 17
DIN-50D-AC-480 |  |  | 50 Amp 277/480 VAC 50/60 Hz Dual Pole 1.0" (26 mm) wide | 42.5 | 34
DIN-50T-AC-480 |  |  | 50 Amp 277/480 VAC 50/60 Hz Three Pole 1.5" (39 mm) wide | 56.25 | 45
DIN-60-AC-277 |  |  | 60 Amp 277 VAC 50/60 Hz Single Pole 0.5" (13mm) wide | 26.25 | 21
DIN-60D-AC-480 |  |  | 60 Amp 277/480 VAC 50/60 Hz Dual Pole 1.0" (26mm) wide | 43.75 | 35
Panel Mount Breakers - Front panel, single pole mount with stud terminals on the back. Ring terminals required.
PNL-1-AC/DC |  |  | 1 Amp, 150 VDC and 120 VAC, 1/4” stud terminals | 18.75 | 15
PNL-5-AC/DC |  |  | 5 Amp, 150 VDC and 120 VAC, 1/4” stud terminals | 18.75 | 15
PNL-10-AC/DC |  |  | 10 Amp, 150 VDC and 120 VAC, 1/4” stud terminals | 18.75 | 15
PNL-15-AC/DC |  |  | 15 Amp, 150 VDC and 120 VAC, 1/4” stud terminals | 18.75 | 15
PNL-20-AC/DC |  |  | 20 Amp, 150 VDC and 120 VAC, 1/4” stud terminals | 18.75 | 15
PNL-30-AC/DC |  |  | 30 Amp, 150 VDC and 120 VAC, 1/4” stud terminals | 18.75 | 15
PNL-30-AC |  |  | 30 Amp, 250 VAC, 1/4” stud terminals | 23.75 | 19
PNL-30D-AC-120/240 |  |  | 30 Amp 120/240 VAC double pole panel mount breaker with 1/4" stud terminals for connecting AC Coupled grid tie inverters inside of the GSLC. | 52.5 | 42
PNL-40-AC/DC |  |  | 40 Amp, 150 VDC and 120 VAC, 1/4” stud terminals | 18.75 | 15
PNL-40-300VDC |  |  | 40 Amp, 300 VDC, 1/4” stud terminals | 55 | 44
PNL-40D-300VDC |  |  | 40 Amp, 300 VDC, 1/4” stud terminals, Dual Pole | 65 | 52
PNL-50-AC/DC |  |  | 50 Amp, 150 VDC and 120 VAC, 1/4” stud terminals | 18.75 | 15
PNL-50D-AC-120/240 |  |  | 50 Amp 120/240 VAC double pole panel mount breaker with 1/4" stud terminals. | 42.5 | 34
PNL-60-AC/DC |  |  | 60 Amp, 150 VDC and 120 VAC, 1/4” stud terminals | 18.75 | 15
PNL-60-300VDC |  |  | 60 Amp, 300 VDC, 1/4” stud terminals | 46.25 | 37
PNL-60D-300VDC |  |  | 60 Amp, 300 VDC, 1/4” stud terminals, Dual Pole | 75 | 60
PNL-80-DC |  |  | 80 Amp, 150 VDC, 1/4” stud terminals | 17.5 | 14
PNL-80-300VDC |  |  | 80 Amp, 300 VDC, 1/4” stud terminals | 55 | 44
PNL-80D-300VDC |  |  | 80 Amp, 300 VDC, 1/4” stud terminals, Dual Pole | 75 | 60
PNL-100-DC |  |  | 100 Amp, 125 VDC, 5/16” stud terminals | 48.75 | 39
PNL-100-300VDC |  |  | 100 Amp, 300 VDC, 1/4” stud terminals | 55 | 44
PNL-125-DC |  |  | 125 Amp, 125 VDC, 5/16” stud terminals | 48.75 | 39
PNL-125-300VDC |  |  | 125 Amp, 300 VDC, 1/4” stud terminals | 55 | 44
PNL-175-DC |  |  | 175 Amp, 125 VDC, 3/8” stud terminals | 100 | 80
PNL-250-DC |  |  | 250 Amp, 125 VDC, 3/8” stud terminals | 103.75 | 83
Relay-Trip Breakers, Panel-Mount, for use with ICS Plus Systems
PNL-75-DC-RT |  |  | Relay-trip breaker, 75 Amp, 300 VDC, single pole, two panel-mount spaces | 71.25 | 57
PNL-75D-DC-RT |  |  | Relay-trip breaker, 75 Amp, 300 VDC, dual pole, three panel-mount spaces | 130 | 104
PNL-75Q-DC-RT |  |  | Relay-trip breaker, 75 Amp, 300 VDC, dual pole, three panel-mount spaces | 222.5 | 178
Ground Fault Detection and Interruption - Front panel mount with stud terminals on the back. Ring terminals required.
PNL-GFDI-80 |  |  | PV Ground-Fault Detector Interrupter 80 Amp 150 VDC single pole panel mount | 85 | 68
PNL-GFDI-80D |  |  | PV Ground-Fault Detector Interrupter 80 Amp 150 VDC two pole panel mount | 106.25 | 85
PNL-GFDI-80Q |  |  | PV Ground-Fault Detector Interrupter 80 Amp 150 VDC four pole panel mount | 151.25 | 121
Module Level Rapid Shutdown - NEC 2014 and 2017 Compliant Systems
FireRaptor
OBFRS-01 |  |  | FireRaptor Rapid Shutdown Unit | 66.25 | 53 |  |  | 16 | 38 | 19x13x13 | yes | $44 price only applicable when purchased in multiples of 16.
OBFRS-ESW1-24 |  |  | FireRaptor Shutdown Switch for up to (100) OBFRS-01 | 166.25 | 133 |  |  | 1 | 2 | 6x6x6 | yes
OBFRS-ESW1 |  |  | FireRaptor Shutdown Switch for OBFRS-01 | 187.5 | 150 |  |  | 1 | 2 | 6x6x6 | yes
OBFRS-SIGCAB1.8-F |  |  | 70" Signal Cable, Tyco female connector | 6.25 | 5 |  |  | 1 | 14 | 16x13x12 | yes
OBFRS-ECP |  |  | Additional Signal Cable End Cap, only needed for customers who purchase neither OBFRS-ESW1 nor RSI | 18.75 | 15
OBR-16-24-DIN |  |  | OutBack 16 Amp Maximum 24 VDC Relay and DIN Mount Base with LED for Module Level PV Rapid Shutdown FireRaptor Shutdown Switch connection | 22.5 | 18
Miscellaneous
Accessories
EXT-SP-AC/DC-300V | While Supplies Last |  | External AC/DC surge protection device (SPD). Rated for up to 300 VAC or 385 VDC. Comes in master carton quantities of 12. | 138.75 | 111
DCC |  |  | DC Wiring cover for FXR and VFXR Series Inverter/Chargers | 80 | 64
FXTURBOKIT |  |  | DC Wiring cover with Turbo fan for sealed inverters | 120 | 96
RTS |  |  | Remote Temperature Sensor, for use with Inverter/Charger or Charge Controller (Includes 20' (6 m) cable) | 60 | 48
PSR-SCT |  |  | Battery Spill Containment Tray | 37.5 | 30
Din Rail End Clamp
FW-EC-DIN |  |  | DIN Rail End Clamp | 8.75 | 7
Communications Cables
OBCATV-3 |  |  | 3’ (1 meter) 300 volt rated OutBack communications cable with RJ45 connectors | 8.75 | 7
OBCATV-6 |  |  | 6’ (2 meter) 300 volt rated OutBack communications cable with RJ45 connectors | 11.25 | 9
OBCATV-10 |  |  | 10’ (3 meter) 300 volt rated OutBack communications cable with RJ45 connectors | 15 | 12
OBCATV-50 |  |  | 50’ (16 meter) 300 volt rated OutBack communications cable with RJ45 connectors | 47.5 | 38
Class T Fuse Blocks
OBTFB-300 |  |  | Class T Fuse Block, 300 Amp | 71.25 | 57
OBTFB-400 |  |  | Class T Fuse Block, 400 Amp | 93.75 | 75
Display Products
RADIAN DISPLAY |  |  | Radian Inverter/charger DISPLAY Unit (Does NOT Function) | 456.25 | 365
FPR-8048A DISPLAY |  |  | FPR-8048A Inverter/charger DISPLAY Unit (Does NOT Function) | 2525 | 2020
FPR-8048A-300 DISP |  |  | FPR-8048A-300 Inverter/charger DISPLAY Unit (Does NOT Function) | 2116.25 | 1693
FM80-DISPLAY |  |  | FLEXMAX 80 DISPLAY Unit (Does NOT Function) | 177.5 | 142
FM100-DISPLAY |  |  | FLEXMAX 100 DISPLAY Unit (Does NOT Function) | 246.25 | 197
Extended Warranties - GLOBAL
EXTWARRFEE-FPR - 10-year Extended Warranty Fee for FLEXpower Radian systems |  |  | Global extended warranty, adds 5 years to standard 5 year warranty, for total of 10 years. Covers all FLEXpower Radian systems (including 8kW 300V LT). | 1748.75 | 1399
EXTWARRFEE-GS - 10-year Extended Warranty Fee for Radian inverters |  |  | Global extended warranty, adds 5 years to standard 5 year warranty, for total of 10 years. Covers Radian Series Inverter/Chargers. | 1123.75 | 899
EXTWARRFEE-FM - 10-year Extended Warranty Fee for FM charge controllers |  |  | Global extended warranty, adds 5 years to standard 5 year warranty, for total of 10 years. Covers FLEXmax Series Charge Controllers. | 312.5 | 250
Spare Parts
FX-AC |  |  | FX/VFX AC Board, must specify inverter model when ordering | 227.5 | 182
FX-FET |  |  | FX/VFX FET Board, must specify battery voltage when ordering | 495 | 396
FX-CNTRL |  |  | FX/VFX Control Board, must specify inverter model when ordering | 343.75 | 275
FX/GS FAN KIT |  |  | FX and GS Replacement Fan | 28.75 | 23
SPARE-001 |  |  | FM80 Fan Replacement Kit | 33.75 | 27
SPARE-002 |  |  | FM60 Fan Replacement Kit | 40 | 32
SPARE-035 |  |  | FM60 and FM80 Charge Controller Replacement Button Board | 162.5 | 130
SPARE-036 |  |  | FM60 and FM80 Charge Controller Replacement Power Board | 422.5 | 338
SPARE-037 |  |  | FM60-150VDC Replacement Control Board | 140 | 112
SPARE-038 |  |  | FM80-150VDC Replacement Control Board | 140 | 112
SPARE-040 |  |  | Air Temp Sensor Kit (for all OutBack Inverters) | 20 | 16
SPARE-045 |  |  | FM100 GFDI Fuse Replacement Kit, 10mmx38mm, 0.75A, compatible with both FM100 models | 20 | 16
SPARE-046 |  |  | FM100-300VDC-AFCI Fan Replacement Kit, not compatible with previous FM100-300VDC | 87.5 | 70
SPARE-047 |  |  | FM100-300VDC-AFCI AFCI Replacement Kit, not compatible with previous FM100-300VDC | 1005 | 804
SPARE-101 |  |  | FXR Control Board for FXR 12V(A Models) | 260 | 208
SPARE-102 |  |  | FXR Control Board for FXR 12V(E Models) | 260 | 208
SPARE-103 |  |  | FXR Control Board for FXR 24V(A Models) | 260 | 208
SPARE-104 |  |  | FXR Control Board for FXR 24V(E Models) | 260 | 208
SPARE-105 |  |  | FXR Control Board for FXR 48V(A Models) | 262.5 | 210
SPARE-106 |  |  | FXR Control Board for FXR 48V(E Models) | 262.5 | 210
SPARE-107 |  |  | FXR 120V AC Board | 266.25 | 213
SPARE-108 |  |  | FXR 230V AC Board | 273.75 | 219
SPARE-109 |  |  | FXR 12V FET Board | 611.25 | 489
SPARE-110 |  |  | FXR 24V FET Board | 630 | 504
SPARE-111 |  |  | FXR 48V FET Board | 628.75 | 503
SPARE-202 |  |  | GS7048E, GS3548E Board Stack Assembly Replacement | 2195 | 1756
SPARE-203 |  |  | GS7048E, GS3548E Power Module Replacement | 1801.25 | 1441
SPARE-204 |  |  | GS8048A, GS4048A Board Assembly Stack Replacement | 2088.75 | 1671
SPARE-205 |  |  | GS8048A, GS4048A Power Module Replacement | 1757.5 | 1406
SPARE-215 |  |  | GS Radian Power Supply Board Replacement | 168.75 | 135
SPARE-300 |  |  | ICS Distribution Block, 1 Line/4 Load, 175 Amp | 26.25 | 21
SPARE-301 |  |  | ICS Cable Gland, 1.25" EKO, 9 Hole | 23.75 | 19
SPARE-302 |  |  | ICS Plus Contactor, 150 Amp 600 VDC | 257.5 | 206
SPARE-304 |  |  | ICS Plus Combiner Box Replacement PCBA | 323.75 | 259
SPARE-306 |  |  | ICS Plus Switch | 96.25 | 77
SPARE-307 |  |  | ICS Plus Combiner Box Replacement Back Panel | 1025 | 820
SPARE-GS-COVR |  |  | Replacement GS inverter cover - grey powder coat finish | 96.25 | 77
SPARE-GSLC-COVR |  |  | Replacement GSLC inverter cover - grey powder coat finish | 76.25 | 61
*Price may change without notice.
Note on I1: Lot quantity refers to unit quantity in single shipping enclosure, either pallet or parcel
Note on I24: Lot quantity refers to unit quantity in single shipping enclosure, either pallet or parcel

## Battery Price List
Domestic OutBack Battery Price List
Effective 10/03/23
All product include free freight anywhere within the continental USA. For residential deliveries, if communicated to Order Management prior to order entry, we can specify lift gate is not needed in the sales order, and $150 liftgate fee will be waived. If not specified, all residential deliveries will automatically have $150 liftgate fee added. If distributor indicates to OutBack that no liftgate is needed, but upon delivery, one is discovered to be needed, distributor is responsible for liftgate fee plus additional handling charges incurred.
Voltage | Part Number | BCI Group Size | Picture | Description | Energy Per Battery | EXW Point | June 22 Price | Quantity per Pallet
12V Front Terminal | NSB40FT BLUE+ | Non-BCI Standard |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon 40Ah c/100, 12V Front Terminal | Nameplate: 0.48kWh Usable: 0.24kWh | Suwanee, GA | 224 | 72
| NSB100FT BLUE+ |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon 105Ah c/100, 12V Front Terminal | Nameplate: 1.26kWh Usable: 0.63kWh |  | 270 | 36
| NSB170FT BLUE+ |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon 182Ah c/100, 12V Front Terminal | Nameplate: 2.18kWh Usable: 1.09kWh |  | 365 | 20
| NSB190FT BLUE+ |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon 202Ah c/100, 12V Front Terminal | Nameplate: 2.42kWh Usable: 1.21kWh |  | 380 | 20
| *NSB210FT BLUE+ |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon 216Ah c/100, 12V Front Terminal | Nameplate: 2.59kWh Usable: 1.29kWh |  | 419 | 20
*Not compatible with IBR-2-48-175 or IBR-3-48-175 battery racks
Voltage | Part Number | BCI Group Size | Picture | Description | Energy Per Battery | EXW Point | June 22 Price | Quantity per Pallet
12V Front Terminal | 210HP | Non-BCI Standard |  | 210HP VRLA-AGM Pure Lead 203.8Ah c/100, 12V Front Terminal | Nameplate: 2.44kWh Usable: 1.22kWh | Suwanee, GA | 405 | 12
Voltage | Part Number | BCI Group Size | Picture | Description | Energy Per Battery | EXW Point | June 22 Price | Number of Pallets
48V High Capacity System | 1000XLC | Non-BCI Standard |  | EnergyCell XLC High Capacity Lead Carbon 1220Ah c/100 with cabinet | Nameplate: 58.5kWh Usable: 29.2kWh | Haltom City, TX | 15999 | 3
48V Li-Ion LFP | 3.8-48-60 | Non-BCI Standard |  | SimpliPhi 3.8kWh, Lithium Iron Phosphate (LFP) battery 48V | Nameplate: 3.8kWh | Oxnard, CA | 2799
Voltage | Part Number | BCI Group Size | Picture | Description | Energy Per Battery | EXW Point | June 22 Price | Quantity per Pallet
12 V Top Terminal | 106TT | 27 |  | EnergyCell VRLA-AGM 106Ah c/100, 12V Top Terminal | Nameplate: 1.27kWh Usable: 0.63kWh | Haltom City, TX | 179 | 30
| 115TT | 31 |  | EnergyCell VRLA-AGM 117Ah c/100, 12V Top Terminal | Nameplate: 1.40kWh Usable: 0.70kWh |  | 206 | 30
Voltage | Part Number | BCI Group Size | Picture | Description | Energy Per Battery | EXW Point | June 22 Price | Number of Pallets
24V High Capacity System | 800RE-24 | Non-BCI Standard |  | EnergyCell RE High Capacity 24V Battery System, 810Ah c/100, 4x3 Cell Config | Nameplate: 19.2kWh Usable: 9.6kWh | Allentown, PA | 5342 | 2
| 1100RE-24 |  |  | EnergyCell RE High Capacity 24V Battery System, 1150Ah c/100, 4x3 Cell Config | Nameplate: 26.4kWh Usable: 13.2kWh |  | 8057 | 3
| 1300RE-24 |  |  | EnergyCell RE High Capacity 24V Battery System, 1340Ah c/100, 4x3 Cell Config | Nameplate: 31.2kWh Usable: 15.6kWh |  | 9209 | 3
| 1600RE-24 |  |  | EnergyCell RE High Capacity 24V Battery System, 1600Ah c/100, 3x4 Cell Config | Nameplate: 38.4kWh Usable: 19.2kWh |  | 10488 | 3
| 2000RE-24 |  |  | EnergyCell RE High Capacity 24V Battery System, 2070Ah c/100, 4x3 Cell Config | Nameplate: 48kWh Usable: 24kWh |  | 13087 | 3
| 2200RE-24 |  |  | EnergyCell RE High Capacity 24V Battery System, 2140Ah c/100, 4x3 Cell Config | Nameplate: 52.8kWh Usable: 26.4kWh |  | 14101 | 3
| 2700RE-24 |  |  | EnergyCell RE High Capacity 24V Battery System, 2770Ah c/100, 4x3 Cell Config | Nameplate: 64.8kWh Usable: 32.4kWh |  | 17226 | 3
Voltage | Part Number | BCI Group Size | Picture | Description | Energy Per Battery | EXW Point | June 22 Price | Number of Pallets
48V High Capacity System | 800RE | Non-BCI Standard |  | EnergyCell RE High Capacity 48V Battery System, 810Ah c/100, 6x4 Cell Config | Nameplate: 38.4kWh Usable: 19.2kWh | Allentown, PA | 10921 | 3
| 1100RE |  |  | EnergyCell RE High Capacity 48V Battery System, 1150Ah c/100, 4x6 Cell Config | Nameplate: 52.8kWh Usable: 26.4kWh |  | 16760 | 5
| 1300RE |  |  | EnergyCell RE High Capacity 48V Battery System, 1340Ah c/100, 3x8 Cell Config | Nameplate: 62.4kWh Usable: 31.2kWh |  | 19434 | 5
| 1600RE |  |  | EnergyCell RE High Capacity 48V Battery System, 1600Ah c/100, 3x8 Cell Config | Nameplate: 76.8kWh Usable: 38.4kWh |  | 22010 | 5
| 2000RE |  |  | EnergyCell RE High Capacity 48V Battery System, 2070Ah c/100, 4x6 Cell Config | Nameplate: 96kWh Usable: 48kWh |  | 27443 | 5
| 2200RE |  |  | EnergyCell RE High Capacity 48V Battery System, 2140Ah c/100, 4x6 Cell Config | Nameplate: 105.6kWh Usable: 52.8kWh |  | 28970 | 5
| 2700RE |  |  | EnergyCell RE High Capacity 48V Battery System, 2770Ah c/100, 4x6 Cell Config | Nameplate: 129.6kWh Usable: 64.8kWh |  | 32839 | 5
Voltage | Part Number | BCI Group Size | Picture | Description | Energy Per Battery | EXW Point | June 22 Price | Quantity per Pallet
6V FLA | 290FLA | GC2 |  | EnergyCell 290FLA Deep Cycle Flooded. 290Ah c/100, 6V Top Terminal | Nameplate: 1.74kWh Usable: 0.87kWh | Fremont, OH Twinsburg, OH Villa Park, IL Waterbury, CT Santa Fe Springs, CA | 171 | 32
| 525FLA | 903 |  | EnergyCell 525FLA Deep Cycle Flooded. 525Ah c/100, 6V Top Terminal. L16 case | Nameplate: 3.15kWh Usable: 1.57kWh |  | 352 | 16

## HC RE Cells & Hardware
EnergyCell High Capacity Replacement Batteries
Effective 10/03/23
Please ensure the correct battery replacement is selected. Refer to images for differences between round and square post terminals
For residential deliveries, if communicated to Order Management prior to order entry, we can specify lift gate is not needed in the sales order, and $150 liftgate fee will be waived. If not specified, all residential deliveries will automatically have $150 liftgate fee added. If distributor indicates to Outback that no liftgate is needed, but upon delivery, one is discovered to be needed, distributor is responsible for liftgate fee plus additional handling charges incurred.
| EnergyCell Model | Round Post EnerSys Part Number | Square Post EnerSys Part Number | 2V Battery Dimensions (in) | 2V Battery Weight (lb) | EXW Location | Price
| 800RE | 868404-CW | 868616-CW | 21.8 x 11.9 x 6.5 | 114.3 | Allentown, PA | 725
| 1100RE | 868405-CW | 868617-CW | 21.8 x 8.4 x 6.5 | 162.3 | Allentown, PA | 579
| 1300RE | 868410-CW | 868621-CW | 24.5 x 8.4 x 6.5 | 188.3 | Allentown, PA | 699
| 1600RE | 868411-CW | 868622-CW | 24.5 x 9.9 x 6.5 | 222.3 | Allentown, PA | 715
| 2000RE | 868414-CW | 868625-CW | 23.5 x 9.9 x 8.9 | 272.3 | Allentown, PA | 975
| 2200RE | 868413-CW | 868624-CW | 24.5 x 12.9 x 6.5 | 290.3 | Allentown, PA | 945
| 2700RE | 868416-CW | 868627-CW | 23.5 x 12.9 x 8.9 | 358.3 | Allentown, PA | 1149
Battery Display and Spare Hardware
| Model |  |  | Description |  |  |  | Price
NSB Display Jar | NSB40FT BLUE-DIS |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal, Display |  |  |  | 78
| NSB100FT BLUE-DIS |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display |  |  |  | 82
| NSB170FT BLUE-DIS |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display |  |  |  | 93
| NSB190FT BLUE-DIS |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display |  |  |  | 93
| *NSB210FT BLUE-DIS |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display |  |  |  | 108
*Not compatible with IBR-2-48-175 or IBR-3-48-175 battery racks
NSB HWR Kits | ACC0009 |  |  | Hardware Kit for NSB40FT-100FT, Incl. Covers, front bus bar, M8x1.25 screw & washer |  |  |  | 21
| ACC0010 |  |  | Hardware Kit for NSB170FT-210FT, Covers, front bus bar, M8x1.25 screw & washer |  |  |  | 17
NSB Links | LNK0021 |  |  | Interconnecting bus bar Link for NSB40FT BLUE+ |  |  |  | 6
| LNK0004 |  |  | Interconnecting bus bar Link for NSB100FT BLUE+ |  |  |  | 6
| LNK0009 |  |  | Interconnecting bus bar Link for NSB170FT - NSB210FT BLUE+ |  |  |  | 6
PLR Display | 200PLR-DIS |  |  | EnergyCell 200PLR VRLA-AGM Pure Lead, 12V Front Terminal Display Jar |  |  |  | 93
PLR HWR | SBSF48VKITB |  |  | Hardware Kit for 48V string, Inc. bus bars, no-ox grease, hwr package, instructions |  |  |  | 36
| 2107-8940 |  |  | Terminal Plastic Cover for 200PLR |  |  |  | 7
| 2207-7710 |  |  | Front Terminal adapter bus bar for 200PLR |  |  |  | 16
Round Post
Square Post (new standard)
Round Post
Square Post (new standard)

## Internal ProHarvest Worksheet (hidden)
|  | Price List | Effective | 2019-02-01
|  | *ALL PRICES SUBJECT TO CHANGE WITHOUT NOTICE | Balance Of Systems Product Discount |  | 10%
|  | *** CONFIDENTIAL *** | Inverter Product Discount |  | 55%
insert customer name & info
Part Number |  | Part Description | Retail Price USD | Customer Negotiated Price
ProHarvest 3-Phase Inverters
Grid-Direct Inverters
PRO480-8k |  | ProHarvest Inverter, 8kW, 480V 3-phase; Inverter with MC4-compatible connectors (1ea). MPPT per string, monitoring per string. Includes 10 year limited warranty. Gateway and AC Cables sold separately. | 2552 | 1148.4
PHXL480-10k | New! | ProHarvest Gen XL Inverter meets UL1741SA, 10kW, 480V, 3-Phase; Inverter with MC4-compatible connectors (1ea). Includes 10 year limited warranty. Gateway and AC Cables sold separately. | 3190 | 1435.5
PRO208-5k75 |  | ProHarvest Inverter, 5.75 kW, 208V 3-phase; Inverter with MC4-compatible connectors (1ea). MPPT per string, monitoring per string. Includes 10 year limited warranty. Gateway and AC Cables sold separately. | 2846.25 | 1280.8125
Communications
Communications Gateways
PROGW-A-120 |  | Communication Gateway, 120V. Includes Ethernet Cable (1ea), memory card for logging and storage of results and 120V power cable. | 660 | 594
PROGW-A-277 |  | Communication Gateway, 277V. Includes Ethernet Cable (1ea), memory card for logging and storage of results and 277V power cable. | 660 | 594
ProHarvest Integration Hardware
AC Splice Box
PROSPL-60 |  | AC combiner splice box, NEMA4 enclosure. Includes 3 gland fittings for up to 3 inverter AC cables. Inverter AC cables must be ordered separately. | 187 | 168.3
Inverter AC Cables - 480V
CBL-480A-05 |  | ProHarvest 380/480V AC Cable, 5ft. Includes ProHarvest 480V AC mating connector, other end unterminated. | 27.5 | 24.75
CBL-480A-15 |  | ProHarvest 380/480V AC Cable, 15ft. Includes ProHarvest 480V AC mating connector, other end unterminated. | 38.5 | 34.65
CBL-480A-30 |  | ProHarvest 380/480V AC Cable, 30ft. Includes ProHarvest 480V AC mating connector, other end unterminated. | 66 | 59.4
CBL-480A-50 |  | ProHarvest 380/480V AC Cable, 50ft. Includes ProHarvest 480V AC mating connector, other end unterminated. | 93.5 | 84.15
Inverter AC Cables - 208V
CBL-208A-05 |  | ProHarvest 208V AC Cable, 5ft. Includes ProHarvest 208V AC mating connector, other end unterminated. | 27.5 | 24.75
CBL-208A-15 |  | ProHarvest 208V AC Cable, 15ft. Includes ProHarvest 208V AC mating connector, other end unterminated. | 38.5 | 34.65
CBL-208A-30 |  | ProHarvest 208V AC Cable, 30ft. Includes ProHarvest 208V AC mating connector, other end unterminated. | 66 | 59.4
CBL-208A-50 |  | ProHarvest 208V AC Cable, 50ft. Includes ProHarvest 208V AC mating connector, other end unterminated. | 93.5 | 84.15
Mounting and Installation Hardware
MNT-TS1-01 |  | Ballast Roof Mounting System, Quantity 1. Hardware to mount 1 ProHarvest inverter. Includes 4 feet and associated hardware. | 44 | 39.6
TOOL-KIT-1 |  | AC & DC Connector Tool Kit. MC4-Compatible Connector Unlatching Tool (10ea), plus ProHarvest AC Connector Unlatching Tool (10ea) | 11 | 9.9
Miscellaneous
Extended Warranties
Other
PRO000-00K |  | PRO480-8K Display | 550 | 495
PLC-CORE-57-1 |  | Power line communication core, 2.25 in. (57 mm) internal diameter. Provides isolation for the ProHarvest Gateway. | 91 | 82
PLC-CORE-75-1 | Update! | Power line communication core, 3 in. (75 mm) internal diameter. Provides isolation for the ProHarvest Gateway. | 202 | 182

## SmartHarvest (hidden)
[7 empty] | Effective | #REF!
Price List
*ALL PRICES SUBJECT TO CHANGE WITHOUT NOTICE
Part Number |  | Part Description |  |  |  | Standard Distribution Price
Charge Controllers |  |  | Price per Unit (USD) |  |  | Standard Distribution Price
MPPT with Load Control |  |  |  |  | (12 pcs to a case)
Quantity |  |  | MSRP | 1 to 11 | 12 to 95 | 96 to 983 | 984 to 4,991 | >4,992
SCCM20-100 |  | 20A output @ 50C, MPPT, 12/24Vdc battery, 100Vdc PV maximum. Load Control. Minimum order quantity of 12. | 177.27 | 130 | 110.5 | 97.5 | 85 | 78
SCCM10-100 |  | 10A output @ 60C, MPPT, 12/24Vdc battery, 100Vdc PV maximum. Load Control. Minimum order quantity of 12. | 109.09 | 80 | 68 | 60 | 56 | 52
PWM with Load Control |  |  |  |  | (24 pcs to a case)
Quantity |  |  |  |  | 24 to 95 | 96 to 983 | 984 to 4,991 | >4,992
SCCP10-050 |  | 10A output @ 60C, PWM, 12/24Vdc battery, 50Vdc PV maximum. Load Control. Minimum order quantity of 24. | 50.91 | 30.5 | 29 | 28 | 22 | 78
SCCP05-050 |  | 5A output @ 60C, PWM, 12/24Vdc battery, 50Vdc PV maximum. Load Control. Minimum order quantity of 24. | 44.55 | 26 | 25 | 24.5 | 19 | 52
Accessories |  |  |  |  | (15 pcs to a case)
SRTS-6M |  | SmartHarvest remote temperature sensor, includes 6m / 20' cable, black. Minimum order quantity of 15. | 29.09 | 16 | 16 | 16 | 16 | 16
Accessories |  |  |  |  | (12 pcs to a case)
SCOM-USB | New | Isolated RS-485-to-USB converter that establishes a communication interface between any SmartHarvest series charge controller and a Windows PC | 63.64 | 35 | 35 | 35 | 35 | 35