## Sheet1
S. No. | Item No. | US Solar SKU No. | Model No. | Product | Price | Scenario | Manufacturer | Brand | Type | Status
1 |  | USBE100-0044 | E-BOX-48100R | LFP battery pack Voltage: 51.2V Capacity: 100Ah Energy:5.12kWh BMS and cable set is included, 10 years standard warranty, 6000 cirlces DOD 90% | 2000 | US$2,000 PC - MRSP PRICE (End user) California 2100USD US$1,500 PC - SAMPLE order at one time US$1,525 PC - 12-59 PCS order at one time US$1470-1500 PC - 60-350pcs order at one time | Pytes | Pytes |  | Already Listed
2 |  | USSS100-0088 | Forrest RB | Indoor cabinet designed to hold 1-6pcs E-box-48100R, with bus bar | 818 |  | Pytes |  |  | Already Listed
3 |  | USBE100-0039 | R-BOX-IP64 | Outdoor cabinet only, designed for 2pcs E-box-481ooR, can mount on wall, also can stand on ground beside wall | 499 |  | Pytes | Pytes |  | Already Listed
4 |  | USSS100-0086 | R-BOX | Indoor cabinet only, designed for 2pcs E-box-48100R, can mount on wall, also can stand on ground beside wall | 299 |  | Pytes | Pytes |  | Already Listed
5 |  | USBE100-0049 | Communication HUB | for communication between batteries and battery to inverter, one pc can support 56 pcs total 280KWH batteries connection in parallel, HUB is a must for more than 8pc batteries in single system | 450 |  | Pytes | Pytes | Communication | Already Listed
6 |  | USSSP110-1122 | Power Cable Set | 2m long cable set from battery to charger/load/busbar | 43.43 |  | Pytes | Pytes |  | Already Listed
7 |  | USWC001-0063 | Communication cable | communicaiton cable between battery and charger/inverter | 5 |  | Pytes | Pytes |  | Already Listed
8 |  | USSE100-0284 | Bus Bar | 300A, 2pcs/pair | 100 |  | Pytes | Pytes |  | Already Listed
9 |  | USSS100-0089 | Battery Bracket | brackets set for E-Box-48100R, one pair includes 2pcs | 50 |  | Pytes | Pytes |  | Already Listed
10 |  | USIN100-0002 | (SA-12K) | (SA-12K) - Sol-Ark 12K 120/240/208V-3P 10-Year Standard Warranty, NEMA-3R | 6050 |  | Sol-Ark |  |  | Already Listed
11 |  | USSSP110-1292 | (SA-Limitless-15K) | (SA-Limitless-15K) - Sol-Ark 15K 120/240/208V-3P 10-Year Standard Warranty, NEMA-3R | 7200 |  | Sol-Ark |  |  | Already Listed