## Sheet1
| Item No. | Description | Price | Unnamed: 0 | EnergyCell High Capacity Replacement Batteries | Unnamed: 2 | Unnamed: 3 | Unnamed: 4 | Unnamed: 5 | Unnamed: 6 | Unnamed: 7 | Unnamed: 8 | Unnamed: 9 | Unnamed: 10 | Unnamed: 11 | Description
0 | OGHESS8015A | Part Description: Mojave ESS *For adding energy storage to a new or existing grid-dependent micro or string inverter (AC-coupled) installation, or back-up only installations* Includes 8kW Mojave inverter, 14.8kWh battery, Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Standard 10-year warranty - Listed to UL 1741-SA **Ships from Spokane Valley, WA , Individual Weight Inverter/Battery (lbs.): 133lb/455lb , Individual Dimensions Inverter/Battery (WxHxD) (in.) 16 × 38 × 11.25/ 24 × 44 × 12.25 | 7900
1 | OGHI8048A | Part Description: Mojave Inverter *For adding energy storage to a ne or existing grid-dependent micro or string inverter (AC-coupled) installation, or back-up only installations* Includes 8kW Mojave inverter, Current sensor pair (200A), inverter mounting bracket, and mounting hardware. Standard 10-year warranty - Listed to UL 1741-SA **Ships from Spokane Valley, WA , Individual Weight Inverter/Battery (lbs.): 133lb , Individual Dimensions Inverter/Battery (WxHxD) (in.) 16 × 38 × 11.25 | 2300
2 | MOJAVE SHIPPING | Part Description: Flat rate shipping for OGHESS8015A to contiguous US. If a lift gate is required, there will be an additional $150 fee. , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 600
3 | SE-SE815ESS-90HM | Part Description: Bundled OGHESS8015A Includes 8kW Mojave inverter, 14.8kWh battery, Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Also includes (6) OBHM-1500-NT 4-input Hoymiles microinverters, DTU communications hub, (6) 2m trunk cables, and connector tools. ***Standard shipping included , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 10000
4 | SE-SE815ESS-30HM | Part Description: Bundled OGHESS8015A Includes 8kW Mojave inverter, 14.8kWh battery, Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Also includes (2) OBHM-1500-NT 4-input Hoymiles microinverters, DTU communications hub, (6) 2m trunk cables, and connector tools. ***Standard shipping included , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 9000
5 | FP1 VFXR3524A-01 | Part Description: FLEXpower One 3.5 kW, 24 VDC solution, single VFXR3524A-01, prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 250 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): 110 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 24x40x16 | 2275
6 | FP1 VFXR3648A-01 | Part Description: FLEXpower One 3.6 kW, 48 VDC solution, single VFXR3648A-01, prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 175 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): 112 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 24x40x17 | 2275
7 | FP2 VFXR3524A-01 | Part Description: FLEXpower TWO 7.0 kW, 24 VDC solution, dual VFXR3524A-01, prewired AC & DC boxes with AC bypass 250 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): 259 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 20.25×46×13 | 4125
8 | FP2 VFXR3648A-01 | Part Description: FLEXpower TWO 7.2 kW, 48 VDC solution, dual VFXR3648A-01, prewired AC & DC boxes with AC bypass 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): 256 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 20.25×46×13 | 4125
9 | FPR-4048A-01 | Part Description: GS4048A-01 Inverter/Charger 4.0 kW, 48 VDC FLEXpower Radian, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breaker, 125 Amp charge controller breakers, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 80 charge controller. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): 195 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 47x34x10 | 2975
10 | FPR-4048A-300AFCI | Part Description: GS4048A-01 Inverter/Charger 4.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breaker, 125 Amp charge controller breaker, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 100 AFCI charge controller. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): 199 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 47x34x10 | 3465
11 | FPR-8048A-01 | Part Description: GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus two FLEXmax 80 charge controllers. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): 250 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 47x34x10 | 4060
12 | FPR-8048A-300AFCI | Part Description: GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, 125 Amp charge controller breakers, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus two FLEXmax 100 AFCI charge controllers. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): 258 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 47x34x10 | 5075
13 | FPR-8048A-300A-LT | Part Description: Single FM100-300VDC-AFCI version - GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, 125 Amp charge controller breakers, 80 Amp PV breakers, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 100 AFCI charge controller. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): 238 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 47x34x10 | 4180
14 | GS4048A-01 | Part Description: 4.0 kW, 48 VDC, 120/240 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) 35x21x14 | 1380
15 | GS8048A-01 | Part Description: 8.0 kW, 48 VDC, 120/240 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS. Listed to UL1741-SA , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) 35x21x14 | 2010
16 | MATE3SL | Part Description: Universal version required by (V)FXR and GS inverters, Dark gray square housing - ***NOT COMPATIBLE WITH OpticsRE*** , Individual Weight Inverter/Battery (lbs.): 3 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 14x9x4 | 165
17 | OBFRS-01 | Part Description: FireRaptor Rapid Shutdown Unit , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 44
18 | FM100-300VDC-AFCI | Part Description: 100 Amp output @ 25 ◦C, 24, 36 and 48 VDC nominal battery, 300 VDC PV maximum, IP54 enclosure, integrated arc fault detection and interruption (AFCI) , Individual Weight Inverter/Battery (lbs.): 19.75 , Individual Dimensions Inverter/Battery (WxHxD) (in.) 26x12x10 | 765
19 | FM80-150VDC | Part Description: 80 Amp output @ 40 ◦C, 12 to 60 VDC battery, 150 VDC PV maximum , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) 20x9x10 | 285
20 | FM60-150VDC | Part Description: 60 Amp output @ 40 ◦C, 12 to 60 VDC battery, 150 VDC PV maximum , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) 17x9x10 | 270
21 | OGHESS8015A | Part Description: Mojave ESS *For adding energy storage to a new or existing grid-dependent micro or string inverter (AC-coupled) installation, or back-up only installations* Includes 8kW Mojave inverter, 14.8kWh battery, Current sensor pair (200A), inverter mounting bracket, battery anti-tip wall anchors, battery cables, 6” gutter, BMS CANBUS cable, and mounting hardware. Standard 10-year warranty - Listed to UL 1741-SA **Ships from Spokane Valley, WA , Individual Weight Inverter/Battery (lbs.): 133lb/455lb , Individual Dimensions Inverter/Battery (WxHxD) (in.) 16 × 38 × 11.25/ 24 × 44 × 12.25 | 7900
22 | OGHI8048A | Part Description: Mojave Inverter *For adding energy storage to a ne or existing grid-dependent micro or string inverter (AC-coupled) installation, or back-up only installations* Includes 8kW Mojave inverter, Current sensor pair (200A), inverter mounting bracket, and mounting hardware. Standard 10-year warranty - Listed to UL 1741-SA **Ships from Spokane Valley, WA , Individual Weight Inverter/Battery (lbs.): 133lb , Individual Dimensions Inverter/Battery (WxHxD) (in.) 16 × 38 × 11.25 | 2300
23 | MOJAVE SHIPPING | Part Description: Flat rate shipping for OGHESS8015A to contiguous US. If a lift gate is required, there will be an additional $150 fee. , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 600
24 | OBCT-100 | Part Description: One pair of split core external current transformers, 100 Amp , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 235
25 | OBCT-200 | Part Description: One pair of split core external current transformers, 200 Amp , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 197
26 | SPARE-501 | Part Description: Mojave OGHI8048A Ctrl Brd - Includes: replacement control board, ribbon cable, screws, bracket, AUX plug , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 799
27 | SPARE-502 | Part Description: Mojave OGHI8048A AC Brd - Includes: replacement AC board, ribbon cable, screws , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 1600
28 | SPARE-504 | Part Description: Mojave PWR MDL Carrier Brd - Includes: replacement Carrier board, screws, washers , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 647
29 | SPARE-506 | Part Description: Mojave OGHI8048A Power Module - Includes: replacement power module, screws, washers , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 275
30 | SPARE-508 | Part Description: Mojave OGHI8048A Fan Module - Includes: replacement fans (2) connected to fan bracket, screws , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 95
31 | SPARE-509 | Part Description: Mojave CAN BUS Terminator , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 25
32 | SPARE-510 | Part Description: Mojave Antenna Kit - Includes: replacement Antenna, antenna cable, ziptie , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 32
33 | SPARE-511 | Part Description: Mojave Inv Mounting Bracket - Includes: inverter mounting bracket, screws and washers , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 37
34 | SPARE-512 | Part Description: OGHI8048A Cover - Includes: inverter upper cover, washers and screws , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 392
35 | SPARE-514 | Part Description: OGHI8048A BOS Door - Includes: inverter BOS door, latch and 2 attachment pins , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 131
36 | SPARE-515 | Part Description: OGHI8048A Hardware Kit for BOS Door- Includes: latch and attachment pins for inverter BOS door , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 53
37 | DIN-60D-AC-480 | Part Description: 60 Amp AC dual-pole circuit breaker, 277/480 VAC 50/60 Hz Dual Pole 1.0" (26mm) wide , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 33
38 | PNL-250-DC | Part Description: 250 Amp DC circuit breaker, 125 VDC, 3/8” stud terminals , Individual Weight Inverter/Battery (lbs.): nan , Individual Dimensions Inverter/Battery (WxHxD) (in.) nan | 83
39 | FPR-8048A-01 | Part Description: GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus two FLEXmax 80 charge controllers. Listed to UL1741-SA , Individual Weight (lbs.)250 , Individual Dimensions (LxWxH) (in.) 47x34x10 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 272 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x18 , Stackable For Transit?: Yes 4 High | 4060
40 | FPR-8048A-300AFCI | Part Description: GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, 125 Amp charge controller breakers, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus two FLEXmax 100 AFCI charge controllers. Listed to UL1741-SA , Individual Weight (lbs.)258 , Individual Dimensions (LxWxH) (in.) 47x34x10 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 218 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x18 , Stackable For Transit?: Yes 4 High | 5075
41 | FPR-8048A-300A-LT | Part Description: Single FM100-300VDC-AFCI version - GS8048A-01 Inverter/Charger 8.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breakers, 125 Amp charge controller breakers, 80 Amp PV breakers, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 100 AFCI charge controller. Listed to UL1741-SA , Individual Weight (lbs.)238 , Individual Dimensions (LxWxH) (in.) 47x34x10 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 198 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x18 , Stackable For Transit?: Yes 4 High | 4180
42 | FPR-4048A-01 | Part Description: GS4048A-01 Inverter/Charger 4.0 kW, 48 VDC FLEXpower Radian, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breaker, 125 Amp charge controller breakers, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 80 charge controller. Listed to UL1741-SA , Individual Weight (lbs.)195 , Individual Dimensions (LxWxH) (in.) 47x34x10 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 213 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x18 , Stackable For Transit?: Yes 4 High | 2975
43 | FPR-4048A-300AFCI | Part Description: GS4048A-01 Inverter/Charger 4.0 kW, 48 VDC FLEXpower Radian AFCI, pre-wired GSLC with 120/240 VAC Bypass, 175 Amp DC breaker, 125 Amp charge controller breaker, 80 Amp PV breaker, MATE3s, HUB 10.3, FN-DC, RTS, plus one FLEXmax 100 AFCI charge controller. Listed to UL1741-SA , Individual Weight (lbs.)199 , Individual Dimensions (LxWxH) (in.) 47x34x10 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 218 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x18 , Stackable For Transit?: Yes 4 High | 3465
44 | IBR-2-48-175 | Part Description: 2-shelf comprehensive battery enclosure with cabling, DC disconnects providing series string overcurrent protection, 48 VDC configuration , Individual Weight (lbs.)60 , Individual Dimensions (LxWxH) (in.) 27x24.5x33 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 100 , Est. Lot Shipping Dimensions (LxWxH) (in.): 27x24.5x37 , Stackable For Transit?: Yes | 1115
45 | IBR-3-48-175 | Part Description: 3-shelf comprehensive battery enclosure with cabling, DC disconnects providing series string overcurrent protection, 48 VDC configuration , Individual Weight (lbs.)89 , Individual Dimensions (LxWxH) (in.) 27x24.5x48.6 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 129 , Est. Lot Shipping Dimensions (LxWxH) (in.): 27x24.5x52.6 , Stackable For Transit?: Yes | 2145
46 | OBFRS-01 | Part Description: FireRaptor Rapid Shutdown Unit , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan , Lot Quantity: 16 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 38 , Est. Lot Shipping Dimensions (LxWxH) (in.): 19x13x13 , Stackable For Transit?: yes | 57
47 | OBFRS-ESW1 | Part Description: FireRaptor Shutdown Switch for OBFRS-01 , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 2 , Est. Lot Shipping Dimensions (LxWxH) (in.): 6x6x6 , Stackable For Transit?: yes | 133
48 | FP1 FXR3048A-01 | Part Description: FLEXpower One 3.0 kW, 48 VDC solution, single FXR3048A-01 , prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 175 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA , Individual Weight (lbs.)110 , Individual Dimensions (LxWxH) (in.) 24x40x16 , Lot Quantity: 6 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 2030 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x54 , Stackable For Transit?: No | 3457
49 | FP1 FXR2524A-01 | Part Description: FLEXpower One 2.5 kW, 24 VDC solution, single FXR2524A-01, prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 175 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA , Individual Weight (lbs.)111 , Individual Dimensions (LxWxH) (in.) 24x40x17 , Lot Quantity: 6 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 2048 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x57 , Stackable For Transit?: No | 3501
50 | FP1 VFXR3648A-01 | Part Description: FLEXpower One 3.6 kW, 48 VDC solution, single VFXR3648A-01, prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 175 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA , Individual Weight (lbs.)112 , Individual Dimensions (LxWxH) (in.) 24x40x17 , Lot Quantity: 6 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 2066 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x59 , Stackable For Transit?: No | 3579
51 | FP1 VFXR3524A-01 | Part Description: FLEXpower One 3.5 kW, 24 VDC solution, single VFXR3524A-01, prewired AC and DC boxes with 120 VAC Bypass, NEMA 5-20R GFCI Outlet, 250 Amp DC breaker, GFDI, 80 Amp PV breaker, Mate3s, HUB 10.3, RTS, FLEXmax 80, FLEXnet DC and surge protector. Listed to UL1741-SA , Individual Weight (lbs.)110 , Individual Dimensions (LxWxH) (in.) 24x40x16 , Lot Quantity: 6 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 2030 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x54 , Stackable For Transit?: No | 3620
52 | FP2 FXR3048A-01 | Part Description: FLEXpower TWO 6.0 kW, 48 VDC solution, dual FXR3048A-01, prewired AC & DC boxes with AC bypass 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA , Individual Weight (lbs.)256 , Individual Dimensions (LxWxH) (in.) 20.25×46×13 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 282 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x20 , Stackable For Transit?: Yes 4 High | 6303
53 | FP2 FXR2524A-01 | Part Description: FLEXpower TWO 5.0 kW, 24 VDC solution, dual FXR2524A-01, prewired AC & DC boxes with AC bypass 250 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA , Individual Weight (lbs.)249 , Individual Dimensions (LxWxH) (in.) 20.25×46×13 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 275 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x20 , Stackable For Transit?: Yes 4 High | 6390
54 | FP2 VFXR3648A-01 | Part Description: FLEXpower TWO 7.2 kW, 48 VDC solution, dual VFXR3648A-01, prewired AC & DC boxes with AC bypass 175 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA , Individual Weight (lbs.)256 , Individual Dimensions (LxWxH) (in.) 20.25×46×13 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 270 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x20 , Stackable For Transit?: Yes 4 High | 4125
55 | FP2 VFXR3524A-01 | Part Description: FLEXpower TWO 7.0 kW, 24 VDC solution, dual VFXR3524A-01, prewired AC & DC boxes with AC bypass 250 Amp DC breakers, PNL-GFDI-80D and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors plus two FLEXmax 80 MPPT controllers, MATE3s and brackets. Listed to UL1741-SA , Individual Weight (lbs.)259 , Individual Dimensions (LxWxH) (in.) 20.25×46×13 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 273 , Est. Lot Shipping Dimensions (LxWxH) (in.): 48x40x20 , Stackable For Transit?: Yes 4 High | 4125
56 | FP3 FXR3048A-01 | Part Description: FLEXpower THREE 9 kW, 48 VDC three-phase solution, triple FXR3048A-01, pre-wired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC and surge protectors, three FLEXmax 80 MPPT charge controllers, MATE3s and brackets. Listed to UL1741-SA , Individual Weight (lbs.)433 , Individual Dimensions (LxWxH) (in.) 46x46x13 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 546 , Est. Lot Shipping Dimensions (LxWxH) (in.): 53x47x34 , Stackable For Transit?: Yes 2 High | 11414
57 | FP4 FXR3048A-01 | Part Description: FLEXpower FOUR 12 kW, 48 VDC solution, quad FXR3048A-01, pre-wired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors, four FLEXmax 80 MPPT charge controllers, MATE3s and brackets. Listed to UL1741-SA , Individual Weight (lbs.)500 , Individual Dimensions (LxWxH) (in.) 46x46x13 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 633 , Est. Lot Shipping Dimensions (LxWxH) (in.): 53x47x34 , Stackable For Transit?: Yes 2 High | 13471
58 | FP3 VFXR3648A-01 | Part Description: FLEXpower THREE 10.8 kW, 48 VDC solution, triple VFXR3648A-01, pre-wired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC and surge protectors, three FLEXmax 80 MPPT charge controllers, MATE3s and brackets. Listed to UL1741-SA , Individual Weight (lbs.)433 , Individual Dimensions (LxWxH) (in.) 46x46x13 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 629 , Est. Lot Shipping Dimensions (LxWxH) (in.): 53x47x33 , Stackable For Transit?: Yes 2 High | 11940
59 | FP4 VFXR3648A-01 | Part Description: FLEXpower FOUR 14.4 kW, 48 VDC solution, quad VFXR3648A-01, pre-wired AC and DC boxes with AC Bypass, 175 Amp DC breakers, PNL-GFDI-80Q and 80 Amp PV breaker, HUB 10.3, RTS, FLEXnet DC, surge protectors, four FLEXmax 80 MPPT charge controllers, MATE3s and brackets. Listed to UL1741-SA , Individual Weight (lbs.)500 , Individual Dimensions (LxWxH) (in.) 46x46x13 , Lot Quantity: 1 , Est. Lot Shipping Weight (Including Pallet) (lbs.): 629 , Est. Lot Shipping Dimensions (LxWxH) (in.): 53x47x34 , Stackable For Transit?: Yes 2 High | 14074
60 | FM100-300VDC-AFCI | Part Description: 100 Amp output @ 25 ◦C, 24, 36 and 48 VDC nominal battery, 300 VDC PV maximum, IP54 enclosure, integrated arc fault detection and interruption (AFCI) , Individual Weight (lbs.)19.75 , Individual Dimensions (LxWxH) (in.) 26x12x10 | 1144
61 | FM80-150VDC | Part Description: 80 Amp output @ 40 ◦C, 12 to 60 VDC battery, 150 VDC PV maximum , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 20x9x10 | 404
62 | FM60-150VDC | Part Description: 60 Amp output @ 40 ◦C, 12 to 60 VDC battery, 150 VDC PV maximum , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 17x9x10 | 359
63 | GS7048E | Part Description: 7.0 kW, 48 VDC, 230 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 35x21x14 | 3780
64 | GS3548E | Part Description: 3.5 kW, 48 VDC, 230 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 35x21x14 | 2142
65 | GS8048A-01 | Part Description: 8.0 kW, 48 VDC, 120/240 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS. Listed to UL1741-SA , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 35x21x14 | 3200
66 | GS4048A-01 | Part Description: 4.0 kW, 48 VDC, 120/240 VAC 50/60 Hz Grid-Interactive and Standalone Solution with dual AC inputs and advanced features. Includes mounting plate, hardware and RTS. Listed to UL1741-SA , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 35x21x14 | 2137
67 | GSLC | Part Description: GS Load Center for Radian Series. Includes inverter bus bars, ground bus bar, 500 Amp DC shunt assembly with negative TBB, neutral TBB and two STBB-RED bus bars. Holds up to eighteen 1 to 80 Amp and two 175 or 250 Amp panel mount breakers (not included) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 23x21x16 | 633
68 | GSLC175-120/240 | Part Description: Prewired GSLC with two 175 Amp inverter disconnects, 120/240 VAC inverter bypass and dual AC inputs , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 24x21x14 | 1056
69 | GSLC175-PV-120/240 | Part Description: Prewired GSLC with two 175 Amp inverter disconnects, 120/240 VAC inverter bypass, dual AC inputs, GFDI, FLEXnet DC, two PV disconnects and three 500 Amp DC shunts , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 24x21x15 | 1200
70 | GSLC-PV-300VDC | Part Description: Prewired 300 VDC GSLC for FM100 charge controllers with two 175 Amp inverter disconnects, 120/240 VAC inverter bypass, dual AC inputs, FLEXnet DC, two PV disconnects and three 500 Amp DC shunts (GFDI integrated in FLEXmax 100) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 23x21x15 | 1250
71 | GSLC175PV1-120/240 | Part Description: Prewired GSLC with one 175 Amp inverter disconnect, 120/240 VAC inverter bypass, dual AC inputs, GFDI, FLEXnet DC, one PV disconnect and two 500 Amp DC shunts , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 23x21x15 | 1216
72 | GSLC-PV1-300VDC | Part Description: Prewired 300 VDC GSLC for FM100 charge controllers with one 175 Amp inverter disconnect, 120/240 VAC inverter bypass, dual AC inputs, FLEXnet DC, one PV disconnect and two 500 Amp DC shunts (GFDI integrated in FLEXmax 100) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 23x21x15 | 1338
73 | GSLC175-230 | Part Description: Prewired GSLC with two 175 Amp inverter disconnects, 230 VAC inverter bypass and dual AC inputs , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 23x21x15 | 1114
74 | GSLC175-PV-230 | Part Description: Prewired GSLC with two 175 Amp inverter disconnects, 230 VAC inverter bypass, dual AC inputs, GFDI, FLEXnet DC, two PV disconnects and three 500 Amp DC shunts , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 23x21x15 | 1336
75 | GSLC-PV-300VDC-230 | Part Description: Prewired 300 VDC GSLC for FM100 charge controllers with two 175 Amp inverter disconnects, 230 VAC inverter bypass, dual AC inputs, FLEXnet DC, two PV disconnects and three 500 Amp DC shunts (GFDI integrated in FLEXmax 100) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 24x21x15 | 1499
76 | GSLC175PV1-230 | Part Description: Prewired GSLC with one 175 Amp inverter disconnect, 230 VAC inverter bypass, dual AC inputs, GFDI, FLEXnet DC, one PV disconnect and two 500 Amp DC shunts , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 24x21x15 | 1271
77 | GSLCPV1-300VDC-230 | Part Description: Prewired 300 VDC GSLC for FM100 charge controllers with one 175 Amp inverter disconnect, 230 VAC inverter bypass, dual AC inputs, FLEXnet DC, one PV disconnect and two 500 Amp DC shunts (GFDI integrated in FLEXmax 100) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) 23x21x15 | 1380
78 | GS-IOB-120/240VAC | Part Description: GS Bypass Kit Split Phase 120/240 VAC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 249
79 | GS-IOB-230VAC | Part Description: GS Bypass Kit Single Phase 230 VAC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 199
80 | GS-SBUS | Part Description: DC Shunt Bus for GS Load Center , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
81 | GS-AC-GEN-KIT | Part Description: Optional generator protection kit for AC Coupled Radian systems. Protects connected generators from incidental current backfeed using standard transfer relay. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 160
82 | PNL-30D-AC-120/240 | Part Description: 30 Amp 120/240 VAC double pole panel mount breaker with 1/4" stud terminals for connecting AC Coupled grid tie inverters inside of the GSLC. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 42
83 | PNL-50D-AC-120/240 | Part Description: 50 Amp 120/240 VAC double pole panel mount breaker with 1/4" stud terminals. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 34
84 | PNL-50-AC-250 | Part Description: 50 Amp 250 VAC single pole panel mount breaker with 1/4" stud terminals. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 14
85 | STBB-BLACK | Part Description: Short Bus Bar Kit with Black insulators , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
86 | STBB-RED | Part Description: Short Bus Bar Kit with Red insulators , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
87 | STBB-WHITE | Part Description: Short Bus Bar Kit with White insulators , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
88 | STBB-BLUE | Part Description: Short Bus Bar Kit with Blue insulators , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
89 | STBB-BROWN | Part Description: Short Bus Bar Kit with Brown insulators , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
90 | Sealed, 120VAC / 60Hz(50Hz) selectable | Part Description: nan , Individual Weight (lbs.)0 , Individual Dimensions (LxWxH) (in.) 0
91 | FXR3048A-01 | Part Description: Grid-interactive FXR Renewable Series inverter/charger, 3.0 kW, 120 VAC, 48 VDC, 35 Amp charger, 60 Amp AC input. Listed to UL1741-SA , Individual Weight (lbs.)68 , Individual Dimensions (LxWxH) (in.) 22x14x23 | 1441
92 | FXR2524A-01 | Part Description: Grid-interactive FXR Renewable Series inverter/charger, 2.5 kW, 120 VAC , 24 VDC, 55 Amp charger, 60 Amp AC input. Listed to UL1741-SA , Individual Weight (lbs.)68 , Individual Dimensions (LxWxH) (in.) 22x14x23 | 1488
93 | FXR2012A | Part Description: Off-Grid FXR Renewable Series inverter/charger, 2.0 kW, 120 VAC, 12 VDC, 100 Amp charger, 60 Amp AC input , Individual Weight (lbs.)67 , Individual Dimensions (LxWxH) (in.) 22x14x23 | 1450
94 | VFXR3648A-01 | Part Description: Grid-interactive FXR Renewable Series inverter/charger, 3.6 kW, 120 VAC, 48 VDC, 45 Amp charger, 60 Amp AC input. Listed to UL1741-SA , Individual Weight (lbs.)66 , Individual Dimensions (LxWxH) (in.) 22x14x23 | 1578
95 | VFXR3524A-01 | Part Description: Grid-interactive FXR Renewable Series inverter/charger, 3.5 kW, 120 VAC, 24 VDC, 85 Amp charger, 60 Amp AC input. Listed to UL1741-SA , Individual Weight (lbs.)66 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1629
96 | VFXR2812A | Part Description: Off-Grid FXR Renewable Series Inverter/Charger 2.8 kW, 120 VAC, 12 VDC, 125 Amp charger, 60 Amp AC input , Individual Weight (lbs.)66 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1588
97 | FX3048MT | Part Description: Mobile sealed inverter/charger, 3.0 kW, 48 VDC, 120 VAC, 60 Hz, 35 Amp charger, 30 Amp AC input (Turbo fan and RTS Included) , Individual Weight (lbs.)66 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1515
98 | FX2524MT | Part Description: Mobile sealed inverter/charger, 2.5 kW, 24 VDC, 120 VAC, 60 Hz, 55 Amp charger, 30 Amp AC input (Turbo fan and RTS Included) , Individual Weight (lbs.)68 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1584
99 | FX2012MT | Part Description: Mobile sealed inverter/charger, 2.0 kW, 12 VDC, 120 VAC, 60 Hz, 80 Amp charger, 30 Amp AC input (Turbo fan and RTS Included) , Individual Weight (lbs.)67 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1524
100 | VFX3648M | Part Description: Mobile vented inverter/charger, 3.6 kW, 48 VDC, 120 VAC, 6 0Hz, 45 Amp charger, 30 Amp AC input (DC Cover and RTS included) , Individual Weight (lbs.)66 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1666
101 | VFX3524M | Part Description: Mobile vented inverter/charger, 3.5 kW, 24 VDC, 120 VAC, 60 Hz, 85 Amp charger, 30 Amp AC input (DC Cover and RTS included) , Individual Weight (lbs.)68 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1751
102 | VFX2812M | Part Description: Mobile vented inverter/charger, 2.8 kW, 12 VDC, 120 VAC, 60 Hz, 125 Amp charger, 30 Amp AC input (DC Cover and RTS included) , Individual Weight (lbs.)66 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1678
103 | Sealed, 230VAC / 50Hz (60Hz) selectable | Part Description: nan , Individual Weight (lbs.)0 , Individual Dimensions (LxWxH) (in.) 0
104 | FXR2348E | Part Description: Grid-interactive FXR Renewable Series sealed inverter/charger, 2.3 kW, 230 VAC 50/60 Hz, 48 VDC, 35 Amp charger, 30 Amp AC input , Individual Weight (lbs.)66 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1399
105 | FXR2024E | Part Description: Grid-interactive FXR Renewable Series sealed inverter/charger, 2.0 kW, 230 VAC 50/60 Hz, 24 VDC, 55 Amp charger, 30 Amp AC input , Individual Weight (lbs.)68 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1411
106 | FXR2012E | Part Description: Off-Grid FXR Renewable Series sealed inverter/charger, 2.0 kW, 230 VAC 50/60 Hz, 12 VDC, 100 Amp charger, 30 Amp AC input , Individual Weight (lbs.)67 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1405
107 | VFXR3048E | Part Description: Grid-interactive FXR Renewable Series vented inverter/charger, 3.0 kW, 230 VAC 50/60 Hz, 48 VDC, 45 Amp charger, 30 Amp AC input , Individual Weight (lbs.)66 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1412
108 | VFXR3024E | Part Description: Grid-interactive FXR Renewable Series vented inverter/charger, 3.0 kW, 230 VAC 50/60 Hz, 24 VDC, 85 Amp charger, 30 Amp AC input , Individual Weight (lbs.)68 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1486
109 | VFXR2612E | Part Description: Off-Grid FXR Renewable Series vented inverter/charger, 2.6 kW, 230 VAC 50/60 Hz, 12 VDC, 120 Amp charger, 30 Amp AC input , Individual Weight (lbs.)66 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1480
110 | FX2348EMT | Part Description: Mobile sealed inverter/charger, 2.3 kW, 48 VDC, 230 VAC 50 Hz, 35 Amp charger, 30 Amp AC input (Turbo and RTS Included) , Individual Weight (lbs.)68 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1483
111 | FX2024EMT | Part Description: Mobile sealed inverter/charger, 2.0 kW, 24 VDC, 230 VAC 50 Hz, 55 Amp charger, 30 Amp AC input (Turbo and RTS Included) , Individual Weight (lbs.)68 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1451
112 | FX2012EMT | Part Description: Mobile sealed inverter/charger, 2.0 kW, 12 VDC, 230 VAC 50 Hz, 100 Amp charger, 30 Amp AC input (Turbo and RTS Included) , Individual Weight (lbs.)67 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1426
113 | VFX3048EM | Part Description: Mobile vented inverter/charger, 3.0 kW, 48 VDC, 230 VAC 50 Hz, 45 Amp charger, 30 Amp AC input (DC Cover and RTS included) , Individual Weight (lbs.)68 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1519
114 | VFX3024EM | Part Description: Mobile vented inverter/charger, 3.0 kW, 24 VDC, 230 VAC 50 Hz, 85 Amp charger, 30 Amp AC input (DC Cover and RTS included) , Individual Weight (lbs.)66 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1476
115 | VFX2612EM | Part Description: Mobile vented inverter/charger, 2.6 kW, 12 VDC, 230 VAC 50 Hz, 120 Amp charger, 30 Amp AC input (DC Cover and RTS included) , Individual Weight (lbs.)65 , Individual Dimensions (LxWxH) (in.) 22x13x23 | 1448
116 | MATE3s | Part Description: Universal version required by (V)FXR and GS inverters, Dark gray square housing with Ethernet port , Individual Weight (lbs.)3 , Individual Dimensions (LxWxH) (in.) 14x9x4 | 409
117 | MATE3SL | Part Description: Universal version required by (V)FXR and GS inverters, Dark gray square housing - ***NOT COMPATIBLE WITH OpticsRE*** , Individual Weight (lbs.)3 , Individual Dimensions (LxWxH) (in.) 14x9x4 | 300
118 | MATE2 | Part Description: G/FX version, Black square housing with RS232 serial port , Individual Weight (lbs.)3 , Individual Dimensions (LxWxH) (in.) 14x9x4 | 272
119 | MATE_B | Part Description: G/FX version, Black oval housing with RS232 serial port , Individual Weight (lbs.)3 , Individual Dimensions (LxWxH) (in.) 14x9x4 | 272
120 | MATE | Part Description: G/FX version, Gray oval housing with RS232 serial port , Individual Weight (lbs.)3 , Individual Dimensions (LxWxH) (in.) 14x9x4 | 271
121 | CSIP BRIDGE | Part Description: Communications accessory compliant with CA Rule 21, Phase 2 (IEEE 2030.5) , Individual Weight (lbs.)2 , Individual Dimensions (LxWxH) (in.) 14x9x4 | 273
122 | AXS PORT | Part Description: OutBack Modbus/TCP Interface Device for remote system communication and control using Modbus over Ethernet , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 287
123 | HUB4 | Part Description: Four Port, up to 4 devices and one MATE , Individual Weight (lbs.)3 , Individual Dimensions (LxWxH) (in.) 14x9x4 | 118
124 | HUB10.3 | Part Description: Ten Port with Sub-Phase Master Stacking, up to 10 devices and one MATE , Individual Weight (lbs.)4 , Individual Dimensions (LxWxH) (in.) 14x9x4 | 226
125 | FN-DC | Part Description: FLEXnet DC monitors up to 3 Shunts for improved battery management (Includes twisted pair wire and communications cable) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 229
126 | FW-CCB | Part Description: Mounting Bracket for one side mounted FM60/80 charge controller on GSLC, FW500 and FW1000 DC enclosures. Includes mounting screws. (Not compatible with FM100 charge controllers.) , Individual Weight (lbs.)1 , Individual Dimensions (LxWxH) (in.) 6x6x6 | 63
127 | FW-CCB2 | Part Description: Mounting bracket for two side mounted FM60/80 charge controllers on GSLC, FW500 and FW1000 DC enclosures. Includes mounting screws and flexible conduit. (Not compatible with FM100 charge controllers.) , Individual Weight (lbs.)1.5 , Individual Dimensions (LxWxH) (in.) 14x4x4 | 61
128 | FW-CCB2-T | Part Description: Mounting bracket for two top mounted FM60/80 charge controllers on FW500 and FW1000 DC enclosures. Includes mounting screws. (Not compatible with FM100 charge controllers.) , Individual Weight (lbs.)1 , Individual Dimensions (LxWxH) (in.) 13x3x3 | 59
129 | FW-MB3 | Part Description: MATE3s Mounting Bracket for side mounted display on Radian, GSLC, FW500 and FW1000 DC enclosures. Includes mounting screws and bushings , Individual Weight (lbs.)2 , Individual Dimensions (LxWxH) (in.) 11x8x8 | 30
130 | FW-MB3-F | Part Description: Flat-mount MATE3/3S Mounting Plate for installation over standard electrical boxes. Includes mounting screws , Individual Weight (lbs.)1 , Individual Dimensions (LxWxH) (in.) 12x8x6 | 24
131 | FW-MB3-S | Part Description: Surface-mount MATE3/3S Mounting Bracket - with mounting screws , Individual Weight (lbs.)1 , Individual Dimensions (LxWxH) (in.) 11x11x4 | 24
132 | FW-MB1 | Part Description: FLEXware MATE Mounting Bracket - with mounting screws and bushings , Individual Weight (lbs.)0.5 , Individual Dimensions (LxWxH) (in.) 7x5x3 | 105
133 | FW-MB2 | Part Description: FLEXware MATE2 Mounting Bracket - with mounting screws and bushings , Individual Weight (lbs.)1 , Individual Dimensions (LxWxH) (in.) 10x8x5 | 27
134 | FW250 | Part Description: DC and/or AC breaker enclosure – secures directly to either end of an FXR Series Inverter/Charger. Includes ground bus bar and DC breaker handle guard. Holds up to 4 AC or 4 DC - 1 to 80 Amp, one 175 or 250 Amp panel mount breaker and a GFCI AC outlet (not included). Does not use the DCA or FW-ACA for connection to an FX Series Inverter/Charger. (DC current shunt not included) , Individual Weight (lbs.)5 , Individual Dimensions (LxWxH) (in.) 12x10x11 | 191
135 | FW500-AC | Part Description: AC breaker enclosure – fits at the AC side of one or two FXR Series Inverter/Chargers. Includes ground bus bar and DIN mounting bracket for up to sixteen DIN type breakers (not included) and a GFCI AC outlet (not included). Requires optional FW-ACAs for connection of each FX Series Inverter/Charger , Individual Weight (lbs.)14 , Individual Dimensions (LxWxH) (in.) 21x14x16 | 321
136 | FW500-DC | Part Description: DC breaker enclosure – fits at the DC side of one or two FXR Series Inverter/Chargers. Includes ground bus bar, 500 Amp DC shunt assembly with negative TBB breaker mounting screws – holds up to eight 1 to 80 Amp, three 100 or 125 Amp and two 175 or 250 Amp panel mount breakers (not included). Requires optional DCAs for connection of each FX Series Inverter/Charger , Individual Weight (lbs.)14 , Individual Dimensions (LxWxH) (in.) 21x14x16 | 316
137 | FW1000-AC | Part Description: AC breaker enclosure – fits at the AC side of up to four FXR Series Inverter/Chargers. Includes ground bus bar and two DIN mounting brackets for up to thirty-two DIN type breakers (not included), two GFCI AC outlets (not included), raceway conduit for communication cables and two hanging straps to connect both inverter backplates. Requires optional FW-ACAs for connection of each FX Series Inverter/Charger. , Individual Weight (lbs.)24 , Individual Dimensions (LxWxH) (in.) 41x14x16 | 528
138 | FW1000-DC | Part Description: DC breaker enclosure – fits at the DC side of up to four FXR Series Inverter/Chargers. Includes ground bus bar, 1000 Amp DC shunt assembly with negative TBB breaker mounting screws – holds up to eleven 1 to 80 Amp, nine 100 or 125 Amp and six 175 or 250 Amp panel mount breakers (not included). Requires optional DCAs for connection of each FX Series Inverter/Charger. , Individual Weight (lbs.)24 , Individual Dimensions (LxWxH) (in.) 41x14x16 | 759
139 | FW-MP | Part Description: Mounting Plate for FW500 or FW1000 system. Includes enclosure and inverter mounting screws. FW500 requires one mounting plate, FW1000 requires two mounting plates. , Individual Weight (lbs.)11 , Individual Dimensions (LxWxH) (in.) 49x23x2 | 176
140 | FW-IOBS-120VAC | Part Description: Single inverter Input-Output-Bypass for FW250 only – 120VAC output 60 Amp 7.2kW. Includes three 60 Amp 120VAC single-pole PANEL mount breakers. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 133
141 | FW-IOBS-230VAC | Part Description: Single inverter Input-Output-Bypass for FW250 only – 230VAC output 30 Amp 6.9kW. Includes three 30 Amp 230VAC single-pole PANEL mount breakers. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 128
142 | FW-IOBD-120/240VAC | Part Description: Dual inverter Input-Output-Bypass for FW500 – 120/240 VAC output 60 Amp 14.4 kW. Includes six 60 Amp 277 VAC single-pole DIN mount breakers. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 320
143 | FW-IOBD-120VAC | Part Description: Dual inverter Input-Output-Bypass for FW500 – 120 VAC output 120 Amp 14.4 kW. Includes four 60 Amp 277 VAC single-pole DIN mount breakers and one 60 Amp 277/480 VAC dual-pole DIN mount breaker. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 249
144 | FW-IOBD-230VAC | Part Description: Dual inverter Input-Output-Bypass for FW500 – 230 VAC output 60 Amp 13.8 kW. Includes six 30 Amp 230 VAC single-pole DIN mount breakers. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 268
145 | FW-IOBQ-120/240VAC | Part Description: Quad inverter Input-Output-Bypass for FW1000 – 120/240 VAC output 120 Amp 28.8 kW. Includes eight 60 Amp 120 VAC single-pole DIN mount breakers and two 60 Amp 120 VAC dual-pole DIN mount breakers. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 532
146 | FW-IOBQ-230VAC | Part Description: Quad inverter Input-Output-Bypass for FW1000 - 230 VAC output 120 Amp 27.6 kW. Includes twelve 30 Amp 230 VAC single-pole DIN mount breakers. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 487
147 | FW-IOBT-120/208VAC | Part Description: Triple inverter Input-Output-Bypass for FW1000 – 120/208 VAC output 60 Amp 21.6 kW. Includes nine 60 Amp 120 VAC single-pole DIN mount breakers. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 516
148 | FW-IOBT-230/400VAC | Part Description: Triple inverter Input-Output-Bypass for FW1000 – 230/400 VAC output 30 Amp 20.7 kW. Includes nine 30 Amp 230 VAC single-pole DIN mount breakers. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 504
149 | FW-ACA | Part Description: AC conduit adapter for all FXR Series Inverter/Chargers to AC enclosure , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 52
150 | DCA | Part Description: DC conduit adapter for all FXR Series Inverter/Chargers to DC enclosure , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 43
151 | FW-SP-250 | Part Description: FLEXware 250 Compatible FLEXware Surge Protector , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 139
152 | FW-SP-ACA | Part Description: FW-ACA with FLEXware Surge Protector for FLEXware 500 and FLEXware 1000 , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 140
153 | FW-SP-R | Part Description: Replacement FLEXware Surge Protector , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 101
154 | FW-CABLE175-15R | Part Description: 175 Amp 2/0 AWG DC Cable 15 Inches (38 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. Red heat shrink. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 25
155 | FW-CABLE175-36R | Part Description: 175 Amp 2/0 AWG DC Cable 36 Inches (91.5 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. Red heat shrink. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 69
156 | FW-CABLE175-36W | Part Description: 175 Amp 2/0 AWG DC Cable 36 Inches (91.5 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. White heat shrink. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 51
157 | FW-CABLE175-120R | Part Description: 175 Amp 2/0 AWG DC Cable 120 Inches (305 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. Red heat shrink. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 87
158 | FW-CABLE175-120W | Part Description: 175 Amp 2/0 AWG DC Cable 120 Inches (305 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. White heat shrink. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 87
159 | FW-CABLE250-15R | Part Description: 250 Amp 4/0 AWG DC Cable 15 Inches (38 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. Red heat shrink. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 67
160 | FW-CABLE250-36R | Part Description: 250 Amp 4/0 AWG DC Cable 36 Inches (91.5 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. Red heat shrink. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 106
161 | FW-CABLE250-36W | Part Description: 250 Amp 4/0 AWG DC Cable 36 Inches (91.5 cm) long with 3/8" (.95 cm) Ring Terminals on Both Ends. White heat shrink. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 64
162 | EXT-DCBUS | Part Description: External DC grounding bus bar with insulating standoffs and cover. 22 holes. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 153
163 | FW-BBUS | Part Description: Breaker Bus allows connection of two 175-250 Amp, three 100-125 Amp, four 1-80 Amp DC breakers or three 500 Amp DC current shunts. Plated copper rated for 500 Amps. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 25
164 | FW-CBUS-8 | Part Description: Reversible Combiner Bus Bar for up to eight 150 VDC rated breakers or up to six 600 VDC rated fuse holders with dual 2/0 AWG output lug terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 31
165 | FW-CBUS-12 | Part Description: Reversible Combiner Bus Bar for up to twelve 150 VDC rated breakers or up to eight 600 VDC rated fuse holders with dual 2/0 AWG output lug terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 41
166 | FW-SBUS | Part Description: Shunt Bus allows up to four high current cable connections on same side of DC shunt - includes two 3/8" bolts and mounting screws. Solid brass rated for 500 Amps. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 24
167 | FW-SHUNT250 | Part Description: 500 Amp 50 mVDC current shunt with attached terminal bus bar for mounting on top of a FX Series Inverter/Charger. Includes bus bar for connection to inverter’s DC negative terminal , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 59
168 | FW-SHUNT500 | Part Description: 500 Amp 50 mVDC current shunt with attached terminal bus bar and one white insulator , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 50
169 | FW-X240 | Part Description: 4.0 kVA 120/240 VAC 60 Hz with 20 Amp autotransformer dual-pole breaker for mounting inside of FW500 or FW1000 AC enclosures. (Includes dual-pole 25 Amp AC breaker) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 427
170 | PSX-240 | Part Description: 6.0 kVA rated with enclosure and cooling fan (Includes dual-pole 25 Amp AC breaker) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 686
171 | PSX-240-RELAY | Part Description: 6.0 kVA rated with enclosure and cooling fan, includes extra relay for a 12 VDC aux port (Includes dual-pole 25 Amp AC breaker) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 714
172 | OBR-16-DIN | Part Description: OutBack 16 Amp Maximum 30 VDC/250 VAC Rated Relay and DIN Mount Base with LED , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 45
173 | TBB-GROUND | Part Description: Ground/Neutral Terminal Bus Bar with Mounting screws (No Insulators) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 13
174 | TBB-BLACK | Part Description: Bus Bar w/Black insulators - Includes Mounting screws , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
175 | TBB-BLUE | Part Description: Bus Bar w/Blue Insulators - Includes Mounting screws , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
176 | TBB-RED | Part Description: Bus Bar w/Red Insulators - Includes Mounting screws , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
177 | TBB-WHITE | Part Description: Bus Bar w/White Insulators - Includes Mounting screws , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
178 | TBB-BROWN | Part Description: Bus Bar w/Brown Insulators - Includes Mounting Screws , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
179 | FWPV6 | Part Description: Combiner box integrated with cable gland and touch-safe distribution blocks. Accommodates up to six 600 VDC rated fuse holders. Includes one ground bus bar. (Fuses and fuse holders sold separately. Integrated cable gland accommodates up to four PV source circuits, additional cable gland may be purchased.) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 173
180 | FWPV4-FH600 | Part Description: Combiner box pre-wired with four 600 VDC fuse holders, cable gland and touch-safe distribution blocks. Includes one ground bus bar. (Fuses sold separately.) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 237
181 | FWPV6-FH600 | Part Description: Combiner box pre-wired with six 600 VDC fuse holders, cable glands and touch-safe distribution blocks. Includes one ground bus bar. (Fuses sold separately.) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 245
182 | CABLEGLAND-5 | Part Description: Cable Gland, 1" EKO, 5 Hole , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 9
183 | RSI | Part Description: ICS Plus Rapid Shutdown Initiator (RSI). Initiates a PV rapid shutdown event and provides indication for Solar On, Solar Off and AFCI. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 403
184 | BKR-CTRL-DC | Part Description: ICS Plus breaker control module and DC power supply that provides isolated 24 VDC from a 24 VDC or 48 VDC battery bank. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 309
185 | PWRSPLY-24 | Part Description: DC power supply that provides isolated 24VDC from 48VDC nominally-rated battery bank. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 48
186 | OBR-16-24-DIN | Part Description: RSD Relay,24VDC,16A - 30VDC & 250VAC,DPDT , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 18
187 | LBL-PVRSS | Part Description: PV Rapid Shutdown Label, Red, 5.5"X1.75" , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 7
188 | FWPV-8 | Part Description: Accommodates up to eight 150 VDC rated breakers or up to six 600 VDC rated fuse holders. Includes one insulated negative TBB, one ground bus and one combiner bus bar with dual 2/0 AWG output lug terminals. (Breakers, fuse holders and fuses sold separately). , Individual Weight (lbs.)6 , Individual Dimensions (LxWxH) (in.) 19x10x5 | 207
189 | FWPV-12 | Part Description: Accommodates up to twelve 15 0VDC rated breakers or up to eight 600 VDC rated fuse holders. Includes two insulated negative TBB, one ground bus and two combiner bus bar each with dual 2/0 AWG output lug terminals. (Breakers, fuse holders and fuses sold separately). , Individual Weight (lbs.)6 , Individual Dimensions (LxWxH) (in.) 19x13x5 | 249
190 | OBF-6-600VDC | Part Description: Fuse 6 Amp 600 VDC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 34
191 | OBF-10-600VDC | Part Description: Fuse 10 Amp 600 VDC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 20
192 | OBF-15-600VDC | Part Description: Fuse 15 Amp 600 VDC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 22
193 | FUSE-15-600VDC/10 | Part Description: Carton of (10) x 15 Amp, 600 VDC Fuses , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 75
194 | OBFH-30-600VDC-DIN | Part Description: Fuse holder 30 Amp maximum 600 VDC DIN Mount , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 29
195 | FH-30-1000VDC-DIN | Part Description: Fuse holder 30 Amp maximum 1,000 VDC DIN Mount , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 23
196 | DIN-1-DC | Part Description: 1 Amp 125 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 21
197 | DIN-2-DC | Part Description: 2 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
198 | DIN-3-DC | Part Description: 3 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
199 | DIN-4-DC | Part Description: 4 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 24
200 | DIN-5-DC | Part Description: 5 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 24
201 | DIN-6-DC | Part Description: 6 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 22
202 | DIN-8-DC | Part Description: 8 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
203 | DIN-9-DC | Part Description: 9 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
204 | DIN-10-DC | Part Description: 10 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
205 | DIN-15-DC | Part Description: 15 Amp 150 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 18
206 | DIN-20-DC | Part Description: 20 Amp 125 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 18
207 | DIN-30-DC | Part Description: 30 Amp 125 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 18
208 | DIN-50-DC | Part Description: 50 Amp 125 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 18
209 | DIN-60-DC | Part Description: 60 Amp 125 VDC Single Pole DIN Mount, 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 19
210 | DIN-15-AC | Part Description: 15 Amp 120 VAC 50/60 Hz single pole 0.50” (13 mm) wide. Branch Circuit Rated 10k AIC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 18
211 | DIN-15D-AC | Part Description: 15 Amp 120/240 VAC 50/60 Hz dual pole 1.0” (26 mm) wide. Branch Circuit Rated 10k AIC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 33
212 | DIN-20-AC | Part Description: 20 Amp 120 VAC 50/60 Hz single pole 0.50” (13 mm) wide. Branch Circuit Rated 10k AIC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 18
213 | DIN-20D-AC | Part Description: 20 Amp 120/240 VAC 50/60 Hz dual pole 1.0” (26 mm) wide. Branch Circuit Rated 10k AIC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 33
214 | DIN-25D-AC | Part Description: 25 Amp 120/240 VAC 50/60 Hz dual pole 1.0” (26 mm) wide. Branch Circuit Rated 10k AIC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 33
215 | DIN-10-AC-277 | Part Description: 10 Amp 277 VAC 50/60 Hz single pole 0.5” (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 18
216 | DIN-15-AC-277 | Part Description: 15 Amp 277 VAC 50/60 HZ Single Pole 0.5" (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
217 | DIN-30-AC-277 | Part Description: 30 Amp 277 VAC 50/60 Hz Single Pole 0.5" (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 18
218 | DIN-30D-AC-480 | Part Description: 30 Amp 277/480 VAC 50/60 Hz Dual Pole 1.0" (26 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 33
219 | DIN-30T-AC-480 | Part Description: 30 Amp 277/480 VAC 50/60 Hz Three Pole 1.5" (39 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 45
220 | DIN-50-AC-277 | Part Description: 50 Amp 277 VAC 50/60 Hz Single Pole 0.5" (13 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 17
221 | DIN-50D-AC-480 | Part Description: 50 Amp 277/480 VAC 50/60 Hz Dual Pole 1.0" (26 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 34
222 | DIN-50T-AC-480 | Part Description: 50 Amp 277/480 VAC 50/60 Hz Three Pole 1.5" (39 mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 45
223 | DIN-60-AC-277 | Part Description: 60 Amp 277 VAC 50/60 Hz Single Pole 0.5" (13mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 21
224 | DIN-60D-AC-480 | Part Description: 60 Amp 277/480 VAC 50/60 Hz Dual Pole 1.0" (26mm) wide , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 35
225 | PNL-1-AC/DC | Part Description: 1 Amp, 150 VDC and 120 VAC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
226 | PNL-5-AC/DC | Part Description: 5 Amp, 150 VDC and 120 VAC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
227 | PNL-10-AC/DC | Part Description: 10 Amp, 150 VDC and 120 VAC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
228 | PNL-15-AC/DC | Part Description: 15 Amp, 150 VDC and 120 VAC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
229 | PNL-20-AC/DC | Part Description: 20 Amp, 150 VDC and 120 VAC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
230 | PNL-30-AC/DC | Part Description: 30 Amp, 150 VDC and 120 VAC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
231 | PNL-30-AC | Part Description: 30 Amp, 250 VAC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 19
232 | PNL-30D-AC-120/240 | Part Description: 30 Amp 120/240 VAC double pole panel mount breaker with 1/4" stud terminals for connecting AC Coupled grid tie inverters inside of the GSLC. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 42
233 | PNL-40-AC/DC | Part Description: 40 Amp, 150 VDC and 120 VAC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
234 | PNL-40-300VDC | Part Description: 40 Amp, 300 VDC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 44
235 | PNL-40D-300VDC | Part Description: 40 Amp, 300 VDC, 1/4” stud terminals, Dual Pole , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 52
236 | PNL-50-AC/DC | Part Description: 50 Amp, 150 VDC and 120 VAC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
237 | PNL-50D-AC-120/240 | Part Description: 50 Amp 120/240 VAC double pole panel mount breaker with 1/4" stud terminals. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 34
238 | PNL-60-AC/DC | Part Description: 60 Amp, 150 VDC and 120 VAC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
239 | PNL-60-300VDC | Part Description: 60 Amp, 300 VDC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 37
240 | PNL-60D-300VDC | Part Description: 60 Amp, 300 VDC, 1/4” stud terminals, Dual Pole , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 60
241 | PNL-80-DC | Part Description: 80 Amp, 150 VDC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 14
242 | PNL-80-300VDC | Part Description: 80 Amp, 300 VDC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 44
243 | PNL-80D-300VDC | Part Description: 80 Amp, 300 VDC, 1/4” stud terminals, Dual Pole , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 60
244 | PNL-100-DC | Part Description: 100 Amp, 125 VDC, 5/16” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 39
245 | PNL-100-300VDC | Part Description: 100 Amp, 300 VDC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 44
246 | PNL-125-DC | Part Description: 125 Amp, 125 VDC, 5/16” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 39
247 | PNL-125-300VDC | Part Description: 125 Amp, 300 VDC, 1/4” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 44
248 | PNL-175-DC | Part Description: 175 Amp, 125 VDC, 3/8” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 80
249 | PNL-250-DC | Part Description: 250 Amp, 125 VDC, 3/8” stud terminals , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 83
250 | PNL-75-DC-RT | Part Description: Relay-trip breaker, 75 Amp, 300 VDC, single pole, two panel-mount spaces , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 57
251 | PNL-75D-DC-RT | Part Description: Relay-trip breaker, 75 Amp, 300 VDC, dual pole, three panel-mount spaces , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 104
252 | PNL-75Q-DC-RT | Part Description: Relay-trip breaker, 75 Amp, 300 VDC, dual pole, three panel-mount spaces , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 178
253 | PNL-GFDI-80 | Part Description: PV Ground-Fault Detector Interrupter 80 Amp 150 VDC single pole panel mount , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 68
254 | PNL-GFDI-80D | Part Description: PV Ground-Fault Detector Interrupter 80 Amp 150 VDC two pole panel mount , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 85
255 | PNL-GFDI-80Q | Part Description: PV Ground-Fault Detector Interrupter 80 Amp 150 VDC four pole panel mount , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 121
256 | OBFRS-01 | Part Description: FireRaptor Rapid Shutdown Unit , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 53
257 | OBFRS-ESW1-24 | Part Description: FireRaptor Shutdown Switch for up to (100) OBFRS-01 , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 133
258 | OBFRS-ESW1 | Part Description: FireRaptor Shutdown Switch for OBFRS-01 , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 150
259 | OBFRS-SIGCAB1.8-F | Part Description: 70" Signal Cable, Tyco female connector , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 5
260 | OBFRS-ECP | Part Description: Additional Signal Cable End Cap, only needed for customers who purchase neither OBFRS-ESW1 nor RSI , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 15
261 | OBR-16-24-DIN | Part Description: OutBack 16 Amp Maximum 24 VDC Relay and DIN Mount Base with LED for Module Level PV Rapid Shutdown FireRaptor Shutdown Switch connection , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 18
262 | EXT-SP-AC/DC-300V | Part Description: External AC/DC surge protection device (SPD). Rated for up to 300 VAC or 385 VDC. Comes in master carton quantities of 12. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 111
263 | DCC | Part Description: DC Wiring cover for FXR and VFXR Series Inverter/Chargers , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 64
264 | FXTURBOKIT | Part Description: DC Wiring cover with Turbo fan for sealed inverters , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 96
265 | RTS | Part Description: Remote Temperature Sensor, for use with Inverter/Charger or Charge Controller (Includes 20' (6 m) cable) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 48
266 | PSR-SCT | Part Description: Battery Spill Containment Tray , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 30
267 | FW-EC-DIN | Part Description: DIN Rail End Clamp , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 7
268 | OBCATV-3 | Part Description: 3’ (1 meter) 300 volt rated OutBack communications cable with RJ45 connectors , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 7
269 | OBCATV-6 | Part Description: 6’ (2 meter) 300 volt rated OutBack communications cable with RJ45 connectors , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 9
270 | OBCATV-10 | Part Description: 10’ (3 meter) 300 volt rated OutBack communications cable with RJ45 connectors , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 12
271 | OBCATV-50 | Part Description: 50’ (16 meter) 300 volt rated OutBack communications cable with RJ45 connectors , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 38
272 | OBTFB-300 | Part Description: Class T Fuse Block, 300 Amp , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 57
273 | OBTFB-400 | Part Description: Class T Fuse Block, 400 Amp , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 75
274 | RADIAN DISPLAY | Part Description: Radian Inverter/charger DISPLAY Unit (Does NOT Function) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 365
275 | FPR-8048A DISPLAY | Part Description: FPR-8048A Inverter/charger DISPLAY Unit (Does NOT Function) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 2020
276 | FPR-8048A-300 DISP | Part Description: FPR-8048A-300 Inverter/charger DISPLAY Unit (Does NOT Function) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 1693
277 | FM80-DISPLAY | Part Description: FLEXMAX 80 DISPLAY Unit (Does NOT Function) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 142
278 | FM100-DISPLAY | Part Description: FLEXMAX 100 DISPLAY Unit (Does NOT Function) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 197
279 | EXTWARRFEE-FPR - 10-year Extended Warranty Fee for FLEXpower Radian systems | Part Description: Global extended warranty, adds 5 years to standard 5 year warranty, for total of 10 years. Covers all FLEXpower Radian systems (including 8kW 300V LT). , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 1399
280 | EXTWARRFEE-GS - 10-year Extended Warranty Fee for Radian inverters | Part Description: Global extended warranty, adds 5 years to standard 5 year warranty, for total of 10 years. Covers Radian Series Inverter/Chargers. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 899
281 | EXTWARRFEE-FM - 10-year Extended Warranty Fee for FM charge controllers | Part Description: Global extended warranty, adds 5 years to standard 5 year warranty, for total of 10 years. Covers FLEXmax Series Charge Controllers. , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 250
282 | FX-AC | Part Description: FX/VFX AC Board, must specify inverter model when ordering , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 182
283 | FX-FET | Part Description: FX/VFX FET Board, must specify battery voltage when ordering , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 396
284 | FX-CNTRL | Part Description: FX/VFX Control Board, must specify inverter model when ordering , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 275
285 | FX/GS FAN KIT | Part Description: FX and GS Replacement Fan , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 23
286 | SPARE-001 | Part Description: FM80 Fan Replacement Kit , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 27
287 | SPARE-002 | Part Description: FM60 Fan Replacement Kit , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 32
288 | SPARE-035 | Part Description: FM60 and FM80 Charge Controller Replacement Button Board , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 130
289 | SPARE-036 | Part Description: FM60 and FM80 Charge Controller Replacement Power Board , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 338
290 | SPARE-037 | Part Description: FM60-150VDC Replacement Control Board , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 112
291 | SPARE-038 | Part Description: FM80-150VDC Replacement Control Board , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 112
292 | SPARE-040 | Part Description: Air Temp Sensor Kit (for all OutBack Inverters) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 16
293 | SPARE-045 | Part Description: FM100 GFDI Fuse Replacement Kit, 10mmx38mm, 0.75A, compatible with both FM100 models , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 16
294 | SPARE-046 | Part Description: FM100-300VDC-AFCI Fan Replacement Kit, not compatible with previous FM100-300VDC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 70
295 | SPARE-047 | Part Description: FM100-300VDC-AFCI AFCI Replacement Kit, not compatible with previous FM100-300VDC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 804
296 | SPARE-101 | Part Description: FXR Control Board for FXR 12V(A Models) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 208
297 | SPARE-102 | Part Description: FXR Control Board for FXR 12V(E Models) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 208
298 | SPARE-103 | Part Description: FXR Control Board for FXR 24V(A Models) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 208
299 | SPARE-104 | Part Description: FXR Control Board for FXR 24V(E Models) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 208
300 | SPARE-105 | Part Description: FXR Control Board for FXR 48V(A Models) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 210
301 | SPARE-106 | Part Description: FXR Control Board for FXR 48V(E Models) , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 210
302 | SPARE-107 | Part Description: FXR 120V AC Board , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 213
303 | SPARE-108 | Part Description: FXR 230V AC Board , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 219
304 | SPARE-109 | Part Description: FXR 12V FET Board , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 489
305 | SPARE-110 | Part Description: FXR 24V FET Board , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 504
306 | SPARE-111 | Part Description: FXR 48V FET Board , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 503
307 | SPARE-202 | Part Description: GS7048E, GS3548E Board Stack Assembly Replacement , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 1756
308 | SPARE-203 | Part Description: GS7048E, GS3548E Power Module Replacement , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 1441
309 | SPARE-204 | Part Description: GS8048A, GS4048A Board Assembly Stack Replacement , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 1671
310 | SPARE-205 | Part Description: GS8048A, GS4048A Power Module Replacement , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 1406
311 | SPARE-215 | Part Description: GS Radian Power Supply Board Replacement , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 135
312 | SPARE-300 | Part Description: ICS Distribution Block, 1 Line/4 Load, 175 Amp , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 21
313 | SPARE-301 | Part Description: ICS Cable Gland, 1.25" EKO, 9 Hole , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 19
314 | SPARE-302 | Part Description: ICS Plus Contactor, 150 Amp 600 VDC , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 206
315 | SPARE-304 | Part Description: ICS Plus Combiner Box Replacement PCBA , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 259
316 | SPARE-306 | Part Description: ICS Plus Switch , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 77
317 | SPARE-307 | Part Description: ICS Plus Combiner Box Replacement Back Panel , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 820
318 | SPARE-GS-COVR | Part Description: Replacement GS inverter cover - grey powder coat finish , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 77
319 | SPARE-GSLC-COVR | Part Description: Replacement GSLC inverter cover - grey powder coat finish , Individual Weight (lbs.)nan , Individual Dimensions (LxWxH) (in.) nan | 61
320 | NSB40FT BLUE+ | Description: NorthStar BLUE+ VRLA-AGM Pure Lead Carbon 40Ah c/100, 12V Front Terminal , Voltage: 12V Front Terminal , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 0.48kWh Usable: 0.24kWh , Quantity per Pallet/Number of Pallets: 72 , EXW Point: Suwanee, GA | 224
321 | NSB100FT BLUE+ | Description: NorthStar BLUE+ VRLA-AGM Pure Lead Carbon 105Ah c/100, 12V Front Terminal , Voltage: 12V Front Terminal , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 1.26kWh Usable: 0.63kWh , Quantity per Pallet/Number of Pallets: 36 , EXW Point: Suwanee, GA | 270
322 | NSB170FT BLUE+ | Description: NorthStar BLUE+ VRLA-AGM Pure Lead Carbon 182Ah c/100, 12V Front Terminal , Voltage: 12V Front Terminal , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 2.18kWh Usable: 1.09kWh , Quantity per Pallet/Number of Pallets: 20 , EXW Point: Suwanee, GA | 365
323 | NSB190FT BLUE+ | Description: NorthStar BLUE+ VRLA-AGM Pure Lead Carbon 202Ah c/100, 12V Front Terminal , Voltage: 12V Front Terminal , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 2.42kWh Usable: 1.21kWh , Quantity per Pallet/Number of Pallets: 20 , EXW Point: Suwanee, GA | 380
324 | *NSB210FT BLUE+ | Description: NorthStar BLUE+ VRLA-AGM Pure Lead Carbon 216Ah c/100, 12V Front Terminal , Voltage: 12V Front Terminal , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 2.59kWh Usable: 1.29kWh , Quantity per Pallet/Number of Pallets: 20 , EXW Point: Suwanee, GA | 419
325 | 210HP | Description: 210HP VRLA-AGM Pure Lead 203.8Ah c/100, 12V Front Terminal , Voltage: 12V Front Terminal , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 2.44kWh Usable: 1.22kWh , Quantity per Pallet/Number of Pallets: 12 , EXW Point: Suwanee, GA | 405
326 | 1000XLC | Description: EnergyCell XLC High Capacity Lead Carbon 1220Ah c/100 with cabinet , Voltage: 48V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 58.5kWh Usable: 29.2kWh , Quantity per Pallet/Number of Pallets: 3 , EXW Point: Haltom City, TX | 15999
327 | 3.8-48-60 | Description: SimpliPhi 3.8kWh, Lithium Iron Phosphate (LFP) battery 48V , Voltage: 48V Li-Ion LFP , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 3.8kWh , Quantity per Pallet/Number of Pallets: nan , EXW Point: Oxnard, CA | 2799
328 | 106TT | Description: EnergyCell VRLA-AGM 106Ah c/100, 12V Top Terminal , Voltage: 12 V Top Terminal , BCI Group Size: 27 , Energy Per Battery: Nameplate: 1.27kWh Usable: 0.63kWh , Quantity per Pallet/Number of Pallets: 30 , EXW Point: Haltom City, TX | 179
329 | 115TT | Description: EnergyCell VRLA-AGM 117Ah c/100, 12V Top Terminal , Voltage: 12 V Top Terminal , BCI Group Size: 31 , Energy Per Battery: Nameplate: 1.40kWh Usable: 0.70kWh , Quantity per Pallet/Number of Pallets: 30 , EXW Point: Haltom City, TX | 206
330 | 800RE-24 | Description: EnergyCell RE High Capacity 24V Battery System, 810Ah c/100, 4x3 Cell Config , Voltage: 24V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 19.2kWh Usable: 9.6kWh , Quantity per Pallet/Number of Pallets: 2 , EXW Point: Allentown, PA | 5342
331 | 1100RE-24 | Description: EnergyCell RE High Capacity 24V Battery System, 1150Ah c/100, 4x3 Cell Config , Voltage: 24V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 26.4kWh Usable: 13.2kWh , Quantity per Pallet/Number of Pallets: 3 , EXW Point: Allentown, PA | 8057
332 | 1300RE-24 | Description: EnergyCell RE High Capacity 24V Battery System, 1340Ah c/100, 4x3 Cell Config , Voltage: 24V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 31.2kWh Usable: 15.6kWh , Quantity per Pallet/Number of Pallets: 3 , EXW Point: Allentown, PA | 9209
333 | 1600RE-24 | Description: EnergyCell RE High Capacity 24V Battery System, 1600Ah c/100, 3x4 Cell Config , Voltage: 24V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 38.4kWh Usable: 19.2kWh , Quantity per Pallet/Number of Pallets: 3 , EXW Point: Allentown, PA | 10488
334 | 2000RE-24 | Description: EnergyCell RE High Capacity 24V Battery System, 2070Ah c/100, 4x3 Cell Config , Voltage: 24V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 48kWh Usable: 24kWh , Quantity per Pallet/Number of Pallets: 3 , EXW Point: Allentown, PA | 13087
335 | 2200RE-24 | Description: EnergyCell RE High Capacity 24V Battery System, 2140Ah c/100, 4x3 Cell Config , Voltage: 24V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 52.8kWh Usable: 26.4kWh , Quantity per Pallet/Number of Pallets: 3 , EXW Point: Allentown, PA | 14101
336 | 2700RE-24 | Description: EnergyCell RE High Capacity 24V Battery System, 2770Ah c/100, 4x3 Cell Config , Voltage: 24V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 64.8kWh Usable: 32.4kWh , Quantity per Pallet/Number of Pallets: 3 , EXW Point: Allentown, PA | 17226
337 | 800RE | Description: EnergyCell RE High Capacity 48V Battery System, 810Ah c/100, 6x4 Cell Config , Voltage: 48V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 38.4kWh Usable: 19.2kWh , Quantity per Pallet/Number of Pallets: 3 , EXW Point: Allentown, PA | 10921
338 | 1100RE | Description: EnergyCell RE High Capacity 48V Battery System, 1150Ah c/100, 4x6 Cell Config , Voltage: 48V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 52.8kWh Usable: 26.4kWh , Quantity per Pallet/Number of Pallets: 5 , EXW Point: Allentown, PA | 16760
339 | 1300RE | Description: EnergyCell RE High Capacity 48V Battery System, 1340Ah c/100, 3x8 Cell Config , Voltage: 48V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 62.4kWh Usable: 31.2kWh , Quantity per Pallet/Number of Pallets: 5 , EXW Point: Allentown, PA | 19434
340 | 1600RE | Description: EnergyCell RE High Capacity 48V Battery System, 1600Ah c/100, 3x8 Cell Config , Voltage: 48V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 76.8kWh Usable: 38.4kWh , Quantity per Pallet/Number of Pallets: 5 , EXW Point: Allentown, PA | 22010
341 | 2000RE | Description: EnergyCell RE High Capacity 48V Battery System, 2070Ah c/100, 4x6 Cell Config , Voltage: 48V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 96kWh Usable: 48kWh , Quantity per Pallet/Number of Pallets: 5 , EXW Point: Allentown, PA | 27443
342 | 2200RE | Description: EnergyCell RE High Capacity 48V Battery System, 2140Ah c/100, 4x6 Cell Config , Voltage: 48V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 105.6kWh Usable: 52.8kWh , Quantity per Pallet/Number of Pallets: 5 , EXW Point: Allentown, PA | 28970
343 | 2700RE | Description: EnergyCell RE High Capacity 48V Battery System, 2770Ah c/100, 4x6 Cell Config , Voltage: 48V High Capacity System , BCI Group Size: Non-BCI Standard , Energy Per Battery: Nameplate: 129.6kWh Usable: 64.8kWh , Quantity per Pallet/Number of Pallets: 5 , EXW Point: Allentown, PA | 32839
344 | 290FLA | Description: EnergyCell 290FLA Deep Cycle Flooded. 290Ah c/100, 6V Top Terminal , Voltage: 6V FLA , BCI Group Size: GC2 , Energy Per Battery: Nameplate: 1.74kWh Usable: 0.87kWh , Quantity per Pallet/Number of Pallets: 32 , EXW Point: Fremont, OH Twinsburg, OH Villa Park, IL Waterbury, CT Santa Fe Springs, CA | 171
345 | 525FLA | Description: EnergyCell 525FLA Deep Cycle Flooded. 525Ah c/100, 6V Top Terminal. L16 case , Voltage: 6V FLA , BCI Group Size: 903 , Energy Per Battery: Nameplate: 3.15kWh Usable: 1.57kWh , Quantity per Pallet/Number of Pallets: 16 , EXW Point: Fremont, OH Twinsburg, OH Villa Park, IL Waterbury, CT Santa Fe Springs, CA | 352
346 |  |  |  |  | Effective 10/03/23
347 |  |  |  |  | Please ensure the correct battery replacement is selected. Refer to images for differences between round and square post terminals
348 |  |  |  |  | For residential deliveries, if communicated to Order Management prior to order entry, we can specify lift gate is not needed in the sales order, and $150 liftgate fee will be waived. If not specified, all residential deliveries will automatically have $150 liftgate fee added. If distributor indicates to Outback that no liftgate is needed, but upon delivery, one is discovered to be needed, distributor is responsible for liftgate fee plus additional handling charges incurred.
349 | [5 empty] | EnergyCell Model | Round Post EnerSys Part Number | Square Post EnerSys Part Number | 2V Battery Dimensions (in) | 2V Battery Weight (lb) | EXW Location | Price
350 | [5 empty] | 800RE | 868404-CW | 868616-CW | 21.8 x 11.9 x 6.5 | 114.3 | Allentown, PA | 725
351 | [5 empty] | 1100RE | 868405-CW | 868617-CW | 21.8 x 8.4 x 6.5 | 162.3 | Allentown, PA | 579
352 | [5 empty] | 1300RE | 868410-CW | 868621-CW | 24.5 x 8.4 x 6.5 | 188.3 | Allentown, PA | 699
353 | [5 empty] | 1600RE | 868411-CW | 868622-CW | 24.5 x 9.9 x 6.5 | 222.3 | Allentown, PA | 715
354 | [5 empty] | 2000RE | 868414-CW | 868625-CW | 23.5 x 9.9 x 8.9 | 272.3 | Allentown, PA | 975
355 | [5 empty] | 2200RE | 868413-CW | 868624-CW | 24.5 x 12.9 x 6.5 | 290.3 | Allentown, PA | 945
356 | [5 empty] | 2700RE | 868416-CW | 868627-CW | 23.5 x 12.9 x 8.9 | 358.3 | Allentown, PA | 1149
357
358 |  |  |  |  | Battery Display and Spare Hardware
359
360 | [5 empty] | Model |  |  | Description | [5 empty] | Price
361 |  |  |  |  | NSB Display Jar | NSB40FT BLUE-DIS |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal, Display | [5 empty] | 78
362 | [5 empty] | NSB100FT BLUE-DIS |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display | [5 empty] | 82
363 | [5 empty] | NSB170FT BLUE-DIS |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display | [5 empty] | 93
364 | [5 empty] | NSB190FT BLUE-DIS |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display | [5 empty] | 93
365 | [5 empty] | *NSB210FT BLUE-DIS |  |  | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display | [5 empty] | 108
366 | [5 empty] | *Not compatible with IBR-2-48-175 or IBR-3-48-175 battery racks
367
368 |  |  |  |  | NSB HWR Kits | ACC0009 |  |  | Hardware Kit for NSB40FT-100FT, Incl. Covers, front bus bar, M8x1.25 screw & washer | [5 empty] | 21
369 | [5 empty] | ACC0010 |  |  | Hardware Kit for NSB170FT-210FT, Covers, front bus bar, M8x1.25 screw & washer | [5 empty] | 17
370 |  |  |  |  | NSB Links | LNK0021 |  |  | Interconnecting bus bar Link for NSB40FT BLUE+ | [5 empty] | 6
371 | [5 empty] | LNK0004 |  |  | Interconnecting bus bar Link for NSB100FT BLUE+ | [5 empty] | 6
372 | [5 empty] | LNK0009 |  |  | Interconnecting bus bar Link for NSB170FT - NSB210FT BLUE+ | [5 empty] | 6
373
374
375 |  |  |  |  | PLR Display | 200PLR-DIS |  |  | EnergyCell 200PLR VRLA-AGM Pure Lead, 12V Front Terminal Display Jar | [5 empty] | 93
376
377 |  |  |  |  | PLR HWR | SBSF48VKITB |  |  | Hardware Kit for 48V string, Inc. bus bars, no-ox grease, hwr package, instructions | [5 empty] | 36
378 | [5 empty] | 2107-8940 |  |  | Terminal Plastic Cover for 200PLR | [5 empty] | 7
379 | [5 empty] | 2207-7710 |  |  | Front Terminal adapter bus bar for 200PLR | [5 empty] | 16
380 | EnergyCell Model: 800RERound Post EnerSys Part Number: 868404-CWSquare Post EnerSys Part Number: 868616-CW | 2V Battery Dimensions (in): 21.8 x 11.9 x 6.52V Battery Weight (lb): 114.3EXW Location: Allentown, PA | 725
381 | EnergyCell Model: 1100RERound Post EnerSys Part Number: 868405-CWSquare Post EnerSys Part Number: 868617-CW | 2V Battery Dimensions (in): 21.8 x 8.4 x 6.52V Battery Weight (lb): 162.3EXW Location: Allentown, PA | 579
382 | EnergyCell Model: 1300RERound Post EnerSys Part Number: 868410-CWSquare Post EnerSys Part Number: 868621-CW | 2V Battery Dimensions (in): 24.5 x 8.4 x 6.52V Battery Weight (lb): 188.3EXW Location: Allentown, PA | 699
383 | EnergyCell Model: 1600RERound Post EnerSys Part Number: 868411-CWSquare Post EnerSys Part Number: 868622-CW | 2V Battery Dimensions (in): 24.5 x 9.9 x 6.52V Battery Weight (lb): 222.3EXW Location: Allentown, PA | 715
384 | EnergyCell Model: 2000RERound Post EnerSys Part Number: 868414-CWSquare Post EnerSys Part Number: 868625-CW | 2V Battery Dimensions (in): 23.5 x 9.9 x 8.92V Battery Weight (lb): 272.3EXW Location: Allentown, PA | 975
385 | EnergyCell Model: 2200RERound Post EnerSys Part Number: 868413-CWSquare Post EnerSys Part Number: 868624-CW | 2V Battery Dimensions (in): 24.5 x 12.9 x 6.52V Battery Weight (lb): 290.3EXW Location: Allentown, PA | 945
386 | EnergyCell Model: 2700RERound Post EnerSys Part Number: 868416-CWSquare Post EnerSys Part Number: 868627-CW | 2V Battery Dimensions (in): 23.5 x 12.9 x 8.92V Battery Weight (lb): 358.3EXW Location: Allentown, PA | 1149
387 | NSB40FT BLUE-DIS |  | 78 | [12 empty] | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal, Display
388 | NSB100FT BLUE-DIS |  | 82 | [12 empty] | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display
389 | NSB170FT BLUE-DIS |  | 93 | [12 empty] | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display
390 | NSB190FT BLUE-DIS |  | 93 | [12 empty] | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display
391 | *NSB210FT BLUE-DIS |  | 108 | [12 empty] | NorthStar BLUE+ VRLA-AGM Pure Lead Carbon, 12V Front Terminal Display
392 | *Not compatible with IBR-2-48-175 or IBR-3-48-175 battery racks
393
394 | ACC0009 |  | 21 | [12 empty] | Hardware Kit for NSB40FT-100FT, Incl. Covers, front bus bar, M8x1.25 screw & washer
395 | ACC0010 |  | 17 | [12 empty] | Hardware Kit for NSB170FT-210FT, Covers, front bus bar, M8x1.25 screw & washer
396 | LNK0021 |  | 6 | [12 empty] | Interconnecting bus bar Link for NSB40FT BLUE+
397 | LNK0004 |  | 6 | [12 empty] | Interconnecting bus bar Link for NSB100FT BLUE+
398 | LNK0009 |  | 6 | [12 empty] | Interconnecting bus bar Link for NSB170FT - NSB210FT BLUE+
399
400
401 | 200PLR-DIS |  | 93 | [12 empty] | EnergyCell 200PLR VRLA-AGM Pure Lead, 12V Front Terminal Display Jar
402
403 | SBSF48VKITB |  | 36 | [12 empty] | Hardware Kit for 48V string, Inc. bus bars, no-ox grease, hwr package, instructions
404 | 2107-8940 |  | 7 | [12 empty] | Terminal Plastic Cover for 200PLR
405 | 2207-7710 |  | 16 | [12 empty] | Front Terminal adapter bus bar for 200PLR