## Sheet1
| US Solar SKU No. | Description | Price | Status
0 | USBE100-0044 | Model No. E-BOX-48100R , Product: LFP battery pack Voltage: 51.2V Capacity: 100Ah Energy:5.12kWh BMS and cable set is included, 10 years standard warranty, 6000 cirlces DOD 90% , Manufacturer Pytes , Type: | 2000 | Already Listed
1 | USSS100-0088 | Model No. Forrest RB , Product: Indoor cabinet designed to hold 1-6pcs E-box-48100R, with bus bar , Manufacturer Pytes , Type: | 818 | Already Listed
2 | USBE100-0039 | Model No. R-BOX-IP64 , Product: Outdoor cabinet only, designed for 2pcs E-box-481ooR, can mount on wall, also can stand on ground beside wall , Manufacturer Pytes , Type: | 499 | Already Listed
3 | USSS100-0086 | Model No. R-BOX , Product: Indoor cabinet only, designed for 2pcs E-box-48100R, can mount on wall, also can stand on ground beside wall , Manufacturer Pytes , Type: | 299 | Already Listed
4 | USBE100-0049 | Model No. Communication HUB , Product: for communication between batteries and battery to inverter, one pc can support 56 pcs total 280KWH batteries connection in parallel, HUB is a must for more than 8pc batteries in single system , Manufacturer Pytes , Type: Communication | 450 | Already Listed
5 | USSSP110-1122 | Model No. Power Cable Set , Product: 2m long cable set from battery to charger/load/busbar , Manufacturer Pytes , Type: | 43.43 | Already Listed
6 | USWC001-0063 | Model No. Communication cable , Product: communicaiton cable between battery and charger/inverter , Manufacturer Pytes , Type: | 5 | Already Listed
7 | USSE100-0284 | Model No. Bus Bar , Product: 300A, 2pcs/pair , Manufacturer Pytes , Type: | 100 | Already Listed
8 | USSS100-0089 | Model No. Battery Bracket , Product: brackets set for E-Box-48100R, one pair includes 2pcs , Manufacturer Pytes , Type: | 50 | Already Listed
9 | USIN100-0002 | Model No. (SA-12K) , Product: (SA-12K) - Sol-Ark 12K 120/240/208V-3P 10-Year Standard Warranty, NEMA-3R , Manufacturer Sol-Ark , Type: | 6050 | Already Listed
10 | USSSP110-1292 | Model No. (SA-Limitless-15K) , Product: (SA-Limitless-15K) - Sol-Ark 15K 120/240/208V-3P 10-Year Standard Warranty, NEMA-3R , Manufacturer Sol-Ark , Type: | 7200 | Already Listed